Certificate of Calibration for In-Transit Cold Disinfestation Treatment

in Self-Refrigerated Container for Thailand

Attached to the Notification of Department of Agriculture, Water and the Environment

Re: Conditions for Import of **PLEASE CLICK TO SELECT COMMODITY FROM LIST**

-----------------------------

Exporter name:

Phytosanitary certificate number:

Container number:

Seal number:

Recorder serial number:

Date calibrated (dd/mm/yyyy):

1. Sensor calibration (at 0 ºC):

|  |  |  |  |
| --- | --- | --- | --- |
| Sensor Identification | 1st Reading | 2nd Reading | Correction factor |
| 1 |        |        |        |
| 2 |        |        |        |
| 3 |        |        |        |

2. Sensor placement:

|  |  |
| --- | --- |
| Sensor placement | Pulp temperature |
| Sensor 1 - at the mid-height of the stack, on the left side of the container, approximately 1.5 m from the far end of a 12 m (40 ft) container. |        Degrees Celsius |
| Sensor 2 - at the mid-height of the stack, in the centre of the container. |        Degrees Celsius |
| Sensor 3 - at the mid-height of the stack, on the right side of the container, approximately 1.5 m from the door end of a 12 m (40 ft) container. |        Degrees Celsius |

3. Container sealed:

Time:       Date (dd/mm/yyyy):

|  |  |  |
| --- | --- | --- |
|  \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ |   |   |
| Delegate name | Delegate signature | Stamp |