# Australian and New Zealand Standard Diagnostic Procedure (ANZSDP) for White Spot Syndrome Virus

N Moody and P Mohr

CSIRO

© Department of Agriculture, Fisheries and Forestry (DAFF) 2022

Ownership of intellectual property rights

Unless otherwise noted, copyright (and any other intellectual property rights) in this publication is owned by the Commonwealth of Australia (referred to as the Commonwealth).

Creative Commons licence

All material in this publication is licensed under a Creative Commons Attribution 4.0 International Licence except content supplied by third parties, logos and the Commonwealth Coat of Arms.

Inquiries about the licence and any use of this document should be emailed to copyright@aff.gov.au.

Cataloguing data

This publication (and any material sourced from it) should be attributed as: DAFF 2022, Australian and New Zealand Standard Diagnostic Procedure (ANZSDP) for White Spot Syndrome Virus, Department of Agriculture, Fisheries and Forestry, Canberra, December. CC BY 4.0.

This publication is available at: https://www.agriculture.gov.au/agriculture-land/animal/health/laboratories/procedures/anzsdp/white-spot-disease

Department of Agriculture, Fisheries and Forestry

GPO Box 858 Canberra ACT 2601

Telephone 1800 900 090

Web agriculture.gov.au

CSIRO Australian Centre for Disease Preparedness
Private Bag 24, East Geelong, VIC 3220
nick.moody@csiro.au

CSIRO Australian Centre for Disease Preparedness
Private Bag 24, East Geelong, VIC 3220
peter.mohr@csiro.au

Disclaimer

The Australian Government acting through the Department of Agriculture, Fisheries and Forestry has exercised due care and skill in preparing and compiling the information and data in this publication. Notwithstanding, the Department of Agriculture, Fisheries and Forestry, its employees and advisers disclaim all liability, including liability for negligence and for any loss, damage, injury, expense or cost incurred by any person as a result of accessing, using or relying on any of the information or data in this publication to the maximum extent permitted by law.

Acknowledgements

This report was funded by the Department of Agriculture, Fisheries and Forestry. It was authored originally by Dr Nick Moody and Dr Peter Mohr from the CSIRO Australian Centre for Disease Preparedness, Fish Diseases Laboratory   and has had significant technical input from the Sub-committee on Aquatic Animal Health (SCAAH). We thank the Animal Health Committee (AHC) for their endorsement of this document.

Acknowledgement of Country

We acknowledge the Traditional Custodians of Australia and their continuing connection to land and sea, waters, environment and community. We pay our respects to the Traditional Custodians of the lands we live and work on, their culture, and their Elders past and present.

Contents

Summary	v

Status of Australia and New Zealand	v

How to use this document	v

1	Diagnostic overview	7

1.1	Agent factors	7

1.2	Host factors	7

1.3	Disease pattern	8

1.4	Differential diagnosis	10

1.5	Guidance on safety and biosecurity requirements	10

1.6	Sampling	10

2	Diagnostic methods	12

2.1	General considerations	14

2.2	Histopathology	14

2.3	In situ hybridisation	16

2.4	Transmission electron microscopy	16

2.5	Molecular methods	17

2.6	Polymerase Chain Reaction (PCR)	17

2.7	Real-time PCR methods	17

2.8	Conventional PCR methods	20

2.9	Immunological assays	21

2.10	Bioassays	22

2.11	Tests recommended for surveillance to demonstrate freedom in apparently healthy populations	22

3	Corroborative diagnostic criteria	23

3.1	Case definition	23

4	Appendix A: Reagents and kits	25

References	26

Tables

Table 1 Summary of aquatic disease preparedness and response planning documents in Australia	vi

Table 2 Recommended diagnostic methods and their level of validation for surveillance of healthy animals and investigation of clinically affected animals	13

Table 3 Primer and probe sequences for the CSIRO and OIE WSSV qPCR assays	18

Table 4 Primer and probe sequences for the CSIRO Shrimp EF1 qPCR	20

Table 5 Primers used in the OIE WSSV nPCR	20

Table 6 Primers used in the OIE Decapod PCR	21

Table 7 Diagnostic performance of tests recommended for surveillance	22

Figures

Figure 1 WSSV-infected Penaeus monodon showing necrosis of haematopoietic tissue with inclusion bodies (arrows)	16

## Summary

White spot syndrome virus (WSSV) is the aetiological agent of white spot disease (WSD), a contagious viral disease that affects a wide range of decapod crustaceans, especially penaeid prawn species. WSSV is an enveloped, double-stranded DNA virus classified by the International Committee on Taxonomy of Viruses as the sole member of the genus Whispovirus, in the family Nimaviridae.

First reported in Asia in 1991, WSD is still considered the most serious threat to Penaeus monodon and P. vannamei farmers in Asia. WSSV has since spread throughout most prawn culture areas in the Indo-Pacific, the Americas and the Middle East.

In aquaculture, WSD outbreaks are often characterised by high and rapid mortality of infected populations. WSSV infections in farmed prawn populations frequently result in cumulative mortalities of up to 100% within 3 to 10 days of the onset of clinical signs. However, sub-clinical infections are also known to occur. There is uncertainty about the extent of clinical disease that wild animals experience due to infection with WSSV.

Prawns suffering from WSD may display various clinical signs including lethargy, reduced food consumption and anorexia, pink to red discolouration of the body, the appearance of white spots (0.5 to 2.0 mm in diameter) on the cuticle and high mortality. However, the presence of clinical signs is variable and in farmed prawns mortality may be the only observable sign. Lesions are associated with the systematic destruction of the ectodermal and mesodermal tissues, especially the cuticular epithelium and subcuticular connective tissues.

There are no clinical signs or lesions pathognomonic for WSD. White spots on the cuticle are not observed in all cases and they can also be caused by bacterial infection or environmental conditions. A presumptive diagnosis in clinically infected animals may be made on recognition of characteristic microscopic changes in tissues, but a confirmed diagnosis of WSD requires the use of polymerase chain reaction and sequence analysis or in-situ hybridisation (ISH).

### Status of Australia and New Zealand

White spot syndrome virus is limited to the Movement Regulated Area in south-east Queensland in Australia and is under an official control and containment program. New Zealand is considered free from WSSV. Infection with white spot syndrome virus is included in the World Organisation for Animal Health (WOAH; formerly OIE) Aquatic Code and WOAH Aquatic Manual as it is notifiable to the WOAH (WOAH 2022).

### How to use this document

The ANZSDPs are diagnostic procedures and sampling techniques intended for use in Australian and New Zealand laboratories. During an outbreak investigation, they are complementary to the disease specific AQUAVETPLAN manual, which contains details of appropriate operational and management procedures. The Aquatic Animal Diseases Significant to Australia: Identification Field Guide (DAWE 2020) provides further information on the clinical signs, and ways to identify the disease in the field.

The objectives of an ANZSDP are to:

standardise and harmonise test procedures to ensure consistency between laboratories using methods selected for their accuracy, sensitivity, specificity, and robustness

provide standard methods that can be used in:

external proficiency testing programs

development of capability within a laboratory quality system.

Some ANZSDPs may include modifications to WOAH requirements where specific procedures and interpretation are necessary for Australian and New Zealand circumstances.

Table 1 Summary of aquatic disease preparedness and response planning documents in Australia

| Publication | For |
| --- | --- |
| Aquatic field guide | Information for field identification of notifiable aquatic diseases, including exotic diseases |
| AQUAVETPLAN – disease manuals | Specific preparedness planning for key diseases |
| AQUAVETPLAN – operational procedures | Destruction/disposal/decontamination manuals for use during a disease response |
| AQUAVETPLAN – management manuals | Guidelines on running a disease control centre and information for enterprises to develop disease control strategies |
| ANZSDP – pathogen specific manuals | Diagnostic procedure information and laboratory protocols that are preferred for use in Australia |
| ANZSDP – general manuals | Technical information on sampling, surveillance and topics related to laboratory diagnostics |

## Diagnostic overview

### Agent factors

#### Aetiological agent

White spot syndrome virus (WSSV) is the aetiological agent of white spot disease (WSD). The disease affects a wide range of decapod crustaceans, especially penaeid prawn species (WOAH 2022).

WSSV is an enveloped, double-stranded DNA virus (Chou et al. 1995; Wang et al. 1995; Wongteerasupaya et al. 1995). It is a member of the genus Whispovirus in the family Nimaviridae (Lo et al. 2011). WSSV virions are ovoid or ellipsoid to bacilliform in shape measuring 120 to 150 nm in diameter and 270 to 290 nm in length, sometimes with a flagella-like appendage at one end (Lo et al.2011).

When WSSV first appeared in multiple regions, it was given multiple names before WSSV was recognised as the generic virus name (Lightner 2011; Lo et al. 2011). Various geographical strains of WSSV with genotypic variations have been identified, but all are classified as a single species of WSSV (Nakano et al. 1994; Wongteerasupaya et al. 2003; Marks et al. 2004; Lo et al. 2011; Oakey and Smith 2018).

#### Survival and stability inside host tissues

WSSV can remain infectious in host tissues following prolonged exposure to freezing temperatures (– 20° to –70°C) (Lightner et al. 1997b; Wang et al. 1997; Wang et al. 1999a; Nunan et al. 1998; Scott-Orr et al. 2017; John et al. 2010; Reddy et al. 2010). Experimental trials conducted using infectious materials obtained from prawn carcasses suggests that WSSV can remain infective for 6 days at 25.5°C to 28.8°C (Wang et al. 2002). However, a separate study suggests the virus can remain infective for at least 14 days in prawn heads at 27°C and for at least 28 days in prawn tails at the same temperature (Prior et al. 2000).

#### Survival and stability outside the host

WSSV can remain infectious in sterile seawater for up to 30 days at 30°C and 120 days at 15°C under laboratory conditions (Momoyama et al. 1998) and for 3 to 4 days in ponds (Nakano et al. 1998). An experimental study found WSSV was viable and infectious in seawater for 12 days at 27 ppt, pH 7.5 and 30°C to 32°C (Kumar et al. 2013).

### Host factors

#### Susceptible species

Decapod crustaceans (order Decapoda), including prawns, crabs, crayfish and lobsters from marine, brackish and freshwater sources are considered susceptible to infection with WSSV (Stentiford et al. 2009; Pradeep et al. 2012; WOAH 2022).

#### Likelihood of infection by species, host life stage, population or sub-populations

All life stages of prawns, from eggs to broodstock, are susceptible to infection with WSSV (Lightner 1998; Stentiford et al. 2009). In P. vannamei, susceptibility to WSSV increases after post larvae day 30, possibly due to genetic, physiological or etiological characteristics (Perez et al. 2005).

#### Reservoir hosts

A wide range of decapod crustaceans, including crabs and lobsters, are known to be reservoir hosts of WSSV (Lo et al. 1996a; Escobedo-Bonilla et al. 2008; Stentiford et al. 2009; Pradeep et al. 2012). In bioassays with P. monodon fed WSSV-infected crab and lobster tissues, clinical signs of WSD and mortality occurred in the prawns within 2 to 4 days (Rajendran et al. 1999).

Non-decapod species, such as copepods, rotifers, polychaete worms (such as Marphysa gravelyi, Pereneis nuntia and Dendronereis spp.), marine molluscs, sea slaters and aquatic insect larvae have been shown to act as mechanical carriers for WSSV (Lo et al. 1996a; Yan et al. 2004; Desrina et al. 2013; Haryadi et al. 2015; Laoaroon et al. 2005; Vijayan et al. 2005; Flegel 2006; Escobedo-Bonilla et al. 2008; Desrina et al. 2013; Haryadi et al. 2015; Wang et al. 2017). The detection of WSSV in prawn pond soil suggests that it too may act as a reservoir for the virus (Natividad et al. 2008; Kumar et al. 2013).

### Disease pattern

#### Mortality, morbidity and prevalence

Prevalence of WSSV ranges from less than 1% in infected wild populations to up to 100% in farmed populations (WOAH 2022). WSD outbreaks in farmed prawns are often characterised by high morbidity followed by high and rapid mortality.

WSSV infections in farmed prawns frequently result in cumulative mortalities of up to 100% within 3 to 10 days of the onset of clinical signs (Chou et al. 1995; Inouye et al. 1994; Lightner 1996a; Wongteerasupaya et al. 1995b). However, subclinical disease has been observed, with occasional mortality only (Tsai et al. 1999).

#### Clinical signs

Prawns suffering from WSD may display various clinical signs including lethargy, reduced food consumption, anorexia, pink to red discolouration of the body, the appearance of white spots (0.5 to 2.0 mm in diameter) on the cuticle and high mortality (Momoyama et al 1994; Takahashi et al. 1994; Chou et al. 1995; Wang et al. 1995; Durand et al. 1996, Lightner 1996a). The white spots are the result of calcified deposits by the cuticular epidermis (Lightner 1996b). WSD-affected prawns often swim near the surface of ponds. However, prawns suffering from WSD may also display very few clinical signs.

Clinical signs of WSD are not pathognomonic and the characteristic white spots may be caused by bacterial infections (possibly Bacillus subtilis) (Wang et al. 2000) and environmental stressors (such as high alkalinity) and are often absent in WSD-affected prawns (Wang et al. 2000; Flegel 2006; Hossain et al. 2015; WOAH 2022). The presence of clinical signs is variable and in some prawns the only observable sign is mortality.

#### Pathology

WSSV-infected prawns may have a loosened attachment of the carapace with the underlying cuticular epithelium, delayed clotting of haemolymph and excessive fouling of the gills (WOAH 2022). Lesions are often associated with systemic destruction of the ectodermal and mesodermal tissues, including but not restricted to, the gills, cuticular epithelium, haemocytes, nervous tissue, antennal gland, lymphoid organ, muscle, midgut, hindgut, haemopoietic tissue and subcuticular connective tissue (Chang et al. 1996; Di Leonardo et al. 2005; Durand et al. 1996; Lo et al. 1997; Wang et al. 1995; Wang et al. 1999; Wongteerasupaya et al. 1995b).

Histological signs of infection with WSSV include hypertrophied nuclei containing eosinophilic to basophilic inclusions and marginalised chromatin in tissues of ectodermal and mesodermal origin (Chang et al. 1996; Lightner 1996b; Lightner et al. 1997b; Wongteerasupaya et al. 1995b). This is mostly seen in the cuticular epithelial cells and connective tissue cells (Lightner, 1996b). These intracellular inclusions can be seen in squash mounts of gills and subcuticular tissues.

Multifocal necrosis associated with pyknotic and karyorrhectic nuclei and tissue disorganisation become evident as the infection advances (Chang et al. 1996; Wang et al. 1997; Wongteerasupaya et al. 1995a).

#### Transmission of the virus

Infection may be clinical or sub-clinical. In active infections, clinical signs are evident within 2 to 7 days, while sub-clinical infections may continue for extended periods. The transition from sub-clinical to clinical WSD is generally short, possibly as short as a few hours (Lo and Kou 1998). Transition may be triggered by stressors such as spawning (Hsu et al. 1999) or environmental parameters including rainfall, temperature, and salinity (Karunasagar et al. 1997; Peinado-Guevara and Lopez-Meyer 2006; Korkut et al. 2018).

Horizontal transmission of WSSV can occur by ingestion of infected tissue (Chang et al. 1996; Wang et al. 1999b) or immersion in infected water (Chou et al. 1995; Kanchanaphum et al. 1998; Wang et al. 1997). Ingestion has been shown to be a more effective transmission route than immersion in viral extract or cohabitation (Soto et al. 2001; Perez et al. 2005). Dead and moribund prawns are a significant source of WSSV transmission (Lo & Kou 1998; Soto et al. 2001) as they shed viral particles into the water, and their infected tissues are ingested by other prawns. Experimentally, WSSV can also be transmitted by injection of infected inoculum (Takahashi et al. 1994; Momoyama et al. 1998; Nunan et al. 1998; Balasubramanian et al. 2006).

Vertical transmission can also occur, with WSSV DNA detected in the reproductive organs of infected prawns by PCR analysis (Lo et al. 1997) and in the eggs, nauplii and post-larvae of WSSV-positive broodstock (Hsu et al. 1999; Peng et al. 2001; Tsai et al. 1999).

#### Environmental and management factors

The introduction of WSSV into new areas is most often attributed to the movement of live broodstock and post-larvae (Takahashi et al, 1994; Lightner et al., 1997b; Stentiford et al, 2009).

The importation of frozen prawns is considered a route of introduction through the reprocessing of imported prawns at processing plants and release of untreated wastes into coastal water and landfills, the use of imported prawns as bait by fishermen and the use of imported prawns as food for the maintenance of aquaculture ponds (Humphrey 1995). Several studies have shown that WSSV remains viable and infectious in frozen prawns, and WSSV-infected prawns are thought to be responsible for the introduction of WSSV into the USA and possibly Europe (Lightner et al, 1997a; Lightner et al., 1997b; Nunan et al, 1998; Durand et al., 2000; Reville et al, 2005; Hasson et al, 2006; Reddy, et al, 2010; Bateman 2014).

Other possible pathways include prawn eating gulls and seabirds (Lightner, 1997b) and natural dispersion of either wild infected prawns or carrier hosts (Galaviz-Silva et al, 2004; Tang et al, 2013).

#### Geographical distribution

Outbreaks of disease caused by infection with WSSV were first reported in the People’s Republic of China, Taiwan and Japan between 1991 and 1993 (Chou et al, 1995; Inouye et al., 1994; Momoyama et al, 1994; Takahashi et al, 1994; Escobedo-Bonilla et al, 2008). Subsequently, it has spread throughout Asia (Flegel, 2006), the Americas (Escobedo-Bonilla, 2016; Lightner, 2011), the Mediterranean (Stentiford & Lightner, 2011), the Middle East (Yap, 2011) and Africa (Le Groumellec, 2012). Most recently, WSSV was detected during an outbreak in south-east Queensland, Australia. WSSV is under an official control and containment program (Queensland Department of Agriculture and Fisheries, 2021).

### Differential diagnosis

In addition to WSSV, other exotic viruses should be included on the differential diagnostic list for unexplained mass mortalities in penaeid species farmed in Australia. The exotic pathogens that should be included in initial screening are yellow head virus genotype 1 (YHV1), Taura syndrome virus (TSV), Decapod iridescent virus 1 (DIV1) and Infectious myonecrosis virus (IMNV). The endemic pathogen to be included is gill-associated virus (GAV, or yellowhead genotype 2 (YHV2)). Further information on diseases with a similar presentation to WSD is contained in the Aquatic Animal Diseases Significant to Australia: Identification Field Guide (DAWE 2020) and the WSSV AQUAVETPLAN (Table 1).

### Guidance on safety and biosecurity requirements

The WSSV restricted area in south-east Queensland is under an official control and eradication program (Queensland Department of Agriculture and Fisheries 2021). Outside the restricted area of Australia, WSSV is considered exotic and WSSV is exotic to New Zealand. Appropriate laboratory containment is required to minimise the biosecurity risk of spreading outside of the laboratory environment, and regulatory requirements involving handling of infectious materials or amplification of infectious agents must be met. Laboratory activities involving amplification of unfixed decapod material, suspected or confirmed to be infected with WSSV in a laboratory facility should only be handled at Physical Containment Level (PC) 3.

### Sampling

#### Selection of populations and individual specimens

To confirm WSSV in diseased prawns, the sampler must collect at least:

100 representative larval to post-larval stage prawns, or

10 representative juvenile to adult-stage prawns.

Samples must be submitted to the relevant state or territory veterinary diagnostic laboratory. The selected prawns should have signs consistent with infection with WSSV and numbers should be sufficient for laboratory testing for each epidemiological unit (WOAH 2022).

For surveillance to demonstrate freedom, surveys should be designed in accordance with Chapter 1.4 of the WOAH Aquatic Code (WOAH 2022).

#### Suitable tissue samples for DNA extraction

Wherever possible, material for testing should be collected from live or moribund prawns, to minimise degradation of the tissue and viral DNA. Preferred tissues are the gill, pleopod or cuticular epithelium (WOAH 2022). However, muscle tissue or swab samples from muscle tissue are also suitable (Department of Agriculture and Water Resources 2017). Whole larvae or post-larvae will also suffice.

#### Samples or tissues that are not suitable for pathogen detection

Prawn eyes, eye stalks and internal organs in the head, in particular the hepatopancreas, should be avoided as they are known to contain PCR inhibitors.

#### Preservation of samples for submission

Where possible, live or moribund prawns should be anaesthetised by a brief period of chilling (not freezing) before being sampled. For histological analysis, fixed tissues are required. For molecular testing, fresh, frozen or ethanol-fixed tissues can be submitted. If there is any delay in the submission of fresh samples, they may be frozen and stored at −20°C or lower.

For histological examination, Davidsons Fixative (Appendix A: Reagents and kits) should be used. For larvae and postlarvae, immerse live animals directly in a minimum of 10 volumes of fixative. For juvenile and adult prawns the head should be removed and injected at multiple sites with fixative then placed in a minimum of 10 volumes of fixative. If ISH is required, the Davidsons Fixative should be replaced with 70% ethanol after 48 hours.

For molecular testing, 70 to 80% (v/v) ethanol (analytical grade ethanol, not technical grade) should be used. For larvae and post-larvae, immerse live animals directly in a minimum of 10 volumes of fixative. For live juvenile and adult prawns, dissect either gill tissue (whole filaments) or pleopods and immediately place the samples into a minimum of 10 volumes of fixative. After 24 hours fixation, most of the ethanol can be poured off, and the tissues are kept at ambient temperature for submission.

#### Pooling of samples

For the detection of WSSV in post-larvae, a pooled sample of whole post-larvae should be used to obtain sufficient material for nucleic acid extraction and molecular testing. For the detection of WSSV in samples from larger life stages, pools of samples from up to 5 individual animals may be used if the impact of pooling on diagnostic sensitivity has been determined for the purpose of use.

## Diagnostic methods

In a suspected outbreak of WSD that is affecting any species of crustacean, PCR should be used initially as it provides the most rapid turnaround required to make a presumptive diagnosis. The standard approach is to screen with real-time PCR (qPCR) with confirmation of positives by conventional PCR and sequence analysis of amplicons. This is generally possible with clinically affected prawns but may not always be possible with apparently healthy prawns, due to the higher CT values obtained. Depending on samples collected, PCR testing may also be undertaken concurrently with histology and ISH. A definitive association can then be made between the presence of WSSV and observed histopathological tissue changes characteristic of WSD.

Table 2 shows recommended diagnostic methods and their level of validation for surveillance of healthy animals and investigation of clinically affected animals. For each recommended assay, a qualitative rating for the purpose of use is provided. The ratings are determined based on multiple performance and operational factors relevant to application of an assay for a defined purpose. These factors include appropriate diagnostic performance characteristics, level of assay validation, availability, cost, timeliness, and sample throughput and operability. For a specific purpose of use, assays in Table 2 are rated as:

Optimal – Methods are most suitable with desirable performance and operational characteristics.

Acceptable – Methods are suitable with acceptable performance and operational characteristics under most circumstances.

Limited – Methods are suitable, but performance or operational characteristics may limit application under some circumstances.

n/a – Not appropriate for this purpose.

Table 2 Recommended diagnostic methods and their level of validation for surveillance of healthy animals and investigation of clinically affected animals

| Method | Surveillance of apparently healthy animals |  |  |  | Presumptive diagnosis of clinically affected animals |  |  |  | Confirmatory diagnosis of a suspect result from surveillance or presumptive diagnosis a |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Early life stages b | Juveniles b | Adults | LV | Early life stages b | Juveniles b | Adults | LV | Early life stages b | Juveniles b | Adults | LV |
| Histopathology c | n/a | n/a | Limited | 2 | Acceptable | Optimal | Optimal | 3 | n/a | n/a | n/a | n/a |
| Real-time PCR | Acceptable | Optimal | Optimal | 4 | Acceptable | Optimal | Optimal | 4 | Acceptable | Optimal | Optimal | 4 |
| Conventional PCR | Acceptable | Acceptable | Acceptable | 2 | Acceptable | Acceptable | Acceptable | 2 | n/a | n/a | n/a | n/a |
| Conventional PCR followed by amplicon sequencing | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | Optimal | Optimal | Optimal | 2 |
| ISH | n/a | n/a | n/a | n/a | Limited | Acceptable | Acceptable | 1 | Limited | Acceptable | Acceptable | 1 |
| Bioassay | n/a | n/a | n/a | n/a | Limited | Acceptable | Acceptable | 1 | n/a | n/a | n/a | n/a |
| Lateral flow assay | n/a | n/a | n/a | n/a | Limited | Limited | Limited | 1 | n/a | n/a | n/a | n/a |

Note: LV Level of validation refers to the stage of validation in the WOAH Pathway (chapter 1.1.2). PCR Polymerase chain reaction. qPCR = real-time PCR. a For confirmatory diagnoses, methods need to be carried out in combination in accordance with Section 3. b Early and juvenile life stages refer to larvae and post-larvae. c Histopathology can be validated if the results from different operators have been statistically compared.

### General considerations

Virus isolation on cell lines is not available for WSSV. Detection has instead focused primarily on histology and molecular methods.

Histopathology and transmission electron microscopy (TEM) (Takahashi et al. 1994; Chou et al. 1995; Wongteerasupaya et al. 1995b) have been used to detect WSSV along with dot blot hybridisation (Edgerton, 2004), in situ hybridisation (ISH) (Chang et al. 1996; Durand et al. 1996; Lo et al. 1997; Wongteerasupaya et al. 1996) and loop mediated isothermal amplification (LAMP) (Mekata et al. 2009; Srisuvan et al. 2013). Various antibody-based tests using either monoclonal or polyclonal antibodies against WSSV have been developed for WSSV detection (Nadala & Loh 2000; Poulos et al. 2001; Anil et al. 2002; You et al. 2002; Yoganandhan et al. 2004; Sithigorngul et al. 2006). Molecular methods such as qPCR (Durand & Lightner 2002; Sritunyalucksana et al. 2006; Mendoza-Cano & Sánchez-Paz 2013) and conventional PCR (Lo et al. 1996a; Lo et al. 1996b; Lo et al. 1997; Maeda et al. 1997) are commonly used for WSSV screening and confirmatory testing.

### Histopathology

#### Samples for histopathology

##### Fixation

For larvae and small post-larvae, live animals can be immersed directly into Davidson’s fixative solution (Appendix A) and left for 24 to 72 hours. For larger post-larvae and very small juveniles, incise the cuticle with a needle before fixing. After fixation for 24 to 72 hours, transfer to 70% (v/v) ethanol and transport at ambient temperature. Davidson’s fixative is a highly acidic fixative that decalcifies the shell to facilitate tissue processing and sectioning. Conventional fixative solutions, such as 10% neutral buffered formalin, do not decalcify or penetrate the shell, which results in poor fixation and difficulty in cutting sections. Precautions must be taken to avoid skin and eye contact with Davidson’s fixative solution.

For juvenile and adult prawns, after chilling or anaesthesia, inject Davidson’s fixative ensuring that the hepatopancreas is injected liberally first, and that the whole specimen is thoroughly injected thereafter with 5 to 10% of its body weight of fixative. If this is done properly, the whole body will turn red. Next, using a small pair of pointed scissors, the cuticle only should be cut along the mid-lateral side of the animal, starting at the sixth abdominal segment and moving up to the beginning of the cephalothorax, at which point the scissors should be angled in to meet the base of the rostrum. Then the whole prawn should be placed in 10 volumes of Davidson’s fixative for 24 hours (up to 72 hours for larger prawns), after which it should be transferred to 70% (v/v)ethanol.

Where diagnosis is based on histology, tissues may be fixed for an unlimited time without loss of quality. However, specimens for ISH should be transferred from Davidson’s fixative to 70% (v/v) ethanol after 24 to 48 hours or they will be unsuitable for ISH.

Following fixation, the specimens are embedded in paraffin wax and processed and stained with Meyer’s haematoxylin and eosin (H&E) using standard methods. Inclusion bodies in target tissues are suggestive of infection with WSSV.

##### Sample number

For most crustaceans, the recommended minimum number of specimens that should be collected for diagnosis is 100 for larval stages, 50 for post-larval stages and 10 for juvenile and adult stages, with preference for individuals with patent signs of disease and/or gross lesions. The laboratory receiving the samples should be consulted if there is any doubt regarding the number of specimens to be submitted.

##### Examination

Examine tissue sections stained with H&E using standard techniques (Bell & Lightner 1988; Lightner 1996) by light microscopy for the presence of moderate to high numbers of WSSV infected cells in tissues of ectodermal and mesodermal origin. These cells typically display hypertrophied nuclei with eosinophilic to basophilic central inclusions (

) surrounded by marginated chromatin. Subcuticular tissues of the stomach, cephalothorax or gill are the most appropriate tissues for detecting histopathology changes characteristic of WSD (Wongteerasupaya et al. 1995).

Necrotic changes can also be seen in the antennal gland epithelium, lymphoid organ sheath cells and haematopoietic tissues, and in fixed phagocytes of the heart. Infected cells typically display hypertrophied nuclei containing a single intranuclear inclusion. In early stages of WSSV infection, nuclear inclusions are eosinophilic and (as an artefact of tissue preservation in Davidson’s fixative) are separated by a clear halo from the marginated chromatin. Such eosinophilic or Cowdry type A intranuclear inclusions are characteristic of infections caused by many viruses of both vertebrates and invertebrates and appear as amorphous structures surrounded by clear halos beneath the nuclear membrane. Later in infection, inclusions stain lightly to darkly basophilic and can enlarge to fill the entire nucleus (Lightner 1996; WOAH 2022). This feature can be used to distinguish infection caused by WSSV from that caused by Infectious hypodermal hematopoietic necrosis virus (IHHNV), in which only Cowdry type A inclusion bodies are formed.

Figure 1 WSSV-infected Penaeus monodon showing necrosis of haematopoietic tissue with inclusion bodies (arrows)

### In situ hybridisation

In situ hybridisation (ISH) uses a digoxigenin (DIG)-labelled RNA probe to detect WSSV in paraffin sections. Commercial WSSV kits are available and may be more suitable for a laboratory that is not undertaking ISH for WSSV.

If WSSV is present in the tissue section, the hybridisation process will allow the DIG-labelled RNA probe, developed by in vitro transcription, to bind to the complementary WSSV DNA and form a stable DNA-RNA hybrid. When an anti-DIG antibody, conjugated to alkaline phosphatase, is applied to the section and a substrate is applied, a colour reaction is observed.

The detailed protocol for WSSV ISH testing, based on the protocol reported by Nunan and Lightner (1997) is described in the WOAH Aquatic Manual for infection with white spot syndrome virus (WOAH 2022).

The Australian Centre for Disease Preparedness (ACDP) has ISH and immunohistochemistry capability, but the methods need optimising and validating so are not described here.

### Transmission electron microscopy

The most suitable tissues for TEM are subcuticular tissues, gills and pleopods. These tissues should have been screened by histology or rapid-stain tissue squashes and showed signs of hypertrophied nuclei and Cowdry type-A inclusions, or marginated chromatin surrounding a basophilic inclusion body.

Tissues are fixed in a 10:1 fixative to tissue volume of 6% glutaraldehyde at 4°C and buffered with sodium cacodylate or phosphate to pH 7.0, for at least 24 hours. For long-term storage, glutaraldehyde concentration is reduced to 1%. The tissues are then fixed in 1% osmium tetroxide and stained with uranyl acetate and lead citrate.

WSSV virions are rod-shaped to elliptical with a trilaminar envelope and measure approximately 80 to 120 nm × 250 to 380 nm and often characterised by a flagella-like protrusion from the envelope (WOAH 2022).

### Molecular methods

#### Quality control aspects

Molecular testing for pathogens on Australia’s National List of Reportable Diseases of Aquatic Animals must be operated under a quality management program accredited and audited according to the international standard ISO/IEC 17025. A quality management program will include initial evaluation of kits and reagents; validation of testing methods (Table 2); ongoing internal evaluation through mandatory use of appropriate quality control samples; and performance monitoring through external quality assessment or proficiency testing programs.

Quality control samples (positive, negative and reagent controls) must be specified in the laboratory’s protocols and included in every run. The data generated must be recorded to monitor run-to-run performance.

#### DNA extraction method

Fresh and ethanol-fixed tissues can be homogenised (e.g. bead-beating tubes) directly in lysis or extraction buffer or digested in extraction buffer, provided with commercially available DNA extraction kits. Commercially available extraction kits (e.g. spin columns and magnetic bead platforms) should be validated or undergo equivalence testing with current validated extraction procedures, according to the laboratory’s quality system requirements, including if extraction kit chemistries change.

### Polymerase Chain Reaction (PCR)

In general, qPCR methods have high sensitivity and specificity, and are most appropriate for high-throughput molecular testing. Following adequate validation (Table 2), they can be used for direct detection of viral nucleic acids. qPCR can be used in surveillance of apparently healthy populations, as well as in the diagnosis of clinically affected animals, although conventional PCR and sequence analysis are required for confirmatory diagnosis.

Due to the highly sensitive nature of PCR tests, highly developed technical skills, use of appropriate quality controls (e.g. positive, negative extraction and no template controls) and separate work areas (e.g. mastermix preparation, nucleic acid extraction, template addition and amplification) are required to avoid cross-contamination and production of false-positive results.

### Real-time PCR methods

#### WSSV qPCR assays

qPCR assay components (e.g. platforms, internal controls, master mixes and probe chemistries, cycling parameters etc.) may vary between laboratories; however in all cases, these methods should be accredited to ISO 17025, or equivalent, and demonstrated to be comparable to the assays described in this ANZSDP.

The TaqMan qPCR method combines amplification of target DNA by PCR with the simultaneous detection of the target by a specific labelled probe with a reporter fluorophore. The 2 WSSV qPCR methods described herein are designed with WSSV DNA sequence-specific primers and probes that are based on conserved genome regions coding for the WSSV capsid protein. The probe further increases the specificity of the method because, in addition to the primers, this probe must also bind to the target DNA sequence.

The 2 WSSV TaqMan qPCR methods described in this procedure are both recognised by the Australian Government Department of Agriculture, Fisheries and Forestry as suitable for the detection of WSSV DNA for biosecurity risk management The diagnostic sensitivity and diagnostic specificity of the assays differ depending on the purpose of the test (e.g. detection of WSSV in clinically diseased prawns or in apparently healthy prawns) and are described in Table 7. The CSIRO WSSV qPCR uses the primers and probe described by East et al. (2004) and Sritunyalucksana et al. (2006), and the OIE WSSV qPCR uses the primers and probe described by Durand and Lightner (2002) outlined in the World Organisation for Animal Health (OIE) Manual of Diagnostic tests for Aquatic Animals (WOAH 2022). Primers and probes are described in Table 3.

Table 3 Primer and probe sequences for the CSIRO and OIE WSSV qPCR assays

| Assay | Primer/probe | Sequence |
| --- | --- | --- |
| CSIRO WSSV qPCR | CSIRO WSSV-F | 5’- CCG ACG CCA AGG GAA CT -3’ |
|  | CSIRO WSSV-R | 5’- TTC AGA TTC GTT ACC GTT TCC A -3’ |
|  | CSIRO WSSV probe | 5’- 6FAM CGC TTC AGC CAT GCC AGC CG TAMRA -3’ |
| OIE WSSV qPCR | OIE WSSV 1011F | 5'- TGG TCC CGT CCT CAT CTC AG -3' |
|  | OIE WSSV 1079R | 5'- GCT GCC TTG CCG GAA ATT A -3' |
|  | OIE WSSV Probe | 5'- 6FAM AGC CAT GAA GAA TGC CGT CTA TCA CAC A TAMRA -3' |

As implemented at ACDP (Moody et al, 2022), both assays use the following reaction and cycling conditions: each 25 µl reaction mix contains 2 µl extracted nucleic acid template, 12.5 µl TaqMan Universal PCR Master Mix (Life Technologies), a final concentration of 900 nM for each primer, 250 nM for the probe and molecular-grade water. PCR amplifications are programmed as follows: 1 cycle of 50C for 2 minutes, 1 cycle of 95C for 10 minutes followed by 45 cycles of 95C for 15 seconds and 60C for 60 seconds. A threshold of 0.1 is used to determine CT value. The qPCR assays are performed in a 7500 Fast Real-Time PCR System or QuantStudio 5 Real-Time PCR System (Life Technologies) and analysed with the 7500 or QuantStudio design and analysis software, respectively.

The following negative and positive controls must be included in each qPCR run:

A negative extraction control: this control is a blank sample or WSSV-negative tissue run through the extraction process, to confirm that the reagents and equipment used for the DNA extraction are free from contamination with WSSV DNA.

A no template control: this control contains all the components of the qPCR reaction mixture, but no template DNA, to confirm that the reagent and equipment used for the qPCR are free from contamination with WSSV DNA.

At least one positive control for WSSV; this control consists of DNA extracted from prawn tissues confirmed to be infected by WSSV, or a plasmid or synthetic DNA containing the target WSSV DNA fragment, to confirm all the reactions components were included in the mastermix and cycling conditions were as described.

For the assay and test results to be valid the following criteria must be fulfilled: All negative controls must have no evidence of typical amplification curves. Each positive control must yield a typical amplification curve and mean CT values within the acceptable range according to quality control data accumulated by the NATA accredited diagnostic laboratory.

#### Interpretation of WSSV qPCR results

A positive WSSV qPCR result indicates the presence of a WSSV DNA fragment (targeted by the specific qPCR method applied) in the sample tested. A negative WSSV qPCR result indicates that there is no target WSSV DNA detected in the sample tested.

Using either the CSIRO WSSV qPCR or OIE WSSV qPCR method, the following rules must be applied for interpreting of results.

##### For initial testing

A sample that does not yield a typical amplification curve within 45 cycles is ‘negative’ for WSSV.

A sample that generates a typical amplification curve which has crossed the threshold before 40 cycles is ‘positive’ for WSSV.

A sample that generates a typical amplification curve crossing the threshold between 40 and 45 cycles, or a sample that generates a typical amplification curve within 45 cycles but does not cross the threshold, is ‘suspect positive’ for WSSV. ‘Suspect positive’ samples must be retested within the same laboratory using one of the 2 qPCR methods described in this procedure.

If the result of retesting is positive or suspect positive, the sample is reported as ‘positive’, ‘suspect positive’ or ‘indeterminate’ according to laboratory reporting terminology and jurisdictional requirements.

If retesting of a suspect positive produces a negative result, the sample should remain classified as suspect positive and be referred for confirmatory testing at ACDP.

##### For confirmatory testing at ACDP

A sample that does not yield a typical amplification curve within 45 cycles is ‘negative’ for WSSV.

A sample that generates a typical amplification curve within 45 cycles is ‘positive’ for WSSV.

As WSSV is listed on Australia’s National List of Reportable Diseases of Aquatic Animals, any positive or suspect detection of WSSV must immediately be reported to the relevant authority (i.e. state or territory Chief Veterinary Officer and/or Director of Fisheries) and referred to ACDP for confirmatory testing.

#### Shrimp EF1 Housekeeping-gene qPCR

A qPCR housekeeping gene assay, targeting the penaeid elongation factor 1-α/β (EF1) genes, the CSIRO Shrimp EF1 qPCR, has been developed by Cowley et al. (2018). This assay can be used to confirm nucleic acids were extracted and are free of PCR inhibitors. Primer and probe sequence are described in Table 4.

Table 4 Primer and probe sequences for the CSIRO Shrimp EF1 qPCR

| Assay | Primer/Probe | Sequence |
| --- | --- | --- |
| CSIRO Shrimp EF1 qPCR | Shrimp-EF1qF1 | 5'- GGC CGT GTG GAG ACT GGT AT -3' |
|  | Shrimp-EF1qR1 | 5'- CGT GGT GCA TCT CCA CAG A-3' |
|  | Shrimp-EF1qPr1 | 5'- 6FAM CTG AAG CCA GGT ATG GTT GTC AAC TTT GCC TAMRA -3' |

As implemented at ACDP, the reaction, cycling conditions and results interpretation are as for the WSSV-specific qPCR assays. The CSIRO Shrimp EF1 qPCR will detect Penaeus spp., Litopenaeus spp. and Melicertus latisulcatus, but will not detect DNA extracted from Metapenaeus spp., Macrobrachium spp., Paratya australiensis, Pleoticus muelleri and other non-penaeid decapods (e.g. crabs, crayfish). For most of these species, the OIE Decapod PCR described in 2.8.3 can be used.

### Conventional PCR methods

#### OIE WSSV nested PCR

The OIE nested PCR is based on the primer sequences described by Lo et al. (1996b) and amplifies a 1447 base pair (bp) sequence of viral genomic DNA in the first reaction and an internal fragment of 941 bp in the nested reaction. Primers are described in Table 5. Reaction products are visualised by agarose gel electrophoresis.

Table 5 Primers used in the OIE WSSV nPCR

| Primer | Sequence | Amplicon size |
| --- | --- | --- |
| WSSV 146F1 | 5’-act act aac ttc agc cta tct ag-3’ | 1447 bp |
| WSSV 146R1 | 5’-taa tgc ggg tgt aat gtt ctt acg a-3’ | 1447 bp |
| WSSV 146F2 | 5’-gta act gcc cct tcc atc tcc a-3’ | 941 bp |
| WSSV 146R2 | 5’-tac ggc agc tgc tgc acc ttg t-3’ | 941 bp |

As implemented at ACDP, the OIE WSSV nPCR assay uses the following reaction and cycling conditions: each primary PCR reaction mix of 25 μl is made up of 2 µl extracted nucleic acid, 12.5 μl HotStarTaq Master Mix (Qiagen) and 360 nM of each primer.

PCR amplifications are programmed as follows: 1 cycle of 95C for 15 minutes followed by 40 cycles of 94C for 30 seconds, 55C for 30 seconds and 72C for 90 seconds.

After a final extension at 72C for 7 minutes reactions are held at 4C.

For the nested PCR, 2 µl of the primary PCR is added to the nested PCR master mix, which is made as described using the nested primers, with PCR amplification using the same cycling conditions as for the primary PCR.

For the assay and test results to be valid, the following criteria must be fulfilled:

The no template control and negative extraction control must have no evidence of specific amplicons.

The positive control must yield a specific amplicon of 1447 bp for the primary PCR and 941 bp for the nested PCR.

Test samples with amplicons of the expected size of 1447 bp for the primary PCR and/or 941 bp for the nested PCR are considered test positive. Sequencing of amplicons is performed as described in section2.8.2.

As WSSV is listed on Australia’s National List of Reportable Diseases of Aquatic Animals, any positive or suspect detection of WSSV must immediately be reported to the relevant authority (i.e. state or territory Chief Veterinary Officer and/or Director of Fisheries) and referred to ACDP for confirmatory testing.

#### DNA sequencing of PCR products

If conventional WSSV PCR is utilised as a criterion for a confirmed case (see section 4), the amplicons from the primary or nested PCR should be sequenced. Amplicons of the expected size, visualised by agarose gel electrophoresis, should be excised from the gel and purified using a commercially available agarose gel DNA extraction kits. The purified and quantified amplicons should be sequenced using both the forward (WSSV 146F1 and/or WSSV 146F2) and reverse (WSSV 146R1 and/or WSSV 146R2) primers and chromatograms analysed, consensus sequence generated and comparison with reference sequences available from NCBI GenBank, undertaken using commercially available sequence analysis software.

#### OIE Decapod PCR

The OIE Decapod PCR (Lo et al. 1996a) targets the decapod 18S rRNA gene to generate an amplicon of 848 bp. This assay can be used to verify the integrity of extracted nucleic acid and absence of PCR inhibitors. Primers are described in Table 6.

Table 6 Primers used in the OIE Decapod PCR

| Primer | Sequence | Amplicon size |
| --- | --- | --- |
| 143F | 5’-TGC CTT ATC AGC TN*T CGA TTG TAG-3’ | 848 bp |
| 145R | 5’-TTC AGN* TTT GCA ACC ATA CTT CCC-3’ | 848 bp |

Note: N* = G, A, T or C

As implemented at ACDP, the reaction and cycling conditions are the same as those for the OIE WSSV nPCR.

For the assay and test results to be valid the following criteria must be fulfilled:

The no template control and negative extraction control must have no evidence of specific amplicons.

The positive control must yield a specific amplicon of 848 bp.

Test samples with amplicons of the expected size of 848 bp are considered test positive.

The OIE Decapod PCR will generate amplicons from DNA extracted from prawns, crabs, crayfish and stomatopods but not from Metapenaeus spp.

### Immunological assays

Both polyclonal and monoclonal antibodies have been produced to detect various WSSV proteins, and the WOAH Aquatic Manual summarises antibody-based tests that can be used to diagnose infection with WSSV (WOAH 2022). These detection methods have a WSSV detection sensitivity much lower than conventional PCR (Chaivisuthangkura et al. 2010).

Immunoassay lateral flow tests are commercially available internationally and can provide relatively rapid pond-side detection of WSSV proteins in clinical samples. These tests are targeted more towards management to prevent farm mortalities in regions where WSD is endemic. Approval for use of such test-kits rests within individual jurisdictions. As these methods are not in routine use, they are not described in this ANZSDP.

### Bioassays

When used in isolation, a bioassay is insufficient for definitive WSSV diagnosis as the clinical sample might contain other pathogenic viruses. Therefore, other tests must be used in conjunction with a bioassay to confirm WSSV as the cause of morbidity and/or mortality events suspected to involve WSD. Bioassay protocols for WSSV have been published (Durand et al. 2000; McColl et al. 2004; Rajendran et al. 1999. Wesche et al. 2021).

### Tests recommended for surveillance to demonstrate freedom in apparently healthy populations

qPCR is the recommended method for declaring freedom from WSSV (WOAH 2022). Diagnostic sensitivity (DSe) and diagnostic specificity (DSp) for the 2 qPCR assays described in this ANZSDP are in Table 7.

Table 7 Diagnostic performance of tests recommended for surveillance

| Test type | Test purpose | Source populations | Tissue or sample types | Species | DSe [95% PI] (n) | DSp [95% PI] (n) | Citation |
| --- | --- | --- | --- | --- | --- | --- | --- |
| CSIRO WSSV qPCR | Diagnosis | Clinically diseased farmed prawns | Gill, pleopod | Penaeus monodon | 100 (n=71) | 100 (n=71) | Moody et al (2022) |
| OIE WSSV qPCR | Diagnosis | Clinically diseased farmed prawns | Gill, pleopod | Penaeus monodon | 100 (n=71) | 100 (n=71) | Moody et al (2022) |
| CSIRO WSSV qPCR | Surveillance in apparently healthy animals | Wild Australian prawns | Pleopods | Various | 82.9% [75.0-90.2] (n=1591) | 99.7% [98.6-99.99] (n=1591) | Moody et al (2022) |
| OIE WSSV qPCR | Surveillance in apparently healthy animals | Wild Australian prawns | Pleopods | Various | 76.8% [68.9-84.9] (n=1591) | 99.7% [98.7-99.99] (n=1591) | Moody et al (2022) |
| The two qPCR methods in parallel | Surveillance in apparently healthy animals | Wild Australian prawns | Pleopods | Various | 98.3% [91.6−99.99] (n=1591) | 99.4% [97.9−99.99] (n=1591) | Moody et al (2022) |

DSe diagnostic sensitivity, DSp diagnostic specificity, PI probability interval, n number of samples used

## Corroborative diagnostic criteria

The following case definitions for a suspect and confirmed case have been developed to support decision making. Confirmation of a suspect case in an area previously considered free from WSSV will be considered by the Aquatic Consultative Committee for Emergency Animal Diseases and will include consideration of laboratory test results and other relevant information related to the event. For a summary of aquatic disease preparedness and response planning documents please refer to Table 1.

### Case definition

#### Suspect case

Infection with WSSV is suspected if at least one of the following criteria is met:

Clinical signs consistent with infection with WSSV.

Histopathology consistent with infection with WSSV.

Positive conventional PCR result.

Positive qPCR result.

Positive result by bioassay.

Positive result by a lateral flow assay.

Suspect detection of WSSV in farmed or wild crustacean populations previously considered free from infection will initiate the alert phase of an emergency response. Further testing and the collection of additional samples (as necessary) should be expedited to confirm or exclude the criteria of a confirmed case (see Section 3.1.2).

#### Confirmed case

Infection with WSSV is considered to be confirmed if one or more of the following criteria are met:

Positive qPCR results and positive conventional PCR results with sequence analysis consistent with WSSV.

Positive results by real-time PCR and positive results by in-situ hybridisation.

Positive results by in-situ hybridisation and positive results by conventional PCR with sequence analysis consistent with WSSV.

Results must be carefully assessed to ensure that they are unlikely to be the result of contamination (e.g. detection of non-viable WSSV DNA in feed).

Confirmation of a suspected case of WSSV infection based on a preliminary molecular diagnostic method (e.g. real-time PCR), requires sequence analysis of amplicons generated by conventional PCR. Results should correlate with the pathology of the animal when diseased animals are being examined. Sub-clinical infection may occur when an animal does not show pathological signs of WSD but gives a positive result by PCR.

qPCR detections in animals with low intensity infections (e.g. in wild populations) may not be able to be confirmed by conventional PCR and sequencing due to insufficient target nucleic acid. In these situations, attempts to meet the criteria of a confirmed case should be made by additional sampling of the suspect population. If repeat sampling fails to provide sufficient material, an additional qPCR method can be used to confirm the case, but multiple animals must test positive on both assays.

## Appendix A: Reagents and kits

Appendix 1 Ingredients for Davidson’s fixative solution

| Ingredient | Amount |
| --- | --- |
| 40% formaldehyde | 220 mL |
| 95% ethanol | 330 mL |
| glacial acetic acid | 115 mL |
| distilled water | 335 mL |

## References

Anil, TM, Shankar, KM & Mohan, CV 2002, ‘Monoclonal antibodies developed for sensitive detection and comparison of white spot syndrome virus isolates in India’, Diseases of Aquatic Organisms, vol. 51, no. 1, pp. 67-75.

Balasubramanian, G, Sarathi, M, Venkatesan, C, Thomas, J & Sahul Hameed, AS 2008, ‘Oral administration of antiviral plant extract of Cynodon dactylon on a large scale production against white spot syndrome virus (WSSV) in Penaeus monodon’, Aquaculture, vol. 279, no. 1, pp. 2-5.

Bateman, KS 2014, ‘Susceptibility of European crustaceans to White spot syndrome virus (WSSV), a non-exotic, EC Directive-listed pathogen’, PhD thesis, University of Southampton, Ocean and Earth Science.

Chang, PS, Lo, CF, Wang, YC & Kou, CH 1996, ‘Identification of white spot syndrome associated baculovirus (WSBV) target organs in the shrimp Penaeus monodon by in situ hybridization’, Diseases of Aquatic Organisms, vol. 27, no. 2, pp. 131-9.

Chaivisuthangkura P, Longyant S, Rukpratanporn S, Srisuk C, Sridulyakul P & Sithigorngul P, 2010 ‘Enhanced white spot syndrome virus (WSSV) detection sensitivity using monoclonal antibody specific to heterologously expressed VP19 envelope protein’. Aquaculture, vol 299, pp. 15– 20.

Chou, HY, Huang, CY, Wang, CH, Chiang, HC & Lo, CF 1995, ‘Pathogenicity of a baculovirus infection causing white spot syndrome in cultured penaeid shrimp in Taiwan’, Diseases of Aquatic Organisms, vol. 23, no. 3, pp. 165-73.

Claydon, K, Cullen, B, Owens, L, 2004, OIE white spot syndrome virus PCR gives false positive results in Cherax quadricarinatus, Diseases of Aquatic Organisms, vol. 62, pp. 265-268.

Cowley JA, Rao, M, Coman, GJ 2018, Real-time PCR tests to specifically detect IHHNV lineages and an IHHNV EVE integrated in the genome of Penaeus monodon, Diseases of Aquatic Organisms pp. 129, 145-158.

Department of Agriculture and Water Resources, 2017, Procedure for detection of white spot syndrome virus for biosecurity risk management, Canberra, Australia, pp. 1-13.

DAWE, 2020, Aquatic Animal Diseases Significant to Australia: Identification Field Guide 5th Edition, Department of Agriculture, Water and the Environment, Canberra, Australia. [https://www.awe.gov.au/agriculture-land/animal/aquatic/guidelines-and-resources/aquatic_animal_diseases_significant_to_australia_identification_field_guide]

Desrina, Verreth, JAJ, Prayitno, SB, Rombout, JHWM, Vlak, JM & Verdegem, MCJ 2013, ‘Replication of white spot syndrome virus (WSSV) in the polychaete Dendronereis spp’, Journal of Invertebrate Pathology, vol. 114, no. 1, pp. 7-10.

Di Leonardo, VA, Bonnichon, V, Roch, P, Parrinello, N & Bonami, J 2005, ‘Comparative WSSV infection routes in the shrimp genera Marsupenaeus and Palaemon’, Journal of Fish Diseases, vol. 28, pp. 565-9.

Durand, S, Lightner, DV, Nunan, LM, Redman, RM, Mari, J & Bonami, JR 1996, ‘Application of gene probes as diagnostic tools for white spot baculovirus (WSBV) of penaeid shrimp’, Diseases of Aquatic Organisms, vol. 27, no. 1, pp. 56-66.

Durand, SV & Lightner, DV 2002, ‘Quantitative real time PCR for the measurement of white spot syndrome virus in shrimp’, Journal of Fish Diseases, vol. 25, no. 7, pp. 381-9.

East IJ, Black PF, McColl KA, Hodgson RAJ and Bernoth E-M (2004) Survey for the presence of White Spot Syndrome virus in Australian crustaceans. Australian Veterinary Journal 82, 236-239.

Edgerton, BF 2004, ‘Susceptibility of the Australian freshwater crayfish Cherax destructor albidus to white spot syndrome virus (WSSV)’, Diseases of Aquatic Organisms, vol. 59, pp. 187-93.

Escobedo-Bonilla, CM 2016, ‘Emerging infectious diseases affecting farmed shrimp in Mexico’, Austin Journal of Biotechnology and Bioengineering., vol. 3, no. 2, pp. 1062-4.

Escobedo-Bonilla, CM, Alday-Sanz, V, Wille, M, Sorgeloos, P, Pensaert, MB & Nauwynck, HJ 2008, ‘A review on the morphology, molecular characterization, morphogenesis and pathogenesis of white spot syndrome virus’, Journal of Fish Diseases, vol. 31, no. 1, pp. 1-18.

Fisheries, DoA 2017, ‘White spot disease’, https://www.daf.qld.gov.au/animal-industries/animal-health-and-diseases/a-z-list/white-spot-disease, Queensland Government

Flegel, TW 2006, ‘Detection of major penaeid shrimp viruses in Asia, a historical perspective with emphasis on Thailand’, Aquaculture, vol. 258, no. 1, pp. 1-33.

Galaviz-Silva, L, Molina-Garza, ZJ, Alcocer-Gonzalez, JM, Rosales-Encinas, JL & Ibarra-Gamez, C 2004, ‘White spot syndrome virus genetic variants detected in Mexico by a new multiplex PCR method’, Aquaculture, vol. 242, pp. 53-68.

Haryadi, D, Verreth, JAJ, Verdegem, MCJ & Vlak, JM 2015, ‘Transmission of white spot syndrome virus (WSSV) from Dendronereis spp. (Peters) (Nereididae) to penaeid shrimp’, Journal of Fish Diseases, vol. 38, no. 5, pp. 419-28.

Hasson, KW, Fan, Y, Reisinger, T, Venuti, J & Varner, PW 2006, ‘White-spot syndrome virus (WSSV) introduction into the Gulf of Mexico and Texas freshwater systems through imported, frozen bait-shrimp’, Diseases of Aquatic Organisms, vol. 71, no. 2, pp. 91-100.

Hossain, A, Nandi, SP, Siddique, MA, Sanyal, SK, Sultana, M & Hossain, MA 2015, ‘Prevalence and distribution of white spot syndrome virus in cultured shrimp’, Applied Microbiology, vol. 60, no. 2, pp. 128-34.

Hsu, H, Lo, CF, Lin, SC, Liu, KF, Peng, SE, Chang, YS, Chen, LL, Liu, WJ & Kou, GH 1999, ‘Studies on effective PCR screening strategies for white spot syndrome virus (WSSV) detection in Penaeus monodon brooders’, Diseases of Aquatic Organisms, vol. 39, no. 1, pp. 13-9.

Humphrey, HD 1995, Australian quarantine policies and practices for aquatic animals and their products, a review for the scientific working party on aquatic animal quarantine, Bureau of Resource Sciences, Canberra.

Inouye, K, Miwa, S, Oseko, N, Nakano, H, Kimura, T, Momoyama, K & Hiraoka, M 1994, ‘Mass mortalities of cultured kuruma shrimp Penaeus japonicus in Japan in 1993: electron microscopic evidence of the causative virus’, Fish Pathology, vol. 29, pp. 149-58.

John, KR, George, MR, Iyappan, T, Thangarani, AJ & Jeyaseelan, MJP 2010, ‘Indian isolates of white spot syndrome virus exhibit variations in their pathogenicity and genomic tandem repeats’, Journal of Fish Diseases, vol. 33, no. 9, pp. 749-58.

Kanchanaphum, P, Wongteerasupaya, C, Sitidilokratana, N, Boonsaeng, V, Panyim, S, Tassanakajon, A, Withyachumnarnkul, B & Flegel, TW 1998, ‘Experimental transmission of white spot syndrome virus (WSSV) from crabs to shrimp Penaeus monodon’, Diseases of Aquatic Organisms, vol. 34, no. 1, pp. 1-7.

Karunasagar, I, Otta, SK & Karunasagar, I 1997, ‘Histopathological and bacteriological study of white spot syndrome of Penaeus monodon along the West Coast of India’, Aquaculture, vol. 153, no. 1-2, pp. 9-13.

Korkut, GG, Noonin, C & Söderhäll, K 2018, ‘The effect of temperature on white spot disease progression in a crustacean, Pacifastacus leniusculus’, Developmental & Comparative Immunology, vol. 89, pp. 7-13.

Kumar, SS, Bharathi, RA, Rajan, JJS, Alavandi, SV, Poornima, M, Balasubramanian, CP & Ponniah, AG 2013, ‘Viability of white spot syndrome virus (WSSV) in sediment during sun-drying (drainable pond) and under non-drainable pond conditions indicated by infectivity to shrimp’, Aquaculture, vol. 402-403, pp. 119-26.

Laoaroon, S, Boonnat, A, Poltana, P, Kanchanaphum, P, Gangnonngiw, W, Nash, G & Withyachumnarnkul, B 2005, ‘Infectivity of white spot syndrome virus (WSSV) to the polychaete Pereneis nuntia and a possibility of WSSV transmission from the polychaete to the black tiger shrimp Penaeus monodon’, Diseases in Asian aquaculture V: proceedings of the fifth symposium on diseases in Asian aquaculture, Queensland, Asian Fisheries Society, Quezon City, Philippines, pp. 353-61.

Le Groumellec, M 2012, ‘Expert opinion: white spot disease in Africa: second occurrence in the Mozambique Channel’, OIE Regional Representation for Africa (RR-AF), World Organisation for Animal Health (OIE), Bamako, Mali, available at.

Lightner DV (ed) 1996b, A handbook of shrimp pathology and diagnostic procedures for disease of cultured penaeid shrimp, World Aquaculture Society, Baton Rouge, Louisiana, USA.

Lightner DV 2011, ‘Virus diseases of farmed shrimp in the western hemisphere (the Americas): a review’, Journal of Invertebrate Pathology, vol. 106, no. 1, pp. 110-30.

Lightner, DV 1996a, ‘Epizootiology, distribution and the impact on international trade of two penaeid shrimp viruses in the Americas’, Revue Scientifique et Technique de l'Office International des Epizooties, vol. 15, no. 2, pp. 579-601.

Lightner, DV, Hasson, KW, White, BL & Redman, RM 1998, ‘Experimental infection of Western hemisphere penaeid shrimp with Asian white spot syndrome virus and Asian yellow head virus’, Journal of Aquatic Animal Health, vol. 10, no. 3, pp. 271-81.

Lightner, DV, Redman, RM, Poulos, BT, Nunan, LM, Mari, JL & Hasson, KW 1997b, ‘Risk of spread of penaeid shrimp viruses in the Americas by the international movement of live and frozen shrimp’, Revue Scientifique et Technique de l'Office International des Epizooties, vol. 16, no. 1, pp. 146-60.

Lo, CF & Kou, GH 1998, ‘Virus-associated white spot syndrome of shrimp in Taiwan: a review’, Fish Pathology, vol. 33, no. 4, pp. 365-71.

Lo, CF, Aoki, T, Bonami, JR, Flegel, T, Leu, JH, Lightner, DV, Stentiford, G, Söderhäll, K, Walker, PJ, Wang, HC, Xun, X, Yang, F & Vlak, JM 2011, 'Family: Nimaviridae', in ICTV 9th report: 2009 taxonomy release, Elsevier, Academic Press, London, available.

Lo, CF, Ho, CH, Chen, CH, Liu, KF, Chiu, YL, Yeh, PY, Peng, SE, Hsu, HC, Liu, HC, Chang, CF, Su, MS, Wang, CH & Kou, GH 1997, ‘Detection and tissue tropism of white spot syndrome baculovirus (WSBV) in captured brooders of Penaeus monodon with a special emphasis on reproductive organs’, Diseases of Aquatic Organisms, vol. 30, no. 1, pp. 53-72.

Lo, CF, Ho, CH, Peng, SE, Chen, CH, Hsu, HC, Chiu, YL, Chang, CF, Liu, KF, Su, MS, Wang, CH & Kou, GH 1996a, ‘White spot syndrome baculovirus (WSBV) detected in cultured and captured shrimp, crabs and other arthropods’, Diseases of Aquatic Organisms, vol. 27, no. 3, pp. 215-25.

Lo CF, Leu JH, Ho CH, Chen CH, Peng SE, Chen YT, Chou CM, Yeh PY, Huang CJ, Chou HY, Wang CH, Kou GH 1996b, ‘Detection of baculovirus associated with white spot syndrome (WSBV) in penaeid shrimps using polymerase chain reaction’, Diseases of Aquatic Organisms, vol. 25, pp. 133-141.

Maeda, M, Kasornchandra, J, Itami, T, Suzuki, N, Hennig, O, Kondo, M, Albaladejo, JD & Takahashi, Y 1998, ‘Effect of various treatments on white spot syndrome virus (WSSV) from Penaeus japonicus (Japan) and P. monodon (Thailand)’, Fish Pathology, vol. 33, no. 4, pp. 381-7.

Marks, H, Goldbach, RW, Vlak, JM & van Hulten, MC 2004, ‘Genetic variation among isolates of white spot syndrome virus’, Archives of Virology, vol. 149, no. 4, pp. 673-97.

Mekata, T, Sudhakaran, R, Kono, T, Supamattaya, K, Linh, NTH, Sakai, M & Itami, T 2009, ‘Real-time quantitative loop-mediated isothermal amplification as a simple method for detecting white spot syndrome virus’, Letters in Applied Microbiology, vol. 48, no. 1, pp. 25-32.

Mendoza-Cano F & Sánchez-Paz A 2013, ‘Development and validation of a quantitative real-time polymerase chain assay for universal detection of the white spot syndrome virus in marine crustaceans’, Virology Journal, vol. 10, no. 1.

Momoyama K, Hiaoka, M, Nakano, H, Koube, H, Inouye, K & Oseko, N 1994, ‘Mass mortalities of cultured kuruma shrimp, Penaeus japonicus, in Japan in 1993: histopathological study’, Fish Pathology, vol. 29, no. 2, pp. 141-8.

Moody NJG, Mohr PG, Williams LM, Cummins DM, Hoad J, Slater J, Valdeter ST, Colling A, Singanallur NB, Gardner IA, Gudkovs N and Crane MStJ 2022, Performance characteristics of two real-time TaqMan polymerase chain reaction assays for the detection of WSSV in clinically diseased and apparently healthy prawns. Diseases of Aquatic Organisms 150: 169-182

Nakano H, Koubi H, Umezawa S et al. Mass mortalities of cultured karuma shrimp, Penaeus japonicus, in Japan in 1993: Epizootiological survey and infection trials, Fish Pathology 1994, vol. 29, pp. 135-139.

Natividad, KDT, Nomura, N & Matsumura, M 2008, ‘Detection of white spot syndrome virus DNA in pond soil using a 2-step nested PCR’, Journal of Virological Methods, vol. 149, pp. 28-34.

Nunan, LM, Poulos, BT & Lightner, DV 1998, ‘The detection of white spot syndrome virus (WSSV) and yellow head virus (YHV) in imported commodity shrimp’, Aquaculture, vol. 160, no. 1-2, pp. 19-30.

Oakey, HJ & Smith, CS 2018, ‘Complete genome sequence of a white spot syndrome virus associated with a disease incursion in Australia’, Aquaculture, vol. 484, pp. 152-9.

WOAH, 2022 ‘Aquatic Animal Health Surveillance’ Chapter 1.4, Aquatic Animal Health Code, World Organisation for Animal Health, Paris, France.

WOAH 2022, 'Infection with white spot syndrome virus', Chapter 2.2.8, Manual of diagnostic tests for aquatic animals, World Organisation for Animal Health, Paris, France.

WOAH 2022, ‘Infection with white spot syndrome virus’ Chapter 9.8, Aquatic Animal Health Code, World Organisation for Animal Health, Paris, France.

Peinado-Guevara, LI & Lopez-Meyer, M 2006, ‘Detailed monitoring of white spot syndrome virus (WSSV) in shrimp commercial ponds in Sinaloa, Mexico by nested PCR’, Aquaculture, vol. 251, no. 1, pp. 33-45.

Peng, S-E, Lo, C-F, Lin, S-C, Chen, L-L, Chang, Y-S, Liu, K-F, Su, M-S & Kou, G-H 2001, ‘Performance of WSSV-infected and WSSV-negative Penaeus monodon postlarvae in culture ponds’, Diseases of Aquatic Organisms, vol. 46, no. 3, pp. 165-72.

Perez, F, Volckaert, FAM & Calderón, J 2005, ‘Pathogenicity of white spot syndrome virus on postlarvae and juveniles of Penaeus (Litopenaeus) vannamei’, Aquaculture, vol. 250, pp. 586-91.

Pradeep, B, Rai, P, Mohan, SA, Shekhar, MS & Karunasagar, I 2012, ‘Biology, host range, pathogenesis and diagnosis of white spot syndrome virus’, Indian Journal of Virology, vol. 23, no. 2, pp. 161-74.

Prior, S & Browdy, CL 2000, ‘Post-mortem persistence of white spot and taura syndrome viruses in water and tissue’, abstract from Aquaculture America 2000, New Orleans, LA, World Aquaculture Society, Baton Rouge, LA, pp. 397.

Rajendran, KV, Vijayan, KK, Santiago, TC & Krol, RM 1999, ‘Experimental host range and histopathology of white spot syndrome virus (WSSV) infection in shrimp, prawns, crabs and lobsters in India’, Journal of Fish Diseases, vol. 22, no. 3, pp. 183-91.

Rajendran, KV, Vijayan, KK, Santiago, TC & Krol, RM 1999, ‘Experimental host range and histopathology of white spot syndrome virus (WSSV) infection in shrimp, prawns, crabs and lobsters in India’, Journal of Fish Diseases, vol. 22, no. 3, pp. 183-91.

Reddy, DA, Jeyasekaran, G & Jeya, SR 2010, ‘Incidence of white spot syndrome virus (WSSV) in Indian farmed frozen shrimp products and testing for viability through bio-inoculation studies’, Journal of Aquaculture Research & Development, vol. 1, no. 1.

Reville, C, Al-Beik, J, Meehan-Meola, D, Xu, Z, Goldsmith, mL, Rand, W & Alcivar-Warren, A 2005, ‘White spot syndrome virus in frozen shrimp sold at Massachusetts supermarkets’, Journal of Shellfish Research, vol. 24, no. 1, pp. 285-90.

Scott-Orr H, Jones B & Bhatia N (2017) Uncooked prawn imports: effectiveness of biosecurity controls, Review report No. 2017–18/01. Department of Agriculture and Water Resources, Canberra

Sithigorngul, W, Rukpratanporn, S, Pecharaburanin, N, Longyant, S, Chaivisuthangkura, P & Sithigorngul, P 2006, ‘A simple and rapid immunochromatographic test strip for detection of white spot syndrome virus (WSSV) of shrimp’, Diseases of Aquatic Organisms, vol. 72, no. 2, pp. 101-6.

Soto, M, Shervette, V & Lotz, J 2001, ‘Transmission of white spot syndrome virus (WSSV) to Litopenaeus vannamei from infected cephalothorax, abdomen, or whole shrimp cadaver’, Diseases of Aquatic Organisms, vol. 45, no. 2, pp. 81-7.

Srisuvan, T, Patchimasiri, T, Kunchim, C, Tangdee, S & Sisathan, N 2013, ‘Rapid and visual detection of white spot syndrome virus by loop-mediated isothermal amplification’, Thai-NIAH eJournal, vol. 7, no. 3, pp. 133-54.

Sritunyalucksana, K, Srisala, J, McColl, K, Nielsen, L & Flegel, TW 2006, ‘Comparison of PCR testing methods for white spot syndrome virus (WSSV) infections in penaeid shrimp’, Aquaculture, vol. 255, no. 1-4, pp. 95-104.

Stentiford, GD & Lightner, DV 2011, ‘Cases of white spot disease (WSD) in European shrimp farms’, Aquaculture, vol. 319, no. 1, pp. 302-6.

Stentiford, GD, Bonami, JR & Alday-Sanz, V 2009, ‘A critical review of susceptibility of crustaceans to Taura syndrome, yellowhead disease and white spot disease and implications of inclusion of these diseases in European legislation’, Aquaculture, vol. 291, no. 1-2, pp. 1-17.

Takahashi, Y, Itami, T, Kondo, M, Maeda, M, Fuji, R, Tomonaga, S, Supamattaya, K & Boonyaratpalin, S 1994, ‘Electron microscopic evidence of bacilliform virus infection in kuruma shrimp (Penaeus japonicus)’, Fish Pathology, vol. 29, no. 2, pp. 121-5.

Tang, KFJ, Le Groumellec, M & Lightner, DV 2013, ‘Novel, closely related, white spot syndrome virus (WSSV) genotypes from Madagascar, Mozambique and the Kingdom of Saudi Arabia’, Diseases of Aquatic Organisms, vol. 106, no. 1, pp. 1-6.

Tsai, MF, Kou, GH, Liu, HC, Liu, KF, Chang, CF, Peng, SE, Hsu, HC, Wang, CH & Lo, CF 1999, ‘Long-term presence of white spot syndrome virus (WSSV) in a cultivated shrimp population without disease outbreaks’, Diseases of Aquatic Organisms, vol. 38, no. 2, pp. 107-14.

Verbruggen, B, Bickley, LK, Aerle, R, Bateman, KS, Stentiford, GD, Santos, EM, & Tyle, CR 2016, ‘Molecular mechanisms of White Spot Syndrome Virus infection and perspectives on treatments’, Viruses, vol. 8, 23.

Vijayan, KK, Raj, VS, Balasubramanian, CP, Alavandi, SV, Sekhar, VT & Santiago, TC 2005, ‘Polychaete worms - a vector for white spot syndrome virus (WSSV)’, Diseases of Aquatic Organisms, vol. 63, no. 2-3, pp. 107-11.

Wang YG, Lee KL, Najiah M, Shariff M, Hassan MD. A new bacterial white spot syndrome (BWSS) in cultured tiger shrimp Penaeus monodon and its comparison with white spot syndrome (WSS) caused by virus. Dis Aquat Org 2000;41:9-18.

Wang, CH, Lo, CF, Leu, JH, Chou, CM, Yeh, PY, Chou, HY, Tung, MC, Chang, CF, Su, MS & Kou, GH 1995, ‘Purification and genomic analysis of baculovirus associated with white spot syndrome (WSBV) of Penaeus monodon’, Diseases of Aquatic Organisms, vol. 23, no. 3, pp. 239-42.

Wang, CS, Tang, KFJ, Kou, GH & Chen, SN 1997, ‘Light and electron microscopic evidence of white spot disease in the giant tiger shrimp, Penaeus monodon (Fabricius), and the kuruma shrimp, Penaeus japonicus (Bate), cultured in Taiwan’, Journal of Fish Diseases, vol. 20, no. 5, pp. 323-31.

Wang, G, Shi, H, Xie, J, Wang, W, He, J & Xu, W 2017, ‘Variation in WSSV in Kuruma shrimp Marsupenaeus japonicas cultured and zooplankton in intensive farming ponds’, Fisheries Science (Liaoning), vol. 36, no. 6, pp. 763-7. (Abstract only)

Wang, Q, White, BL, Redman, RM & Lightner, DV 1999a, ‘Per os challenge of Litopenaeus vannamei postlarvae and Farfantepenaeus duorarum juveniles with six geographic isolates of white spot syndrome virus’, Aquaculture, vol. 170, no. 3-4, pp. 179-94.

Wang, YG, Hassan, MD, Shariff, M, Zamri, SM & Chen, X 1999b, ‘Histopathology and cytopathology of white spot syndrome virus (WSSV) in cultured Penaeus monodon from peninsular Malaysia with emphasis on pathogenesis and the mechanism of white spot formation’, Diseases of Aquatic Organisms, vol. 39, no. 1, pp. 1-11.

Wesche et al. 2021, ‘Assessment of gamma irradiation as a feasible method for treating prawns to inactivate White Spot Syndrome Virus’, FRDC 2017-190 Final Report, Department of Agriculture and Fisheries, Queensland, Brisbane.

Wongteerasupaya, C, Pungchai, P, Withyachumnarnkul, B, Boonsaeng, V, Panyim, S, Flegel, TW & Walker, PJ 2003, ‘High variation in repetitive DNA fragment length for white spot syndrome virus (WSSV) isolates in Thailand’, Diseases of Aquatic Organisms, vol. 54, no. 3, pp. 253-7.

Wongteerasupaya, C, Sriurairatana, S, Vickers, JE, Akrajamorn, A, Boonsaeng, V, Panyim, S, Tassanakajon, A, Withyachumnarnkul, B & Flegel, TW 1995a, ‘Yellow-head virus of Penaeus monodon is an RNA virus’, Diseases of Aquatic Organisms, vol. 22, no. 1, pp. 45-50.

Wongteerasupaya, C, Vickers, JE, Sriurairatana, S, Nash, GL, Akarajamorn, A, Boonsaeng, V, Panyim, S, Tassanakajon, A, Withyachumnarnkul, B & Flegel, TW 1995b, ‘A non-occluded, systemic baculovirus that occurs in cells of ectodermal and mesodermal origin and causes high mortality in the black tiger prawn Penaeus monodon’, Diseases of Aquatic Organisms, vol. 21, no. 1, pp. 69-77.

Wongteerasupaya, C, Wongwisansri, S, Boonsaeng, V, Panyim, S, Pratanpipat, P, Nash, GL, Withyachumnarnkul, B & Flegel, TW 1996, ‘DNA fragment of Penaeus monodon baculovirus PmNOBII gives positive in situ hybridization with white-spot viral infections in six penaeid shrimp species’, Aquaculture, vol. 143, no. 1, pp. 23-32.

Yap, WG 2001, ‘The lowdown on world shrimp culture -II’, INFOFISH International, vol. 3, pp. 21-7.

Yoganandhan, K, Syed Musthaq, S, Narayanan, RB & Sahul Hameed, AS 2004, ‘Production of polyclonal antiserum against recombinant VP28 protein and its application for the detection of white spot syndrome virus in crustaceans’, Journal of Fish Diseases, vol. 27, no. 9, pp. 517-22.

You, Z, Nadala, ECBJ, Yang, J, van Hulten, MCW & Loh, PC 2002, ‘Production of polyclonal antiserum specific to the 27.5 kDa envelope protein of white spot syndrome virus’, Diseases of Aquatic Organisms, vol. 51, no. 1, pp. 77-80.