# BACGene Listeria monocytogenes – AOAC 061703

## SCOPE

## This method is applicable to meat products and other foods and environmental samples. This method has been validated on 25 g of meat products.

## PRINCIPLES

The BACGene Listeria monocytogens is a qualitative real-time PCR assay that utilizes unique primer and probe components for highly-specific detection of genes unique to Listeria monocytogens. Target DNA fragments when detected are amplified and then identified with a R6G fluorescence-labelled hybridization probe quenched by non-fluorescent Tide Quencher 2 (TQ2).

Detection of Listeria monocytogenes involves the follow steps:

### Enrichment

Sample (25 g) is enriched in 225 mL of pre-warmed (37± 1°C) Actero Listeria Enrichment media for 21 ± 3 h. Sponge samples can be enriched in 100 mL enrichment media or 10 mL if using small swabs. A positive control culture must be run through all procedures daily or when testing is carried out.

### PCR Assay

Sample preparation for bacterial DNA extraction and PCR assay must be carried out following the manufacturer’s recommended protocol.

### Interpretation

Upon completion of the assay the program will provide a test result. Each test sample will be identified as positive, indicating that the test sample is positive for Listeria monocytogenes or negative indicating that the test sample is negative for Listeria monocytogenes. If the internal positive control is invalid, the test must be repeated using the same enrichment cultures. If the internal positive control for the re-test sample is invalid, the equipment supplier must be contacted for advice, and the enrichment broth must be analysed using an alternate method or the sample deemed positive for Listeria monocytogenes.

### Confirmation of positive results

For all positive samples and samples with an invalid positive control result, enrichment broth must be analysed using AS 5013.24.1. Confirmation must be carried out at a Department approved laboratory.

## CHECKLIST

| Enrichment | Is the enrichment media warmed to 37± 1°C before use? Is enrichment carried out at 37 ± 1°C for 21 ± 3 h? |  |
| --- | --- | --- |
|  | Is the correct amount of enrichment broth used? |  |
|  | Is a positive control run with each batch of samples/daily? |  |
|  | Are reference cultures inoculated into enrichment media at a level of 10-100 cells per sample? |  |
| PCR Assay | Are manufacturer’s instructions available for reference? |  |
|  | Is a PCR internal positive control run with each batch of samples? |  |
|  | Are technicians familiar with and trained in the operation of the PCR automated instruments and the software? |  |
|  | Is the shelf-life of media and kits controlled? |  |
| Confirmation | Is confirmation carried out from the enrichment culture? |  |
|  | Is confirmation carried out using AS 5013.24.1 at a Department approved laboratory? |  |