Ecotoxicological assessment of distillate product from a pilot-scale brine concentrator

599

internal report

AJ Harford & RA van Dam

March 2012

(Release status – unrestricted)

This page has been left blank intentionally.

# Ecotoxicological assessment of distillate product from a pilot-scale brine concentrator

AJ Harford & R A van Dam

Supervising Scientist Division

GPO Box 461, Darwin NT 0801

March 2012

Registry File SSD2011/0132

(Release status – unrestricted)

How to cite this report:

Harford AJ & van Dam RA 2012. Ecotoxicological assessment of distillate product from a pilot-scale brine concentrator. Internal Report 599, March, Supervising Scientist, Darwin.

Location of final PDF file in SSDX Sharepoint:

Supervising Scientist Division > PublicationWork > Publications and Productions > Internal Reports (IRs) > Nos 500 to 599 > IR599_Distillate Ecotox (AJH-RvD)

Location of all key data files for this report in SSDX Sharepoint:

Supervising Scientist Division > SSDX > Ecotoxicology of the Alligator Rivers Region > Brine Concentrator Pilot Plant

Authors of this report:

Andrew J Harford – Environmental Research Institute of the Supervising Scientist, GPO Box 461, Darwin NT 0801, Australia

Rick A van Dam – Environmental Research Institute of the Supervising Scientist, GPO Box 461, Darwin NT 0801, Australia

The Supervising Scientist is part of the Australian Government Department of Sustainability, Environment, Water, Population and Communities.

© Commonwealth of Australia 2012

Supervising Scientist

Department of Sustainability, Environment, Water, Population and Communities

GPO Box 461, Darwin NT 0801 Australia

This work is copyright. Apart from any use as permitted under the Copyright Act 1968, no part may be reproduced by any process without prior written permission from the Supervising Scientist. Requests and enquiries concerning reproduction and rights should be addressed to Publications Enquiries, Supervising Scientist, GPO Box 461, Darwin NT 0801.

e-mail: publications_ssd@environment.gov.au

Internet: www.environment.gov.au/ssd   (www.environment.gov.au/ssd/publications)

The views and opinions expressed in this report do not necessarily reflect those of the Commonwealth of Australia. While reasonable efforts have been made to ensure that the contents of this report are factually correct, some essential data rely on references cited and/or the data and/or information of other parties, and the Supervising Scientist and the Commonwealth of Australia do not accept responsibility for the accuracy, currency or completeness of the contents of this report, and shall not be liable for any loss or damage that may be occasioned directly or indirectly through the use of, or reliance on, the report. Readers should exercise their own skill and judgment with respect to their use of the material contained in this report.

Printed and bound in Darwin NT by Supervising Scientist Division

# Contents

Tables	iv

Figures	v

Executive summary	vi

Recommendations	vii

1  Introduction	1

2  Methods	3

2.1  General laboratory procedures	3

2.2  Test waters	3

2.3  Test diluent	3

2.4 Toxicity test species and methods	4

2.5  Toxicity Identification Evaluation (TIE) tests	4

2.5.1  Graduated pH	6

2.5.2  EDTA addition	6

2.5.3  Ammonia stripping	6

2.5.4  Solid phase extraction (SPE) with Carbon 18 (C18)	7

2.5.5  Major ion additions	7

2.5.6 Effect of Mn in low major ion waters	8

2.6  Quality control	8

2.6.1  Chemistry	8

2.6.2  General water quality	8

2.6.3  Control responses	9

2.7  Statistics	9

3  Results and discussion	10

3.1  Quality control	10

3.2  Distillate chemistry	10

3.3  Toxicity test results	10

3.4  Toxicity identification evaluation (TIE) results	12

4  Conclusions and recommendations	16

5  Acknowledgments	17

6  References	17

Appendix A  Measured water quality parameters for toxicity tests	19

Appendix B  Chemical analyses	30

Appendix C  Statistical summaries	41

## Tables

Table 1  Details of toxicity tests for the five Australian tropical freshwater species used to assess the toxicity of pilot-scale brine concentrator distillate	5

Table 2  Toxicity Identification Evaluation toxicity tests using H. viridissima	6

Table 3  Composition of the process water before and after treatment with the brine concentrator	11

Table 4  Toxicity of the pilot brine concentrator distillate	12

Table 5  Results of toxicity identification evaluation toxicity tests using H. viridissima	13

Appendix A Measured Water Quality Parameters for Toxicity Tests

Table A1  1193D Clad_RBCP_01 Cladoceran toxicity test	19

Table A2  1194B Hyd_RBCP_01 Hydra toxicity test	20

Table A3  1195G Alg_RBCP_01 Green alga toxicity test	20

Table A4  1205L Lem_RBCP_01 Duckweed toxicity test	20

Table A5  1206E Fry_RBCP_01 Fry toxicity test	21

Table A6  1207B Hyd_RBCP_02 Hydra toxicity test	21

Table A7  1208D Clad_RBCP_02 Cladoceran toxicity test	22

Table A9  1209G Alg_RBCP_02 Green alga toxicity test	22

Table A10  1210B Hyd_RBCP_03 Hydra graduate pH TIE	23

Table A11  1211B Hyd_RBCP_04 Hydra EDTA addition TIE	24

Table A12  1212B Hyd_RBCP_04 Hydra Ca addition TIE	25

Table A13  1213B Hyd_RBCP_06 Hydra NH3 stripped TIE	26

Table A14  1217B Hyd_RBCP_07 Hydra C18 Solid Phase Extraction TIE	26

Table A15  1220B Hyd_RBCP_08 Hydra major ion addition TIE	27

Table A16  1242B Hyd_RBCP_09 Modified SSW with Mn addition TIE	28

Table A17  pH measurements and adjustments for the graduate pH TIE	29

Appendix B Chemical Analyses

Table B1  Total measured metals and major ions for Magela Creek Water (MCW), Synthetic Softwater (SSW) Procedural Blanks and Blanks	30

Table B2  Total and dissolved metals and major ions for the distillate	32

Table B3  Nitrate analysis of Blanks and QA/QC samples for the Lemna and Algae tests	34

Table B4  Alkalinity of Magela Creek Water, Distillate and the NaOH adjusted TIE samples	34

Table B5  Metal and major ion analyses of the pH adjusted TIE (1210B) samples	35

Table B6  Measured ‘bioavailable’ Manganese (Chelex assay) in EDTA TIE (1211B)	36

Table B7  Metal and major ion analyses of the Ca addition TIE (1212B) samples	37

Table B8  Metal and major ion analyses of the ammonia stripping TIE (1213B) samples	37

Table B9  Metal and major ion analyses of the major ion addition TIE (1220B) samples	38

Table B10 Organic compounds detected by GC-MS scan	39

Table B11  Measured calcium, sodium, potassium, magnesium and manganese concentrations in the Mn toxicity TIE (1242B)	40

## Figures

Figure 1  Schematic diagram of the pilot Brine Concentrator	2

Figure 2  Concentration-response plots of the five species to the pilot brine concentrator distillate	11

Figure 3  Effect of manganese on Hydra viridissima in modified Synthetic Soft Water (SSW)	15

## Executive summary

Steadily increasing process water inventory at the Ranger uranium mine has become a major operational issue for Energy Resources of Australia Ltd (ERA). Following an assessment of potential technology options ERA decided that brine concentration was the most viable technology to reduce the process water inventory. A brine concentrator produces large volumes of a purified water product (distillate) and a waste stream containing the salts present in the process water (brine concentrate). The distillate will be released into the environment via a yet to be determined method, while the brine concentrate will be returned to the tailings storage facility (TSF). Rio Tinto – Technology and Innovation (RT-TI, Bundoora, Victoria) were engaged by ERA to conduct trials on a pilot-scale brine concentrator plant. Two key aims of RT-TI trial were to (i) demonstrate that the distillate does not pose risks to operator health or the environment, and (ii) provide data to assist with designing water management and disposal systems. To assist with addressing the aquatic environment protection aspect, eriss undertook a comprehensive toxicity testing program of the pilot plant distillate. The aims of the toxicity test work were to: (i) detect and quantify any residual toxicity of the distillate and, (ii) in the event effects were observed, to identify the toxic constituent(s) of the distillate.

Initial toxicity screening of the distillate was conducted with a limited range of dilutions of the distillate using three aquatic species which had previously displayed sensitivity to treated process water permeate from the Ranger Treatment Water Plant. Specifically, Chlorella sp. (72-h cell division rate), Hydra viridissima (96-h population growth rate) and Moinadaphnia macleayi (3-brood reproduction) were exposed to Magela Creek water (MCW) control and three dilutions of the distillate (ie 0, 25, 50 and 100% distillate). Further testing was conducted on a second batch of distillate using the same concentration range and two additional species, Lemna aequinoctialis (96-h growth rate) and Mogurnda mogurnda (96-h larval survival). The toxicity of the second batch of distillate was also assessed using Chlorella sp., H. viridissima and M. macleayi, although only at 0 (MCW) and 100% distillate, in order to assess the inter-batch reproducibility of the test methods.

In order to identify the toxic constituents of the distillate, a range of Toxicity Identification Evaluation (TIE) tests were conducted using the sole sensitive species, H. viridissima. The TIE tests involved assessing the relative toxicity of distillate samples produced by specific physical and chemical manipulations to change its composition or the speciation of specific constituents of potential concern. The results enable conclusions about potential primary toxicants. Six TIE tests were conducted to identify the cause of adverse effects on H. viridissima.

The distillation process reduced all major ions, ammonia and metals to near detection limits. Some organic compounds that were not detected in the feed water were detected at low µg L-1 concentrations in the distillate. The toxicity tests results showed that the distillate was of low toxicity to four of the five organisms tested. However, the population growth rate of H. viridissima was reduced by ~50% and 100% following exposure to undiluted (ie 100%) distillate samples from the first and second batch, respectively.

Initial chemical analysis of the distillate indicated that ammonia, manganese (Mn) and an organic component were potential candidate constituents for causing a toxic response. However, initial TIE results suggested none of these constituents were causing or contributing to the observed negative effect on H. viridissima. Specifically, pH manipulation (raising pH) and stripping to remove ammonia that was present indicated that ammonia was not causing the effect. Whilst the pH manipulation suggested Mn may be contributing to the effect, the effect of addition of Ethylenediamine tetraacetic acid (EDTA, a chelating agent) indicated that this was unlikely. Removal of the organic component did not change the toxicity of the distillate, discounting organics as a cause of toxicity.

In light of the above negative findings, the issue of major ion deficiency was specifically investigated as a potential cause of the effect on H. viridissima. Firstly, Ca addition was investigated due to its importance for nematocyst function and other physiological processes in H. viridissima. The addition of 0.2 and 0.5 mg L-1 Ca to the distillate resulted in a 61% and 66% recovery relative to the Synthetic Soft Water (SSW) control, suggesting Ca deficiency as a reason for the effect of distillate on H. viridissima. An additional test was conducted that involved the addition of sodium (Na), potassium (K) and Ca at concentrations that were 0, 50 and 100% that of SSW (SSW contains 0.5, 1.0 and 0.4 mg L-1 of calcium, sodium and potassium, respectively). The results showed a 100% and 96% recovery of H. viridissima population growth rates with the addition of 50 and 100% major ions, respectively. This strongly indicates that the majority of the adverse effect from the distillate on H. viridissima was due to major ion deficiency issue rather than a chemical toxicity.

Despite the substantive removal of toxic effect by replacement of major cations, the concentrations of Mn in the distillate (130-230 µg L-1) remained a concern as they were higher than the IC10 of 60 µg L-1 previously reported for H. viridissima in circumneutral pH (6.0–7.0) soft water. Additionally, the lack of major ions in the distillate had the potential to exacerbate Mn toxicity. Therefore, the effects of Mn in the presence of reduced concentrations of major ions were examined using modifed SSW (ie pH ~6.0 with 0, 50 and 100% Na, K and Ca concentrations). Manganese concentrations of 250 µg L-1 caused a 10–20% reduction in growth rate, independent of the major ion concentrations. Consequently, in addition to the recognised issue with deficiencies of major ions in the distillate, a potential for Mn toxicity was also identified.

### Recommendations

- Supplementation of the distillate with major ions (Ca, Na and K) may be required prior to its discharge to the off-site aquatic environment. This could be achieved actively by direct addition of relevant salts or passively by passing the distillate through a wetland system/watercourse and/or blending with mine site waters prior to discharge;

- While the conditioning of the distillate through a wetland/watercourse is likely to improve water quality (by increasing major ion concentrations and, potentially, reducing dissolved Mn concentrations), the risk of exhausting of the system’s capacity to sustainably contribute the required loading of salt may need to be considered if large volumes are to be flushed through the system;

- Further site-specific data are needed to adequately assess the environmental risk of Mn in the distillate.

- A baseline monitoring program for organic compounds in the TSF is needed to establish the likelihood of significant concentrations of sVOCs and VOCs entering the feed water, hence indicating the potential for transfer to the distillate. The distillate should also be monitored for organic compounds following the commissioning of the full-scale plant.

- The effect of anti-scalant and anti-foaming agents that may be added to the concentrator’s feed water needs to be assessed. This may be achieved with laboratory toxicity tests prior to the commissioning of the full-scale plant.

- The distillate product from the full-scale plant will need to be assessed for toxicity and, if necessary, a TIE conducted to determine the cause(s) of any measured effects.

This page has been left blank intentionally.

# Ecotoxicological assessment of distillate product from a pilot-scale brine concentrator

AJ Harford & RA van Dam

## 1  Introduction

Mine waters at Ranger uranium mine (Ranger) are segregated into four classes – process water, pond water, release waters and potable water – according to water quality. Process water includes all waters that have passed through or come into contact with the uranium (U) extraction circuit. It constitutes the poorest water quality on site, with key water quality characteristics typically as follows: pH: 3.7–4.0; electrical conductivity (EC): 22 000–27 000 S/cm; sulfate (SO4): 24 000–34 000 mg/L; U: 18–25 mg/L; and ammonia (NH3): 780–950 mg/L N (ERA, Water Management Plans 2005–2011, unpublished).

A steadily increasing process water inventory at Ranger has become a major operational issue. Throughout the operation of the mine a number of process water treatment methods have been investigated including: passive and enhanced solar evaporation such as conventional and covered solar evaporation ponds; enhanced evaporation techniques such as sprinklers, misters, vortex generators, waste heat utilisation, high density sludge and membrane technology; alternative dam designs (ie fixed and floating storage facility covers); chemical precipitation; and thermal treatment (ERA, unpublished data). Currently, process water is stored in the Tailings Storage Facility (TSF) and Pit 1, and the primary method of process water inventory reduction has been through passive evaporation. During the 2009 and 2010 dry seasons, process water was also treated using a high density sludge–membrane ultra-filtration reverse osmosis (HDS-UF/RO) water treatment plant. However, the plant did not meet the treatment capacity required to meet the production demand. Thus, following an assessment of potential technology options, ERA decided that brine concentration was the most viable technology to reduce the process water inventory.

The planned full-scale brine concentration facility will consist of three brine concentrator units configured in a two stage process with the first two units feeding the third. The brine concentrator is a falling film evaporator, which means that heated process water is cascaded down a falling film tube bundle. The resultant vapour passes through a chevron separator and a vapour washer, which removes entrained water droplets which may further improve the vapour quality. The vapour is then compressed to heat the falling film tubes and condenses into a purified water product (distillate). The full-scale brine concentrator is forecast to produce 1.83 GL/annum of a distillate and a waste stream containing the salts present in the process water (brine concentrate). The distillate will be released into the environment via a yet to be determined method, while the brine concentrate will be managed on-site.

Rio Tinto – Technology and Innovation (RT-TI, Bundoora, Victoria) was engaged by ERA to conduct trials on a pilot-scale brine concentrator plant (Figure 1; ERA, unpublished data). Two key aims of the RT-TI trial were to (i) demonstrate that the distillate does not pose risks to operator health or the environment, and (ii) provide data to assist with designing water management and disposal systems. To assist with addressing the aquatic environment protection aspect, the Environmental Research Institute of the Supervising Scientist (eriss) undertook a comprehensive toxicity testing program of the pilot plant distillate.

Figure 1  Schematic diagram of the pilot Brine Concentrator (ERA, unpublished)

There are numerous examples of mining operations that have used passive and/or active water treatments to improve water quality prior to environmental release (Masarczyk et al 1989, Driussi & Jansz 2006, Allen 2008, Butler et al 2011). However, a key consideration in choosing an appropriate treatment process is the extent to which the water quality is actually improved. The residual toxicity of the treated water can be assessed using traditional ecotoxicological protocols, while Toxicity Identification Evaluation (TIE) may be able to identify the toxic constituents of the water. Toxicity Identification Evaluations involve specific manipulations of a whole effluent in order to change the amount and/or speciation/bioavailability of potential toxic constituents, eg pH adjustment. The subsequent level of toxicity of the manipulated waters relative to the unmanipulated waters can then provide information on the likely toxic constituents. There are three phases that may be included in a TIE Phase I involves manipulations of the effluent that only enables broad screening of the toxic constituents. Phase II involves manipulations that specifically identify the toxicants of interest that have been indicated in Phase I. Phase III involves the reintroduction of the toxicants to confirm the toxicity of the suspected contaminants in the effluent (Mirenda & Hall 1992).

Toxicity Identification Evaluations have well-established USEPA protocols (Norberg-King et al 1991, Durhan et al 1993, Mount & Norberg-King 1993) and have been used to identify toxic constituents in a wide range of industrial, urban and mining effluents (Sauer et al 1997, Tietge et al 1997, Deanovic et al 1999, Neculita et al 2008). The information obtained from a TIE can inform the management strategy for waste water disposal and/or identify improvements in water treatment processes.

The hypothesis of the present study was that the distillate contained residual toxicity due to constituents that were not removed by the pilot-scale brine concentration. Consequently, the objectives of the toxicity test work were to: (i) detect and quantify any residual toxicity of the distillate and, (ii) in the event effects were observed, to identify the toxic constituent(s) of the distillate using TIE methods.

## 2  Methods

### 2.1  General laboratory procedures

All equipment which test organisms or media came in contact with, or were exposed to, was made of chemically inert materials (eg Teflon, glass or polyethylene). All plastics and glassware were washed by soaking in 5% (v/v) HNO3 for 24 h before being washed with a non-phosphate detergent (Gallay Clean A powder, Gallay Scientific, Burwood, Australia) in a laboratory dishwasher operated with reverse osmosis/deionised water (Elix, Millipore, Molshiem, France). All reagents used were analytical grade and stock solutions were made up in high purity water (18 MΩ, Milli-Q Element, Millipore, Molshiem, France).

### 2.2  Test waters

Distillate waters were produced by a pilot-scale brine concentrator, which used a falling film evaporator process. The pilot-scale plant did not have a chevron or vapour washer, which is planned to be included in the full-scale facility and is predicted to further improve distillate water quality. Two separate batches of distillate were collected from the brine concentrator for toxicity testing. The first batch was a 20 L composite sample collected from 11–17 July 2011, and was used for the initial screening toxicity tests involving three species (see section 2.4). The second batch was a 20 L grab sample collected on 10 August 2011, and was used for the remainder of the toxicity and TIE tests. This sample was collected as a grab because the pilot-plant project was due to be terminated. Furthermore, an attempt to create scale within the brine concentrator had been initiated and there was a concern that the water quality of the distillate would degrade. Both batch samples were collected in acid-washed high-density polyethylene containers and immediately air-freighted at 4°C to the eriss laboratory.

On receipt of samples, the distillate was immediately sub-sampled for physico-chemical analyses. Specifically, pH, Dissolved Oxygen (DO), Electrical Conductivity (EC) and Dissolved Organic Carbon (DOC) were measured in-house. Additional sub-samples were sent to Envirolab Services (Envirolab; Chatswood, NSW) for measurement of alkalinity (APHA2320B), total and filtered (< 0.45 µm ) metals (Inductively Coupled Plasma – Mass Spectrometry (ICP-MS) full scan), nitrate, phosphate, ammonia (Colourimetric methods, EPA 353.2, EPA 365.1, EPA 350.1), and volatile and semi-volatile organic analyses (Gas Chromatography – Mass Spectrometry (GC-MS) scan).

### 2.3  Test diluent

Natural Magela Creek water (MCW) was used as the control treatment and for dilution of the distillate samples in all tests, and was obtained from Bowerbird Billabong (latitude 12° 46’ 15’’, longitude 133° 02’ 20’’). This natural water has been extensively characterised and has been used as a diluent in toxicity testing for over 20 years in the eriss ecotoxicology laboratory. The water was collected in 20 L acid-washed plastic containers and placed in storage at 4 ± 1°C within 1 h of collection. The water was then transported to the laboratory in an air-conditioned vehicle. At the laboratory, it was stored at 4 ± 1°C prior to filtration through 3.0 m pore size (Sartopure PP2 depth filter MidiCaps, Sartorius, Göttingen, Germany) within 3 days of collection. Throughout the testing period, the MCW had a pH of 6.2–6.8 units, an EC of 15–20 S cm-1 and DO of > 90% saturation.

Diluent water was sub-sampled for physcio-chemical analyses. Specifically pH, DO, EC and DOC were measured in-house. Additional sub-samples were sent to Envirolab (Chatswood, NSW) for alkalinity (APHA2320B), a limited metal and major ion suite (totals only; Al, Cd, Co, Cr, Cu, Fe, Mn, Ni, Pb, Se, U, Zn, Ca, Mg, Na, SO4 (analysed as S and converted)), nitrate, phosphate and ammonia (Colourimetric methods, EPA 353.2, EPA 365.1, EPA 350.1).

### 2.4 Toxicity test species and methods

The toxicity of the distillate was assessed using five Australian tropical freshwater species: the unicellular green alga (Chlorella sp); the duckweed (Lemna aequinoctialis); the green hydra (Hydra viridissima); the cladoceran (Moinodaphnia macleayi); and the Northern trout gudgeon (Mogurnda mogurnda). All the organisms were isolated from soft surface waters in Kakadu National Park and have been cultured continuously at the Environmental Research Institute of the Supervising Scientist over many years (10–25 years depending on the species). The test methods are described in detail by Riethmuller et al (2003). Key details of each test are provided in Table 1. For the L. aequinoctialis and Chlorella sp tests, nutrients (nitrate and phosphate) were added at the minimum concentrations that would sustain acceptable growth (see Table 1). The MCW used in the Chlorella sp tests also had 1 mM HEPES buffer added to maintain a stable pH.

Initial toxicity screening of the distillate was conducted with a limited range of dilutions of the distillate using three aquatic species which had previously displayed sensitivity to treated process water permeate from the Ranger Water Treatment Plant (van Dam et al 2011). Specifically, Chlorella sp (72-h cell division rate), H. viridissima (96-h population growth rate) and M. macleayi (3-brood reproduction) were exposed to MCW control and three dilutions of the distillate (ie 0, 25, 50 and 100% distillate).

Further testing was conducted on the second batch of distillate using the same concentration range (0, 25, 50 and 100% distillate) and two different species, L. aequinoctialis (96-h growth rate) and M. mogurnda (96-h larval survival). The toxicity of the second batch of distillate was also assessed using Chlorella sp, H. viridissima and M. macleayi, although only at 0 (MCW control) and 100% distillate, in order to assess the inter-batch reproducibility of the test methods.

### 2.5  Toxicity Identification Evaluation (TIE) tests

In order to identify the toxic constituents of the distillate, a range of Phase I TIE toxicity tests were conducted using the sole sensitive species, H. viridissima. A Phase II TIE test involving ammonia stripping was conducted, as ammonia was a toxicant of interest. No other Phase II or Phase III toxicity tests were deemed necessary due to the results returned by the Phase I TIE However, it should be noted that the TIE tests involving the addition of major ions (see below) would be classified as Phase II TIEs except that they are not standard USEPA methods, which focus on complex effluents containing organic and/or inorganic toxicants. The major ion TIEs were required due to the purity of the distillate and to specifically identify if the adverse effects were due to a lack of essential ions.

All TIE tests used the standard H. viridissima protocol described in section 2.4, except that the tests involved assessing the relative toxicity of distillate samples that had undergone specific physical and chemical manipulations to change their composition or the speciation of specific constituents of potential concern. The results enabled conclusions about potential primary toxicants. Six TIE tests were conducted to identify the cause of adverse effects on H. viridissima (Table 2).

Table 1  Details of toxicity tests for the five Australian tropical freshwater species used to assess the toxicity of pilot-scale brine concentrator distillate. Full details of the methods are provided in Riethmuller et al (2003).

| Species (common name) | Test duration and endpoint | Control response acceptability criterion | Temperature, light intensity, photoperiod | Feeding/ nutrition | No. replicates (Individuals per replicate) | Test volume (mL) | Static/daily renewals |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Chlorella sp (unicellular green alga) | 72-h population growth rate | 1.4 0.3 doublings day-1; % CV a <20% | 29 1°C 100-150 mol m-2 sec-1 12:12h | 14.5 mg L-1 NO3 0.14 mg L-1 PO4 | 3 (3104 cells mL-1) | 50 | Static |
| Lemna aequinoctialis (tropical duckweed) | 96-h growth rate | Mean surface area growth rate (k, mm2 day -1) 0.40; % CV <20% | 29 1°C 100-150 mol m-2 sec-1 12:12h | 3 mg L-1 NO3 0.3 mg L-1 PO4 | 3 (4 with 3 fronds) | 100 | Static |
| Hydra viridissima (green hydra) | 72-h population growth rate | Mean population growth rate (k, day -1) 0.27; % CV <20% | 27 1°C 30-100 mol m-2 sec-1 12:12h | 3-4 Artemia nauplii day-1 | 3 (10) | 30 | Daily renewals |
| Moinodaphnia macleayi (cladoceran) | 3-brood (120 - 144-h) reproduction | Mean adult survival 80%; mean neonates per adult 30; % CV <20% | 27 1°C 30-100 mol m-2 sec-1 12:12h | 30 l FFVb and 6 106 cells of Chlorella sp. d-1 | 10 (1) | 30 | Daily renewals |
| Mogurnda mogurnda (Northern trout gudgeon) | 96-h survival | Mean larval survival 80%; % CV <20% | 27 1°C 30-100 mol m-2 sec-1 12:12h | Nil | 3 (10) | 30 | Daily renewals |

a CV: Percent co-efficient of variation
b FFV: fermented food with vitamins. Represents an organic and bacterial suspension prepared by method described in Riethmuller et al (2003).

5

All TIE tests included a control water (MCW or Synthetic Soft water, SSW) and distillate that were treated as described below, as well as untreated control water (MCW and/or SSW) and distillate.

Table 2  Toxicity Identification Evaluation toxicity tests using H. viridissima

| TIE test | Test solution manipulation | Reason for manipulation |
| --- | --- | --- |
| Graduated pH | MCW and Distillate adjusted to pH (nominal) 5.5 and 7.5 | Differentially alters speciation and toxicity of chemicals |
| EDTA a addition | 0, 2.8, 5.5 and 11.0 mg/L EDTA added to MCW and distillate | EDTA binding reduces cationic metal bioavailability and toxicity |
| C18 Solid Phase Extraction (SPE) | MCW and distillate post-C18 column water tested. Eluate of distillate tested in MCW | Tests for toxicity of organic compounds |
| Major ion addition | 0, 50 and 100% proportions (compared to SSWb) of sodium, calcium and potassium added to SSW and distillate | Reintroduction of essential elements |

a  Ethylenediaminetetraacetic acid
b  Synthetic Soft Water contains 0.5, 1.0 and 0.4 mg L-1 of calcium, sodium and potassium, respectively.

#### 2.5.1  Graduated pH

Changing the pH of an effluent can change the speciation of toxicants, which subsequently can change their bioavailability and toxicity. For example, decreasing the pH can increase the proportion of toxic free metal ions, while increasing the pH can increase the proportion of toxic ammonia ions. The pH of the distillate and MCW was decreased from 6.5 to pH 5.5 using 1 M HCl and increased to pH 8.0 using 1 M NaOH. The pH adjustments were made daily (see Table A17 for pH measurements and adjustments).

Subsamples of the treatments were sent to Envirolab for measurement of a limited metal and major ion suite (Al, Cd, Co, Cr, Cu, Fe, Mn, Ni, Pb, Se, U, Zn, Ca, Mg, Na, SO4 - analysed as S and converted; Table B5). The controls (pH 6.5) and HCl treated solutions (pH 5.5) were also analysed for Cl- (Table B5), while the controls (pH 6.5) and NaOH treated solutions (pH 8.0) were analysed for alkalinity (Table B4).

#### 2.5.2  EDTA addition

Ethylenediamine Tetraacetic acid (EDTA) is a strong chelator of divalent cations such as Mn, which was the key elevated metal in the distillate. Hence, the addition of EDTA may reduce the bioavailability and toxicity of these cations.

Concentrations of 0, 2.8, 5.5 and 11 mg L-1 EDTA (BDH, Kilsyth, NSW, Australia) were added to both MCW and the distillate. These concentrations were based on a calculation of a 1:1 molar ratio of all major divalent cations and a Mn concentration of 230 µg L-1, which was the concentration measured in the first batch of the distillate.

Sub-samples of the treatments were sent to Envirolab for chemical analysis of the ‘bioavailable’ Mn fraction using the Chelex assay (Table B6). The Chelex-100 resin will not react with Mn that is complexed with EDTA, but has a high affinity for free Mn2+, which is considered the toxic chemical species (Haraldsson et al 1993).

#### 2.5.3  Ammonia stripping

The unprotonated ammonia ion (NH3) is relatively volatile compared to the protonated ammonium ion (NH4+). The proportion of ammonia ions increases with increasing pH. Consequently, raising the pH of the distillate combined with vigorous aeration effectively removes the ammonia from the effluent.

The day prior to the TIE test, 1 L of both the MCW and distillate were increased to pH 11 using 10 M NaOH. The pH was checked and re-adjusted throughout the day as the pH had the tendency to drift towards pH 9. The samples were left aerating overnight while covered at room temperature. The pH of the MCW and distillate were readjusted to pH 6.5 before initiation of the TIE test.

Ammonia content was assessed using a colourimetric NH3 test kit (Merck, Darmstadt, Germany). After ~23 h of pH and aeration treatment, the distillate contained 0 mg L-1 ammonia. Sub-samples of the treatments were sent for the measurement of total metal and major ion concentrations for a limited suite (Al, Cd, Co, Cr, Cu, Fe, Mn, Ni, Pb, Se, U, Zn, Ca, Mg, Na, K and SO4 - analysed as S and converted; Table B8).

#### 2.5.4  Solid phase extraction (SPE) with Carbon 18 (C18)-based resin

Non-polar (lipophilic) organic constituents can be removed from an effluent using solid phase extraction (SPE) columns containing Carbon 18 (C18) moieties. However, these columns will also remove some metals and surfactants. In Phase I TIE testing, the waters are passed through the column at ambient pH and the column is then eluted using a small volume of methanol. The eluate is also added to the reference water and tested for toxicity. Hence, if an organic chemical is the cause of toxicity the filtrate should exhibit less toxicity but the toxicity should be transferred to the eluate-spiked water.

Both MCW and the distillate were treated by SPE by drawing 1 L through 1000 mg of C18 resin (Restek, Bellefonte, PA, USA) using a vacuum pump at a flow rate of ~5 mL min-1. The fraction collected after passing through the column was designated ‘filtrate’. The column was kept wet and the fraction retained on the C18 resin was eluted using 3 mL of pure methanol (BDH, Kilsyth, NSW, Australia). The eluate was added to MCW and tested for toxicity.

A subsample of the distillate filtrate was sent to Envirolab and analysed for volatile and semi-volatile organics via a GC/MS scan (Table B10). The GC/MS scanning method used in this project is not a definitive method of organic compound identification. The retention peaks and mass spectra of the detected compounds are matched to a library, and estimates of concentrations are inferred from the closest surrogate compounds. Thus, all detected compounds are reported with a match quality score, and concentrations are considered estimates.

#### 2.5.5  Major ion additions

Calcium is an essential element that is necessary for a variety of fundamental physiological processes in Hydra (Gitter et al 1994, Kawaii et al 1999, Zalizniak et al 2006). It is also a well-known ameliorator of metal and major ion toxicity (Markich & Jeffree 1994, van Dam et al 2010). Hence, the very low concentration of Ca in the distillate (Table 3) was initially targeted as a cause of the adverse effects of the distillate. In the first major ion addition TIE, SSW and distillate were prepared with nominal concentrations of 0.0, 0.2, 0.5 mg L-1 Ca, which is equivalent to 0, 50 and 100% of the standard SSW Ca concentrations. An untreated MCW control was included as a QA/QC control because H. viridissima growth rates are known to be slightly lower in SSW.

However, it was also noted that the distillate contained concentrations of sodium (Na) and potassium (K) that were below detection limits (Table 3). Thus, it was hypothesised that the addition of the Ca, Na and K up to concentrations that were consistent with those in Magela Creek would improve the condition of the distillate for H. viridissima. Thus, in a second major ion TIE, SSW and distillate were prepared with nominal concentrations of 0.0, 0.2 and 0.5 mg L-1 Ca, 0.0, 0.5 and 1.0 mg L-1 Na and 0.0, 0.2 and 0.4 mg L-1 K, which is equivalent to 0, 50 and 100% of the standard SSW concentrations. An untreated MCW control was included as a QA/QC control for reasons described above. Magnesium was measured in the distillate at environmentally relevant concentrations so was not considered in the TIE

Sub-samples of the treatments were sent for the measurement of total metal and major ion concentrations for a limited suite (Al, Cd, Co, Cr, Cu, Fe, Mn, Ni, Pb, Se, U, Zn, Ca, Mg, Na, K and SO4 - analysed as S and converted; Table B9)

#### 2.5.6  Effect of Mn in low major ion waters

The concentrations of Mn in the distillate (130–230 µg L-1) were identified as a potential concern as they were higher than the IC10 of 60 µg L-1 previously reported for H. viridissima in circumneutral pH (6.0–7.0) soft waters (Harford et al 2009). Additionally, the lack of major ions in the distillate had the potential to exacerbate Mn toxicity. Therefore, the effects of Mn in the presence of reduced concentrations of major ions were examined using modifed SSW (ie pH 6.0 with 0, 50 and 100% Na, K and Ca concentrations).

Three types of SSW were prepared with Ca, Na and K at concentrations equivalent to 0, 50 and 100% of the standard SSW concentrations (as described above). These waters were spiked with manganese to concentrations of 0, 130 and 230 µg L-1 Mn to produce 9 treatments (3 Mn concentrations × 3 major ion concentrations).

Sub-samples of the treatments were sent for the measurement of total metal and major ion concentrations for a limited suite (Al, Cd, Co, Cr, Cu, Fe, Mn, Ni, Pb, Se, U, Zn, Ca, Mg, Na, K and SO4 - analysed as S and converted). Additionally, dissolved (0.1 µm filtered) and total Mn concentrations were measured in all treatments (Table B11).

### 2.6  Quality control

#### 2.6.1  Chemistry

For each test, blanks and procedural blanks (ie ultra-pure water that has been exposed to all components of the test system) were also analysed for a limited metal and major ion suite (Al, Cd, Co, Cr, Cu, Fe, Mn, Ni, Pb, Se, U, Zn, Ca, Mg, Na, SO4 – analysed as S and converted). Chemistry data for the blanks and procedural blanks were initially assessed by searching for analyte concentrations higher than detection limits. Where these concentrations were greater than 2 g L-1 and above background levels of MCW, duplicate procedural blank samples were re-analysed and/or the control water concentrations were compared to those in tests without blank contamination, to determine if the contamination was limited to the one sample bottle or experienced throughout the test. The likelihood that contamination may have confounded the toxicity test results was investigated and discussed on a case-by-case basis.

#### 2.6.2  General water quality

For each test, data were considered acceptable if: the recorded temperature of the incubator remained within the prescribed limits (see test descriptions, above); the recorded pH was within ± 1 unit of values at test commencement (ie Day 0); the EC for each test solution was within 10% (or 5 µS cm-1 for samples with low conductivity) of the values at test commencement; and the DO concentration was greater than 70% throughout the test (see Appendix A for data). The occurrence of any significant water quality changes were investigated and discussed on a case-by-case basis.

#### 2.6.3  Control responses

Tests were considered valid if the organisms in the QC treatment (ie those in the MCW or SSW control) met the following criteria:

##### Chlorella sp cell division rate test

- The algal growth rate is within the range 1.4  0.3 doublings day-1; and

- There is < 20% variability (ie co-efficient of variation, CV < 20%) in growth rate.

##### L. aequinoctialis plant growth test

- The average increase in frond number in any flask at test conclusion is at least four times that at test start (ie a total of 60 fronds/flask or specific growth rate (k) > 0.4 day-1); and

- There is  20% variability (CV < 20%) in growth rate.

##### M. macleayi 3-brood reproduction test

- 80% or more of the cladocera are alive and female, and have produced three broods at the end of the test period;

- Reproduction in the control averages 30 or more live neonates per female over the test period; and

##### H. viridissima population growth test

- More than 30 healthy hydroids (ie specific growth rate specific growth rate (k) > 0.27 day-1) remain in each dish at the end of the test period; and

- There is < 20% variability (CV < 20%) in growth rate.

##### M. mogurnda larval fish survival test

- The mean mortality or presence of fungus on the fish does not exceed 20%; and

- There is < 20% variability (CV < 20%) in survival.

### 2.7  Statistics

For the toxicity tests, linear interpolation or non-linear regression (2-parameter log-logistic) analysis were used to determine point estimates of Inhibitory Concentrations (ICs) that reduced endpoint responses by 10% and 50% (ie IC10 and IC50) relative to the control responses (Appendix C). Because the M. mogurnda test represents an acute exposure and measures lethality, a more conservative 5% effect/lethal concentration was estimated instead of a 10% effect/lethal concentration. All statistical analyses for the full dilution toxicity tests were undertaken using CETIS (V 5.0.23, TidePool Scientific).

For the two major ion addition TIEs and the Mn toxicity test, two-way Analysis of Variance (ANOVA) and Tukey’s post hoc tests ( = 0.05) were performed using water type and major ion or Mn concentration as the two factors (Appendix C). Prior to ANOVA, the assumptions of normality and homoscedasticity were tested (SigmaPlot 11.0, Systat software, Germany). The failure of normality was not considered to be consequential to the analyses because sample sizes were the same across groups and the datasets had equal variances (Zar 1984). For the remaining TIEs, ANOVA results did not prove informative and are not reported. Rather, as recommended by the USEPA protocols (Norberg-King et al 1991), judgements on significance of the improvements or reductions in the H. viridissima population growth rate were made based on experience and knowledge of the speciation of the key chemicals of concern.

## 3  Results and discussion

### 3.1  Quality control

The quality of the toxicity tests and TIEs were assessed based on criteria for control performance, water quality measurements and chemical analyses of blank and procedural blank samples. All TIE and toxicity tests met the criteria for control performance except for the first M. macleayi test, which produced an average of 25 neonates per adult (see caption of Figure 2). However, this result was considered valid because the number of neonates produced was only marginally below the criterion of 30 neonates adult-1, adult survival was 100% and the second cladoceran toxicity test, which was a valid test, produced a similar result. Electrical Conductivity increases of greater than 5 µS cm-1 were measured in the MCW controls of the ‘confirmatory’ toxicity tests conducted with Chlorella sp, M. macleayi and H. viridissima using the second batch of distillate. However, the increases were inconsequential to the performance of controls and they were all similar to the results of the toxicity tests using the first distillate batch. Furthermore, the results of these tests could not be used to derive toxicity estimates because they consisted of only MCW control and 100% distillate treatments. In the duckweed toxicity test, the pH of the 100% distillate water was measured at 4.5 at the end of the 96-h test, which appeared anomalously low and may have been due to an erroneous reading or sample preparation. However, the growth rate of the group was the same as the control and therefore the pH change was inconsequential. Chemical analyses of the blank and procedural blank samples showed that all tests were free from confounding metal contaminants (Table B1). Hence, all tests reported here were of acceptable quality.

### 3.2  Distillate chemistry

The compositions (selected components) of the distillate and the process water feed are presented in Table 2 (see Appendix B for detailed results). The distillation process reduced all major ions, ammonia and trace metals to near detection limits. Some organic compounds that were not detected in the feed water were detected at low µg L-1 concentrations in the distillate. In this context, it is important to note that the sub-sampling of the second distillate batch for organic compounds was not ideal, in that plastic was used instead of glass, and some of the detected compounds are known to leach from plastics (Table 3). The decane, which had a 70% match quality score and was estimated at 2 µg L-1, may have been misidentified nonane because they are aliphatic hydrocarbons with 10 and 9 carbons, respectively. Nonane is also a major component of Shellsol, which was identified as an organic chemical of interest due to its use in the process circuit and occasional disposal in the TSF.

### 3.3  Toxicity test results

The toxicity test results showed that the distillate was of low toxicity to four of the five organisms tested (Table 4; Figure 2). However, the population growth rate of H. viridissima was reduced by ~50% following exposure to an undiluted (100%) sample of the first batch of distillate (Figure 2). The second batch of distillate was found to be higher in toxicity to H. viridissima, with a full toxic effect observed following exposure to 100% distillate (Table 4). In contrast, the second batch of distillate appeared to be of lower toxicity to M. macleayi and Chlorella sp. A toxicity estimate for M. mogurnda could not be calculated due to the limits in the dataset, eg a low number of treatments and variation within treatments. This resulted in concentration-response models not being able to significantly fit the dataset (see Appendix C).

Table 3  Composition of the process water before and after treatment with the brine concentrator

| Analyte | Detection limit | Process water (feed) a | First distillate batch | Second distillate batch |
| --- | --- | --- | --- | --- |
| pH | 0.1 | 4.1 – 4.5 | 5.8 | 6.7 |
| Electrical Conductivity (µS cm-1) | 1.0 | 20 900 – 29 700 | 17 | 12 |
| DOC (mg L-1) | 0.1 | <1 – 6 | 0.6 | NM C |
| Calcium (mg L-1) | 0.1 | 300 – 341 | 0.11 | <0.1 |
| Magnesium (mg L-1) | 0.1 | 3607 – 4123 | 0.6 | 0.4 |
| Sodium (mg L-1) | 0.1 | 73 - 107 | <0.1 | <0.1 |
| Potassium (mg L-1) | 0.1 | 67 - 115 | <0.1 | <0.1 |
| Biocarbonate (mg L-1 CaCO3) | 1.0 | <1 | 7 | 6 |
| Ammonia (mg L-1 N) | 5.0 ×10-3 | 550 – 756 | 0.7 | 0.8 |
| Manganese (mg L-1) | 1.0 ×10-4 | 1367 – 1551 | 0.23 | 0.13 |
| Uranium (µg L-1) | 1.0 ×10-3 | 9600 – 25 300 | 1.1 | 1.5 |
| Decane (µg L-1) | 1.0 | Not detected | NMc | 2 d |
| Phenol, 3,5-bis (1,1-dimethylethyl) (µg L-1)b | 1.0 | Not detected | NMc | 6 d |
| Phenol, 2,4-bis (1,1-dimethylethyl) (µg L-1)b | 1.0 | Not detected | NMc | 12 d |
| 1,2-Benzenedicarboxylic acid, buty (µg L-1)b | 1.0 | Not detected | NMc | 10 d |

a  Value ranges based on numerous composite samples of the feed taken from 10 July – 9 August 2011 (data provided by ERA).
b  Known to leach from plastics
c  NM = Not measured
d  Not a definitive measurement. Concentration was estimated from the closest matching surrogate compound.

Figure 2 Concentration-response plots for the toxicity of the pilot brine concentrator distillate to five freshwater species (distillate batch 1 for Chlorella sp., Hydra. viridissima and Moinodaphnia macleayi; distillate batch 2 for Lemna aequinoctialis and Morgurnda mogurnda). Magela Creek Water control responses were; Chlorella sp. = 1.7 ± 0.3 doubling day-1; H. viridissima = 0.35 ±0.01 day-1; M. macleayi = 25 ± 0.5 neonates adult-1; L. aequinoctialis = 0.35 ± 0.01 day-1; M. mogurnda = 90 ± 5% survival.

Table 4  Toxicity of the pilot brine concentrator distillate

| Species | Endpoint | IC10 or IC5 a (95% confidence limits) | Percentage effect relative to the control (± CV% b) following exposure to 100% distillate |  |
| --- | --- | --- | --- | --- |
|  |  |  | 1st batch | 2nd batch |
| Chlorella sp. (unicellular alga) | 72-h cell division rate | 79 (N.C.) c | 11 ± 2 | 0 ± 0 |
| Lemna aequinoctialis (duckweed) | 96-h growth rate | >100 (N.C.) d | N.T.e | 0 ± 0 |
| Hydra viridissima (green hydra) | 96-h population growth rate | 30 (N.C. – 77) | 53 ± 5 | 100 ± 0 |
| Moinodaphnia macleayi (cladoceran) | 3-brood (6-d) reproduction | 72 (50 – 100) | 13 ± 6 | 6 ± 13 |
| Mogurnda mogurnda (fish) | 96-h survival | NCb | N.T. | 7 ± 25 |

a Inhibitory Concentrations (IC) are expressed as percentage of distillate that causes 10% or 5% effect, ie IC10 for all species except for IC5 for M. mogurnda

b Percentage Coefficient of Variation

c NC = Not calculable

e derived from test conducted on the 2nd batch

e N.T. = Not tested

### 3.4  Toxicity identification evaluation (TIE) results

Chemical analysis of the distillate (Table 3) indicated that ammonia, manganese (Mn) and an organic component were potential candidate constituents for causing a toxic response. However, initial TIE results suggested none of these constituents were causing or contributing to the observed negative effect on H. viridissima (Table 5).

Increasing the pH of the distillate to 7.5 decreased its toxicity and improved the growth of the H. viridissima relative to pH 6.5 control. This indicated that the toxicity was not due to ammonia, as the higher pH would have resulted in greater toxicity due to a higher proportion of toxic ammonia (NH3) ions (Table 5). This was confirmed by the result of the ammonia stripping experiment, where ammonia in the distillate was reduced to below detection, but the distillate’s toxicity was unchanged (Table 5).

The improved H. viridissima growth rate at pH 7.5 may have been due to one or more of several reasons, including: (i) the addition of sodium ions in the form of sodium hydroxide, which was used to increase the pH; (ii) an improved physiological/metabolical function of the H. viridissima at pH 7.5; and (iii) reduced toxicity of Mn (or metals in general) due to a reduction in the proportion of bioavailable free Mn ions compared with the lower pHs of 5.5 and 6.5.

However, the TIE based on the addition of EDTA to the distillate indicated that toxicity due to Mn was unlikely. Only the lowest concentration of EDTA (2.8 mg L-1) provided informative results, as the higher EDTA concentrations resulted in no growth of the H. viridissima in MCW (Table 5). This was probably due to the binding of essential cations, such as Ca2+, due to excess EDTA being added to the treatment. The calculation of EDTA needed for complete binding of all the Mn was based on the first batch of distillate, which contained 230 µg L-1 Mn, while the second batch contained only half the concentration, ie 130 µg L-1 Mn. Nevertheless, the addition of 2.8 mg L-1 EDTA resulted in a H. viridissima population growth of 0.17 day-1 in the MCW control but no growth in the distillate control. Thus, if the toxic effect of the distillate was due to Mn then it would have been expected that growth in the 2.8 mg L-1 EDTA treated distillate would be similar to the MCW control. Furthermore, the results from the Chelex assay also supported the conclusion that Mn was not the toxic component (Table B6). The fraction that was able to bind to the Chelex-100 resin was effectively reduced to below detection limits, but the toxicity of the distillate was not reduced. This indicated that Mn was not toxic in the second batch, which had a concentration of 110 µg L-1.

Treatment of the distillate using a C18 SPE column did not change the toxicity of the distillate (Table 5). The organic content of the distillate was low (~1-4 mg L-1 TOC) but a GC-MS scan of the second batch estimated decane (70% match quality) at 2.0 µg L-1, phthalate (86% match quality) at 9.9 µg L-1 and two bis-phenols (>90% match quality) at 5.8 and 12.0 µg L-1. The phthalate and bis-phenols are known to leach from plastic and were probably present because the sample was held in polyethylene containers. However, the decane was unlikely to have leached from the plastic and may have been concentrated from the feedwater by the brine concentrator. Two chemicals that closely matched methyl ethyl ketone (MEK; 86% match quality) and phenol, 2-(1,1-dimethylethyl)-4-methyl- (97% match quality) were estimated in a blank sample at concentrations of 5.0 a 1.5 µg L-1, respectively.

Table 5  Results of toxicity identification evaluation toxicity tests using H. viridissima

| TIE test | Treatment a | Control growth rate (mean day-1 ±SE) | Distillate growth rate (mean day-1 ±SE) | Distillate compared to control (mean % ± SE) |
| --- | --- | --- | --- | --- |
| TIEs with Magela Creek Water as the control water |  |  |  |  |
| Graduated pH | Daily pH adjusted to ~5.5 | 0.34 ± 0.02 | 0.00 ± 0.00 | 0.0 |
|  | pH unadjusted (~6.5) | 0.33 ± 0.00 | 0.04 ± 0.02 | 11 ± 6 |
|  | Daily pH adjusted to ~7.5 | 0.34 ± 0.01 | 0.16 ± 0.03 | 50 ± 1 |
| EDTA addition | 0 mg L-1 EDTA added | 0.31 ± 0.02 | 0.04 ± 0.04 | 12 ± 12 |
|  | 2.5 mg L-1 EDTA added | 0.17 ± 0.01 | 0.00 ± 0.00 | 0.0 |
|  | 5.0 mg L-1 EDTA added | 0.00 ± 0.00 | 0.00 ± 0.00 | 0.0 |
|  | 10 mg L-1 EDTA added | 0.00 ± 0.00 | 0.00 ± 0.00 | 0.0 |
| Ammonia stripping | Unadjusted | 0.32 ± 0.02 | 0.00 ± 0.00 | 0.0 |
|  | pH increased and aerated ‘NH3 stripped’ | 0.16 ± 0.01 | 0.00 ± 0.00 | 0.0 |
| C18 SPE b | Untreated | 0.28 ± 0.01 | 0.14 ± 0.02 | 50 ± 6 |
|  | Filtrate ‘Organic stripped’ | 0.29 ± 0.01 | 0.16 ± 0.00 | 59 ± 1 |
|  | Eluate added to MCW | 0.27 ± 0.00 | 0.27 ± 0.01 | 94 ± 3 |
| TIEs with Synthetic Soft Water as the control water |  |  |  |  |
| Calcium addition | 0.0 mg L-1 Ca added | 0.14 ± 0.00 | 0.00 ± 0.00 | 0.0 |
|  | 0.2 mg L-1 Ca added | 0.27 ± 0.01 | 0.16 ± 0.00 | 61 ± 2 |
|  | 0.5 mg L-1 Ca added | 0.28 ± 0.00 | 0.18 ± 0.01 | 66 ± 5 |
| Major ion addition | 0.0 mg L-1 Ca, Na and K added | 0.04 ± 0.06 | 0.13 ± 0.01 | 353 ± 23 c |
|  | 0.2, 0.5 and 0.2 mg L-1 Ca, Na and K added | 0.29 ± 0.02 | 0.29 ± 0.01 | 100 ± 4 |
|  | 0.5, 1.0 and 0.4 mg L-1 Ca, Na and K added | 0.34 ± 0.01 | 0.32 ± 0.02 | 96 ± 5 |

a Controls were either MCW or SSW that were treated the same as the distillate. b Solid Phase Extraction. c Growth rate in the distillate was three times higher compared to SSW with no major ions.

These chemicals were probably contaminants from the sampling method and highlight the sensitivity of the analytical method. No VOCs and sVOCs were detected in the batch of distillate used for the TIE studies, but two sVOCs that matched 2-Furancarboxaldehyde, 5-methyl- (93% match quality) and 2,5-Heptadien-4-one, 2,6-dimethyl- (92% match quality) were estimated at <1.5 µg L-1 (Table B10). The source of these compounds was unclear but they may have been acquired during the SPE treatment. Importantly, their presence in the filtrate did not change the toxicity of the water. Furthermore, no toxicity was observed in the MCW containing the eluate (Table 5). Hence, all results suggested that the toxicity of the distillate was not due to the presence of trace amounts of the organic compounds.

If organic chemicals are present in the feed water, there is a risk that these chemicals may be concentrated by the brine concentrator. A single sample taken on 27 July 2011 directly from the solvent extraction line (representing the most concentrated source of organic compounds that may contribute to the process water) contained naphthalene at 1000 µg L-1 . No VOCs or sVOCs were detected in two samples of process water taken at the Ranger mine site on 8 and 10 August 2011. However, it should be noted that organic compounds that may be present at concentrations below detection limits in the process water could be concentrated by the brine concentrator. It is worth noting that the issue of organic compounds being concentrated could not be adequately assessed during this study. Of primary concern was that the process waters used to feed the pilot-scale plant were transported long distances (Darwin to Melbourne) and stored for long storage durations, which would have resulted in the evaporation of sVOCs and VOCs. Additionally, the process water used to produce the two batches of distillate tested in this study were obtained during the period of 8 to 24 June 2011 whilst the Ranger processing plant was not operating until 15 June 2011. This meant that the probability of organics being in process water was lower because the primary source of organics in the TSF is waste from the extraction circuit used during the processing of the ore. Regardless, the presence of organic chemicals in the TSF, the temporal variation and, ultimately, their ability to enter the feed water for the brine concentrator is unclear and needs to be better understood, eg through the monitoring of process water and distillate.

In addition to the issue of organic chemicals in the TSF process water, the fate and environmental risk of anti-scalant and anti-foaming chemicals was not adequately assessed during this project. Scale inhibiting organic chemicals (eg. amino-trimethylene phosphonic acid; ATMP), will be routinely added to the feed water to manage scaling of the brine concentrator units, while foam inhibiting chemicals (eg. silicon emulsions), will be added only when needed if foaming appears in the units. However, the distillates tested during this study did not contain such chemicals. Furthermore, the ability of chemical additives to report to the distillate is currently unclear, although analyses of two distillate samples that were produced from feed water dosed with anti-scalant (ATMP) and anti-foam (silicon emulsion) showed VOCs and sVOCs at below detection limits. However, another distillate sample that was also produced from this feed water with the chemical additives contained ethanol (95% match quality) and octanal (82% match quality) estimated at 5.0 and 1.0 µg L-1, respectively (Table B10). This indicates that the ability of chemical additives to report to the distillate warrants further investigation

In light of the above negative findings, the issue of major ion deficiency was specifically investigated as a potential cause of the effect on H. viridissima. Firstly, Ca addition was investigated due to its importance for nematocyst function and other physiological processes in Hydra (Gitter et al 1994, Kawaii et al 1999, Zalizniak et al 2006). The addition of 0.2 and 0.5 mg L-1 Ca to the distillate resulted in a significant (P < 0.001) 61% and 66% recovery relative to the SSW control, respectively, suggesting Ca deficiency as a major reason for the effect of distillate on H. viridissima (Table 5). Subsequently, it was thought that full recovery of H. viridissima might be achieved through the addition of sodium (Na) and potassium (K), as well as Ca. The results showed a significant (P < 0.001) 100% and 96% recovery of H. viridissima population growth rates with the addition of 50 and 100% major ions, respectively (Table 5). Furthermore, there was no statistical difference (P = 0.293) between the SSW and distillate water types if the major ions were at the same concentrations. This strongly indicated that the majority of the adverse effect from the distillate on H. viridissima was due to major ion deficiency issue rather than a chemical toxicity.

Despite the substantive removal of adverse effect by replacement of major cations, the concentrations of Mn in the distillate (130-230 µg L-1) remained a concern as they were higher than the IC10 of 60 µg L-1 previously reported for H. viridissima in circumneutral pH (6.0–7.0) soft waters (Harford et al 2009). Additionally, the lack of major ions in the distillate had the potential to exacerbate Mn toxicity (Peters et al 2011). Therefore, the effects of Mn in the presence of reduced concentrations of major ions were examined using modifed SSW (ie with 0, 50 and 100% of the major ion concentrations in unmodified SSW).

Chemical analyses of the test solutions measured Mn concentrations at 10, 130 and 250 µg L-1, close to the nominal concentrations of 0, 130 and 230 µg L-1 (Table B8). The measured concentrations of K in the no Ca, Na and K group were higher than expected and similar to the half concentrations of Ca, Na and K group (Table B8). Nevertheless, in all SSW types, Mn reduced the growth rate of H. viridissima relative to the relevant SSW type control. The effect was most noticeable in the SSW with half the Na, K and Ca concentrations where growth rate was reduced by 9 and 20% in the 130 and 250 µg L-1 treatments (Figure 3).

Figure 3  Effect of manganese on Hydra viridissima in modified Synthetic Soft Water (SSW). Data represent the mean ± se (n = 3).

A two-way ANOVA of the results showed that the growth rates of H. viridissima in the 250 µg L-1 Mn treatments were statistically lower than the controls but there was no interaction between major ion concentration and Mn toxicity (P = 0.76). Thus, Mn caused a similar reduction in the growth rate of H. viridissima regardless of the SSW type. Consequently, despite the recognised issue with deficiencies of major ions in the distillate, a specific toxic response to Mn was identified. It is clear that further investigation of Mn toxicity is warranted to better understand the potential for toxicity under various physico-chemical conditions relevant to the catchments on the mine site to which distillate will be discharged, as well as Magela Creek itself. It is noteworthy that a current draft recommended environmental quality standard for Mn in the European Union is 62–123 µg L- (Peters et al 2010). Consequently, it is recommended that further site-specific data are needed to adequately assess the environmental risk of Mn in the distillate.

## 4  Conclusions and recommendations

Whilst the undiluted distillate was generally of low toxicity, it did cause a 50–100% reduction in population growth rate of H. viridissma. Application of a Toxicity Identification Evaluation (TIE) procedure demonstrated that a lack of major ions was the primary factor causing the reduced rate of growth for the H. viridissima. Additional toxicity tests indicated that the highest concentrations of Mn (> 200 µg L-1) that were measured in the distillate may also have had a negative impact on H. viridissima growth rate.

Given the results of the study, it is concluded that brine concentrator distillate should not be directly discharged to Magela Creek. The following recommendations have been made to ‘condition’ the water along catchment flow lines such that the issues identified above can be remediated by the time the water is discharged:

Supplementation of the distillate with major ions (Ca, Na and K) may be required prior to its discharge to the off-site aquatic environment. This could be achieved actively by direct addition of relevant salts or passively by passing the distillate through a wetland system/watercourse and/or blending with mine site waters prior to discharge;

While the conditioning of the distillate through a wetland/watercourse is likely to improve water quality (by increasing major ion concentrations and, potentially, reducing dissolved Mn concentrations), the risk of exhausting of the system’s capacity to sustainably contribute the required loading of salt may need to be considered if large volumes are to be flushed through the system;

Further site-specific data are needed to adequately assess the environmental risk of Mn in the distillate. Concentrations of Mn measured in the distillate inhibited the growth of H. viridissima and were above a previously reported IC10 of 60 µg L-1. Concentrations were also detected above a draft freshwater guideline of 62–123 µg L-1, which is being recommended in Europe.

The issue of organic compounds could not be adequately assessed during this pilot study. The presence of organic chemicals in the TSF and their ability to enter the feed water for the brine concentrator, and for VOCs and sVOCs to report to the distillate, is unclear. Furthermore, the effects of the distillate produced from the full-scale brine concentrator will need to be specifically assessed as part of the risk assessment needed to be completed prior to release of the distillate. Accordingly, it is recommended that:

- A baseline monitoring program for organic compounds in the TSF is needed to establish the likelihood of significant concentrations of sVOCs and VOCs entering the feed water, hence indicating the potential for transfer to the distillate. The distillate should also be monitored for organic compounds following the commissioning of the full-scale plant.

The effect of anti-scalant and anti-foaming agents that may be added to the concentrator’s feed water needs to be assessed. This may be achieved with laboratory toxicity tests prior to the commissioning of the full-scale plant.

The distillate product from the full-scale plant will need to be assessed for toxicity and, if necessary, a TIE conducted to determine the cause(s) of any measured effects.

## 5  Acknowledgments

Approval for the ethical use of M. mogurnda was granted through the Charles Darwin University’s Animal Ethics Committee. The authors would like to thank Kim Cheng, Claire Costello and Melanie Trenfield for their flawless execution of the toxicity and TIE tests. We would also like to thank the RT-TI team of Anna Zonneveld, Nicole Jarvie and Mark Coghill, and the ERA team of Shelly Iles, Nicole Jacobsen and Greg Sinclair, for their cooperation and provision of data and the distillate waters. We would also like to thank the Envirolab team, David Springer, Giovanni Agosti and Nancy Zhang, for their expert advice concerning organic analyses and for performing the chelex assay.

## 6  References

Allen EW 2008. Process water treatment in Canada’s oil sands industry: I. Target pollutants and treatment objectives. Journal of Environmental Engineering and Science 7 (2), 123-138.

Butler BA, Smith ME, Reisman DJ & Lazorchak JM 2011. Metal removal efficiency and ecotoxicological assessment of field-scale passive treatment biochemical reactors. Environmental Toxicology and Chemistry 30 (2), 385–392.

Deanovic L, Connor VM, Knight AW & Maier KJ 1999. The Use of Bioassays and Toxicity Identification Evaluation (TIE) Procedures to Assess Recovery and Effectiveness of Remedial Activities in a Mine Drainage-Impacted Stream System. Archives of Environmental Contamination and Toxicology 36 (1), 21–27.

Driussi C & Jansz J 2006. Pollution minimisation practices in the Australian mining and mineral processing industries. Journal of Cleaner Production 14 (8), 673–681.

Durhan EJ, Norberg-King TJ & Burkhard LP 1993. Methods for aquatic toxicity identification evaluations: Phase 2 toxicity identification procedures for samples exhibiting acute and chronic toxicity. EPA/600/R-92/080 Office of Research and Development, USEPA, Washington DC, USA.

Gitter AH, Oliver D & Thurm U 1994. Calcium-and voltage-dependence of nematocyst discharge in Hydra vulgaris. Journal of Comparative Physiology A: Neuroethology, Sensory, Neural, and Behavioral Physiology 175 (1), 115–122.

Haraldsson C, Lyvén B, Pollak M & Skoog A 1993. Multi-element speciation of trace metals in fresh water adapted to plasma source mass spectrometry. Analytica Chimica Acta 284 (2), 327–336.

Harford AJ, Hogan AC, Cheng K, Costello C, Houston M & van Dam RA 2009. Preliminary assessment of the toxicity of manganese to three tropical freshwater species. In eriss research summary 2007–2008. Supervising Scientist Report 200, Supervising Scientist, Darwin NT, 12–19.

Kawaii S, Yamashita K, Nakai M, Takahashi M & Fusetani N 1999. Calcium dependence of settlement and nematocyst discharge in actinulae of the hydroid Tubularia mesembryanthemum. The Biological Bulletin 196 (1), 45–51.

Markich SJ & Jeffree RA 1994. Absorption of divalent trace metals as analogues of calcium by Australian freshwater bivalves: An explanation of how water hardness reduces metal toxicity. Aquatic toxicology 29 (3–4), 257–290.

Masarczyk J, Hansson C-H, Solomon R & Hallmans B 1989. Advances mine drainage water treatment, engineering for zero discharge. Desalination 75 (0), 259–287.

Mirenda R & Hall W 1992. The application of effluent characterization procedures in toxicity identification evaluations. Water Science & Technology 25 (3), 39–44.

Mount DI & Norberg-King TJ 1993. Methods for aquatic toxicity identification evaluations: Phase 3 toxicity confirmation. Procedures for samples exhibiting acute and chronic toxicity. EPA/600/R-92/081, Office of Research and Development, USEPA, Washington DC, USA.

Neculita C-M, Vigneault B & Zagury GJ 2008. Toxicity and metal speciation in acid mine drainage treated by passive bioreactors. Environmental Toxicology and Chemistry 27 (8), 1659–1667.

Norberg-King TJ, Mount D, Durhan E, Ankley GT & Burkhard L 1991. Methods for aquatic toxicity identification evaluations. Phase 1. Toxicity characterization procedures, Environmental Research Lab, US Environmental Protection Agency Duluth, Minnesota, United States.

Peters A, Crane M, Maycock D, Merrington G, Simpson P, Sorokin N & Atkinson C 2010. Proposed EQS for Water Framework Directive Annex VIII substances: manganese (total dissolved). Bristol, United Kingdom: Environment Agency.

Peters A, Lofts S, Merrington G, Brown B, Stubblefield W & Harlow K 2011. Development of biotic ligand models for chronic manganese toxicity to fish, invertebrates, and algae. Environmental Toxicology and Chemistry 30 (11), 2407–2415.

Riethmuller N, Camilleri C, Franklin N, Hogan AC, King A, Koch A, Markich SJ, Turley C & van Dam R 2003. Ecotoxicological testing protocols for Australian tropical freshwater ecosystems. Supervising Scientist Report 173, Supervising Scientist, Darwin NT.

Sauer TC, Costa HJ, Brown JS & Ward TJ 1997. Toxicity identification evaluations of produced-water effluents. Environmental Toxicology and Chemistry 16 (10), 2020–2028.

Tietge JE, Hockett JR & Evans JM 1997. Major ion toxicity of six produced waters to three freshwater species: Application of ion toxicity models and tie procedures. Environmental Toxicology and Chemistry 16 (10), 2002–2008.

van Dam RA, Hogan AC, Harford AJ, Cheng KC & Costello C 2011. Toxicity testing of Ranger process water permeate. In eriss research summary 2009–2010. Supervising Scientist Report 202, Supervising Scientist, Darwin NT, 28–31.

van Dam RA, Hogan AC, McCullough CD, Houston MA, Humphrey CL & Harford AJ 2010. Aquatic toxicity of magnesium sulfate, and the influence of calcium, in very low ionic concentration water. Environmental Toxicology and Chemistry 29 (2), 410–421.

Zalizniak L, Kefford BJ & Nugegoda D 2006. Is all salinity the same? I. The effect of ionic compositions on the salinity tolerance of five species of freshwater invertebrates. Marine and freshwater research 57 (1), 75–82.

Zar JH 1984. Biostatistical analysis. 2nd edn, Prentice-Hall Inc, Englewood Cliffs, New Jersey, USA.

## Appendix A  Measured water quality parameters for toxicity tests

Table A1  1193D Clad_RBCP_01 Cladoceran toxicity test

| Treatment |  | 0% |  | 25% |  | 50% |  | 100% |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Parameter |  | 0 h | 24 h | 0 h | 24 h | 0 h | 24 h | 0 h | 24 h |
| Day 0 | pH | 6.5 | 6.5 | 6.5 | 6.5 | 6.5 | 6.6 | 6.5 | 6.6 |
|  | EC (µS cm-1) | 21.0 | 18.0 | 18.0 | 18.0 | 19.0 | 19.0 | 19.0 | 20.0 |
|  | DO (%) | 109 | 91 | 101 | 94 | 114 | 91 | 107 | 92 |
|  | Temp (°C) | 25.0 | 24.7 | 24.9 | 25.3 | 24.7 | 25.1 | 24.7 | 24.6 |
| Day 1 | pH | 6.6 | 6.3 | 6.3 | 6.4 | 6.4 | 5.2a | 5.7 | 6.3 |
|  | EC (µS cm-1) | 17.0 | 20.0 | 17.0 | 20.0 | 18.0 | 26.0 | 23.0 | 21.0 |
|  | DO (%) | 106 | 96 | 107 | 93 | 111 | 91 | 111 | 90 |
|  | Temp (°C) | 27.3 | 26.5 | 27.3 | 26.7 | 27.1 | 26.2 | 25.3 | 25.7 |
| Day 2 | pH | 6.5 | 6.8 | 6.5 | 6.9 | 6.5 | 6.4 | 6.1 | 6.4 |
|  | EC (µS cm-1) | 17.0 | 18.0 | 20.0 | 20.0 | 19.0 | 23.0 | 22.0 | 20.0 |
|  | DO (%) | 110 | 90 | 12 | 90 | 114 | 91 | 115 | 89 |
|  | Temp (°C) | 26.6 | 23.3 | 26.9 | 23.3 | 27.3 | 23.1 | 26.8 | 23.0 |
| Day 3 | pH | 6.7 | 6.6 | 6.8 | 6.8 | 6.7 | 6.7 | 6.6 | 6.7 |
|  | EC (µS cm-1) | 21.0 | 19.0 | 21.0 | 19.0 | 20.0 | 20.0 | 21.0 | 21.0 |
|  | DO (%) | 111 | 92 | 112 | 89 | 114 | 90 | 115 | 94 |
|  | Temp (°C) | 24.2 | 24.3 | 23.8 | 23.9 | 23.7 | 23.8 | 23.6 | 23.9 |
| Day 4 | pH | 6.7 | 6.9 | 6.7 | 6.9 | 6.6 | 6.9 | 6.5 | 6.8 |
|  | EC (µS cm-1) | 22.2 | 23.0 | 19.0 | 25.0 | 19.0 | 20.0 | 20.0 | 21.0 |
|  | DO (%) | 118 | 88 | 120 | 86 | 121 | 90 | 110 | 90 |
|  | Temp (°C) | 26.1 | 22.9 | 24.9 | 23.5 | 24.5 | 24.9 | 24.3 | 25.0 |

a Likely erroneous measurement

Table A2  1194B Hyd_RBCP_01 Hydra toxicity test

| Treatment |  | 0% |  | 25% |  | 50% |  | 100% |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Parameter |  | 0 h | 24 h | 0 h | 24 h | 0 h | 24 h | 0 h | 24 h |
| Day 0 | pH | 6.7 | 6.5 | 6.7 | 6.6 | 6.7 | 6.5 | 6.5 | 6.3 |
|  | EC (µS cm-1) | 19 | 18 | 14 | 18 | 18 | 19 | 18 | 19 |
|  | DO (%) | 114 | 92 | 114 | 91 | 110 | 93 | 106 | 90 |
|  | Temp (°C) | 26 | 24.1 | 25.3 | 24.6 | 24.7 | 24.5 | 23.9 | 24.2 |
| Day 1 | pH | 6.3 | 6.6 | 6.4 | 6.8 | 6.5 | 6.7 | 6.5 | 6.8 |
|  | EC (µS cm-1) | 19 | 16 | 17 | 17 | 16 | 17 | 18 | 18 |
|  | DO (%) | 113 | 90 | 121 | 91 | 116 | 92 | 116 | 92 |
|  | Temp (°C) | 24.9 | 24.8 | 25.9 | 24.7 | 25.2 | 24.8 | 25.2 | 25.2 |
| Day 2 | pH | 6.7 | 6.7 | 6.6 | 6.7 | 6.6 | 6.7 | 6.6 | 6.7 |
|  | EC (µS cm-1) | 21 | 15 | 19 | 16 | 16 | 16 | 17 | 18 |
|  | DO (%) | 116 | 92 | 113 | 92 | 110 | 91 | 111 | 92 |
|  | Temp (°C) | 24.9 | 24.2 | 24.7 | 25 | 24.7 | 25.5 | 24.6 | 25.5 |
| Day 3 | pH | 6.7 | 6.8 | 6.7 | 6.8 | 6.6 | 6.9 | 6.6 | 6.8 |
|  | EC (µS cm-1) | 14 | 16 | 15 | 15 | 16 | 15 | 17 | 17 |
|  | DO (%) | 110 | 95 | 120 | 92 | 114 | 92 | 113 | 91 |
|  | Temp (°C) | 25 | 27.3 | 25.3 | 27 | 25.1 | 27 | 24.9 | 26.5 |

Table A3  1195G Alg_RBCP_01 Green alga toxicity test

| Treatment | 0% |  | 25% |  | 50% |  | 100% |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Parameter | 0 h | 24 h | 0 h | 24 h | 0 h | 24 h | 0 h | 24 h |
| pH | 6.4 | 6.9 | 6.3 | 6.2 | 6.2 | 6.3 | 6.1 | 6.0 |
| EC (µS cm-1) | 42 | 40 | 44 | 44 | 45 | 41 | 48 | 46 |
| DO (%) | 112 | 94 | 112 | 94 | 109 | 94 | 104 | 93 |
| Temp (°C) | 24.9 | 23.1 | 25.2 | 23.5 | 25.2 | 23.7 | 25.2 | 24 |

Table A4  1205L Lem_RBCP_01 Duckweed toxicity test

| Treatment | 0% |  | 25% |  | 50% |  | 100% |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Parameter | 0h | 72h | 0h | 72h | 0h | 72h | 0h | 72h |
| pH | 6.4 | 6.9 | 6.4 | 6.9 | 6.3 | 6.5 | 6.3 | 4.5 |
| EC (µS cm-1) | 21 | 16 | 21 | 12 | 21 | 12 | 20 | 19 |
| DO (%) | 102 | 90 | 109 | 92 | 106 | 94 | 106 | 96 |
| Temp (°C) | 24.5 | 24.6 | 24 | 24.7 | 23 | 22.9 | 23 | 23.4 |

Table A5  1206E Fry_RBCP_01 Fry toxicity test

| Treatment |  | 0 % |  | 25 % |  | 50 % |  | 100 % |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Parameter |  | 0 h | 24 h | 0 h | 24 h | 0 h | 24 h | 0 h | 24 h |
| Day 0 | pH | 6.2 | 6.6 | 6.3 | 6.6 | 6.2 | 6.7 | 6.3 | 6.7 |
|  | EC (µS cm-1) | 15 | 21 | 14 | 19 | 13 | 19 | 12 | 17 |
|  | DO (%) | 116 | 92 | 106 | 93 | 115 | 94 | 112 | 93 |
|  | Temp (°C) | 24.0 | 25.6 | 24.1 | 24.1 | 24.0 | 24.4 | 24.1 | 24.4 |
| Day 1 | pH | 6.3 | 6.7 | 6.3 | 6.7 | 6.2 | 6.7 | 6.2 | 6.6 |
|  | EC (µS cm-1) | 15 | 19 | 14 | 19 | 14 | 15 | 13 | 15 |
|  | DO (%) | 101 | 96 | 107 | 100 | 101 | 92 | 106 | 96 |
|  | Temp (°C) | 26.5 | 23.8 | 26.0 | 24.1 | 25.9 | 23.3 | 25.8 | 23.6 |
| Day 2 | pH | 6.4 | 6.5 | 6.5 | 6.6 | 6.4 | 6.6 | 6.5 | 6.7 |
|  | EC (µS cm-1) | 14 | 17 | 14 | 17 | 14 | 16 | 12 | 15 |
|  | DO (%) | 118 | 90 | 115 | 89 | 118 | 88 | 115 | 87 |
|  | Temp (°C) | 23.5 | 22.9 | 23.5 | 22.7 | 23.8 | 22.9 | 23.9 | 23 |
| Day 3 | pH | 6.4 | 6.9 | 6.4 | 6.9 | 6.4 | 6.8 | 6.4 | 7.0 |
|  | EC (µS cm-1) | 14 | 20 | 14 | 17 | 13 | 17 | 12 | 16 |
|  | DO (%) | 117 | 89 | 118 | 91 | 115 | 89 | 117 | 92 |
|  | Temp (°C) | 23.0 | 24.9 | 23.3 | 24.3 | 23.1 | 23.5 | 22.8 | 22.8 |

Table A6  1207B Hyd_RBCP_02 Hydra toxicity test

| Treatment |  | 0% |  | 100% |  |
| --- | --- | --- | --- | --- | --- |
| Parameter |  | 0 h | 24 h | 0 h | 24 h |
| Day 0 | pH | 6.2 | 6.7 | 6.3 | 6.6 |
|  | EC (µS cm-1) | 15 | 15 | 12 | 13 |
|  | DO (%) | 109 | 101 | 105 | 101 |
|  | Temp (°C) | 26 | 23.4 | 26 | 23.9 |
| Day 1 | pH | 6.5 | 6.2 | 6.5 | 6.4 |
|  | EC (µS cm-1) | 16 | 16 | 13 | 13 |
|  | DO (%) | 120 | 94 | 118 | 92 |
|  | Temp (°C) | 25 | 23.3 | 25 | 23.3 |
| Day 2 | pH | 6.1 | 6.7 | 6.2 | 6.8 |
|  | EC (µS cm-1) | 14 | 15 | 12 | 13 |
|  | DO (%) | 118 | 96 | 107 | 97 |
|  | Temp (°C) | 23.1 | 24.1 | 23.4 | 24.4 |
| Day 3 | pH | 6.4 | 6.8 | 6.4 | 6.6 |
|  | EC (µS cm-1) | 33 | 17 | 12 | 13 |
|  | DO (%) | 119 | 93 | 118 | 96 |
|  | Temp (°C) | 23.7 | 25.9 | 23.4 | 26 |

Table A7  1208D Clad_RBCP_02 Cladoceran toxicity test

| Treatment |  | 0% |  | 100% |  |
| --- | --- | --- | --- | --- | --- |
| Parameter |  | 0 h | 24 h | 0 h | 24 h |
| Day 0 | pH | 5.9 | 6.3 | 6.2 | 6.4 |
|  | EC (µS cm-1) | 21.0 | 21.0 | 18.0 | 16.0 |
|  | DO (%) | 90 | 103 | 89 | 101 |
|  | Temp (°C) | 24.2 | 23.9 | 24.1 | 24.0 |
| Day 1 | pH | 4.3 | 5.9 | 6.2 | 6.0 |
|  | EC (µS cm-1) | 34.0 | 20.0 | 18.0 | 25.0 |
|  | DO (%) | 102 | 101 | 102 | 108 |
|  | Temp (°C) | 25.3 | 23.9 | 24.9 | 23.9 |
| Day 2 | pH | 6.2 | 6.4 | 6.3 | 6.2 |
|  | EC (µS cm-1) | 19.0 | 33.0 | 17.0 | 15.0 |
|  | DO (%) | 92 | 126 | 88 | 126 |
|  | Temp (°C) | 24.3 | 24.3 | 23.4 | 24.0 |
| Day 3 | pH | 6.2 | 6.2 | 6.2 | 6.2 |
|  | EC (µS cm-1) | 25.0 | 20.0 | 16.0 | 15.0 |
|  | DO (%) | 93 | 121 | 93 | 123 |
|  | Temp (°C) | 23.7 | 24.3 | 23.8 | 24.4 |
| Day 4 | pH | 6.5 | 6.0 | 6.2 | 6.2 |
|  | EC (µS cm-1) | 25.0 | 18.0 | 17.0 | 15.0 |
|  | DO (%) | 95 | 106 | 94 | 103 |
|  | Temp (°C) | 23.9 | 24.1 | 23.3 | 23.9 |

Table A9  1209G Alg_RBCP_02 Green alga toxicity test

| Treatment | 0 % |  | 100% |  |
| --- | --- | --- | --- | --- |
| Parameter | 0h | 72 h | 0h | 72 h |
| pH | 6.4 | 6.5 | 6.2 | 6.0 |
| EC (µS cm-1) | 50 | 42 | 43 | 39 |
| DO (%) | 100 | 93 | 102 | 100 |
| Temp (°C) | 24 | 23.2 | 23.8 | 23.5 |

Table A10  1210B Hyd_RBCP_03 Hydra graduate pH TIE

| Treatment |  | MCW pH 5.5 |  | MCW pH 6.4 |  | MCW pH 8.0 |  | Distillate pH 5.5 |  | Distillate pH 6.4 |  | Distillate pH 8.0 |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Parameter |  | 0h | 24 h | 0h | 24 h | 0h | 24 h | 0h | 24 h | 0h | 24 h | 0h | 24 h |
| Day 0 | pH | 5.5 | 6.0 | 6.2 | 6.3 | 7.9 | 6.9 | 5.5 | 6.0 | 6.2 | 6.2 | 7.8 | 6.7 |
|  | EC (µS cm-1) | 20 | 18 | 16 | 17 | 22 | 23 | 19 | 15 | 19 | 13 | 24 | 18 |
|  | DO (%) | 105 | 96 | 107 | 96 | 105 | 93 | 105 | 96 | 103 | 96 | 101 | 96 |
|  | Temp (°C) | 24.5 | 24.6 | 23.8 | 25.6 | 25.4 | 23.6 | 24.2 | 23.6 | 23.8 | 23.7 | 23.5 | 23.3 |
| Day 1 | pH | 5.7 | 6.2 | 6.2 | 6.4 | 7.0 | 6.9 | 6.1 | 6.3 | 6.2 | 6.4 | 7.4 | 6.8 |
|  | EC (µS cm-1) | 18 | 19 | 16 | 17 | 24 | 25 | 16 | 15 | 18 | 14 | 19 | 21 |
|  | DO (%) | 99 | 92 | 95 | 96 | 96 | 93 | 97 | 95 | 96 | 94 | 96 | 95 |
|  | Temp (°C) | 25 | 24.1 | 24.6 | 24.3 | 24.4 | 24 | 24.4 | 23.6 | 24.2 | 23.3 | 23.8 | 23.1 |
| Day 2 | pH | 5.7 | 5.8 | 6.4 | 6.4 | 7.8 | 7.0 | 5.6 | 5.8 | 6.3 | 6.2 | 7.6 | 7.0 |
|  | EC (µS cm-1) | 19 | 20 | 16 | 17 | 26 | 28 | 15 | 15 | 14 | 14 | 21 | 22 |
|  | DO (%) | 94 | 95 | 95 | 97 | 93 | 94 | 95 | 96 | 91 | 93 | 92 | 96 |
|  | Temp (°C) | 24 | 0 | 23.7 | 0 | 24.1 | 0 | 23.9 | 0 | 23.8 | 0 | 23.9 | 0 |
| Day 3 | pH | 5.6 | 5.8 | 6.3 | 6.3 | 7.5 | 6.9 | 5.6 | 6.3 | 6.2 | 6.5 | 7.5 | 7.1 |
|  | EC (µS cm-1) | 19 | 21 | 16 | 22 | 29 | 29 | 16 | 16 | 14 | 14 | 24 | 24 |
|  | DO (%) | 95 | 92 | 97 | 93 | 94 | 94 | 95 | 95 | 96 | 96 | 95 | 96 |
|  | Temp (°C) | 0 | 24.8 | 0 | 25.5 | 0 | 25.6 | 0 | 25.7 | 0 | 25.5 | 0 | 25.7 |

Table A11  1211B Hyd_RBCP_04 Hydra EDTA addition TIE

| Treatment |  | MCW 0 mg L-1 EDTA |  | MCW 2.8 mg L-1 EDTA |  | MCW 5.5 mg L-1 EDTA |  | MCW 11 mg L-1 EDTA |  | Distillate 0 mg L-1 EDTA |  | Distillate 2.8 mg L-1 EDTA |  | Distillate 5.5 mg L-1 EDTA |  | Distillate 11 mg L-1 EDTA |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Parameter |  | 0 h | 24 h | 0h | 24 h | 0 h | 24 h | 0 h | 24 h | 0 h | 24 h | 0 h | 24 h | 0 h | 24 h | 0 h | 24 h |
| Day 0 | pH | 6.2 | 6.3 | 6.4 | 6.4 | 6.3 | 6.5 | 6.4 | 6.4 | 6.3 | 6.3 | 6.4 | 6.4 | 6.5 | 6.4 | 6.4 | 6.5 |
|  | EC (µS cm-1) | 15 | 16 | 16 | 17 | 17 | 18 | 20 | 21 | 12 | 13 | 15 | 16 | 16 | 16 | 19 | 19 |
|  | DO (%) | 101 | 91 | 100 | 90 | 102 | 94 | 98 | 96 | 100 | 93 | 100 | 94 | 99 | 92 | 100 | 90 |
|  | Temp (°C) | 25.7 | 0 | 25.9 | 0 | 25.6 | 0 | 25.4 | 0 | 25.3 | 0 | 25.5 | 0 | 25.4 | 0 | 25.4 | 0 |
| Day 1 | pH | 6.5 | 6.6 | 6.5 | 6.6 | 6.5 | 6.6 | 6.4 | 6.6 | 6.4 | 6.4 | 6.5 | 6.4 | 6.6 | 6.5 | 6.6 | 6.6 |
|  | EC (µS cm-1) | 15 | 16 | 16 | 17 | 18 | 19 | 20 | 21 | 13 | 13 | 15 | 16 | 15 | 16 | 19 | 20 |
|  | DO (%) | 97 | 94 | 98 | 96 | 97 | 96 | 96 | 93 | 92 | 94 | 94 | 97 | 94 | 95 | 96 | 96 |
|  | Temp (°C) | 23.2 | 24.9 | 23.2 | 25 | 23 | 25.1 | 22.8 | 25 | 23.1 | 25 | 23 | 24.8 | 23 | 24.9 | 23 | 24.9 |
| Day 2 | pH | 6.2 | 6.7 | 6.4 | 6.7 | 6.5 | 6.7 | 6.5 | 6.8 | 6.4 | 6.6 | 6.4 | 6.6 | 6.4 | 6.6 | 6.5 | 6.6 |
|  | EC (µS cm-1) | 15 | 17 | 16 | 18 | 18 | 19 | 20 | 21 | 12 | 15 | 15 | 16 | 15 | 16 | 19 | 21 |
|  | DO (%) | 98 | 90 | 96 | 91 | 95 | 90 | 94 | 91 | 94 | 89 | 92 | 91 | 94 | 91 | 92 | 90 |
|  | Temp (°C) | 24.8 | 24.3 | 24.8 | 23.6 | 24.2 | 25.3 | 24.5 | 25 | 24.3 | 25.1 | 24.3 | 25.2 | 24.2 | 24.6 | 24.3 | 24.8 |
| Day 3 | pH | 6.6 | 6.7 | 6.6 | 6.8 | 6.7 | 6.9 | 6.6 | 6.9 | 6.6 | 6.6 | 6.6 | 6.7 | 6.6 | 6.7 | 6.6 | 6.6 |
|  | EC (µS cm-1) | 15 | 16 | 16 | 18 | 18 | 19 | 20 | 20 | 12 | 13 | 15 | 15 | 15 | 16 | 19 | 20 |
|  | DO (%) | 94 | 93 | 96 | 95 | 97 | 94 | 93 | 95 | 88 | 96 | 90 | 94 | 91 | 93 | 92 | 95 |
|  | Temp (°C) | 23.6 | 24.5 | 23.4 | 24.6 | 23.5 | 25.3 | 23.9 | 25.2 | 22.5 | 25.1 | 22.4 | 25.6 | 22 | 25.9 | 21.9 | 26 |

24

Table A12  1212B Hyd_RBCP_04 Hydra Ca addition TIE

| Treatment |  | MCW |  | SSW no Ca |  | SSW 0.2 mg L-1 Ca |  | SSW 0.5 mg L-1 Ca |  | Distillate no Ca |  | Distillate 0.2 mg L-1 Ca |  | Distillate 0.5 mg L-1 Ca |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Parameter |  | 0 h | 24 h | 0 h | 24 h | 0 h | 24 h | 0 h | 24 h | 0 h | 24 h | 0 h | 24 h | 0 h | 24 h |
| Day 0 | pH | 6.4 | 6.4 | 6.4 | 6.4 | 6.4 | 6.3 | 6.3 | 6.2 | 6.3 | 6.2 | 6.4 | 6.2 | 6.4 | 6.2 |
|  | EC (µS cm-1) | 15 | 14 | 19 | 18 | 14 | 14 | 19 | 18 | 13 | 12 | 14 | 14 | 16 | 15 |
|  | DO (%) | 94 | 111 | 94 | 86 | 95 | 90 | 93 | 92 | 95 | 109 | 95 | 107 | 92 | 109 |
|  | Temp (°C) | 24.7 | 24.8 | 25 | 25.2 | 24.9 | 25.4 | 24.7 | 25.4 | 24.7 | 24.9 | 24.3 | 24.5 | 23.8 | 24.4 |
| Day 1 | pH | 6.7 | 6.5 | 6.5 | 6.3 | 6.4 | 6.3 | 6.5 | 6.3 | 6.5 | 6.3 | 6.5 | 6.3 | 6.5 | 6.3 |
|  | EC (µS cm-1) | 18 | 14 | 19 | 18 | 14 | 14 | 19 | 18 | 13 | 12 | 14 | 13 | 16 | 15 |
|  | DO (%) | 93 | 100 | 94 | 101 | 97 | 101 | 96 | 99 | 94 | 113 | 95 | 117 | 93 | 115 |
|  | Temp (°C) | 24 | 23.2 | 24.3 | 22.5 | 23 | 22.1 | 22.8 | 22.3 | 22.6 | 22.4 | 22.5 | 22.5 | 22.3 | 22.4 |
| Day 2 | pH | 6.7 | 6.6 | 6.6 | 6.4 | 6.5 | 6.3 | 6.4 | 6.3 | 6.6 | 6.4 | 6.5 | 6.3 | 6.5 | 6.3 |
|  | EC (µS cm-1) | 15 | 16 | 19 | 18 | 14 | 14 | 19 | 18 | 13 | 12 | 14 | 13 | 16 | 14 |
|  | DO (%) | 93 | 118 | 92 | 107 | 92 | 111 | 97 | 109 | 95 | 118 | 95 | 118 | 97 | 122 |
|  | Temp (°C) | 25.2 | 22.7 | 25.1 | 22.8 | 24.5 | 23 | 24.4 | 22.8 | 24 | 22.8 | 24.5 | 22.6 | 24.3 | 22.5 |
| Day 3 | pH | 6.5 | 6.4 | 6.7 | 6.3 | 6.5 | 6.3 | 6.5 | 6.3 | 6.7 | 6.3 | 6.6 | 6.3 | 6.6 | 6.3 |
|  | EC (µS cm-1) | 15 | 14 | 18 | 18 | 14 | 13 | 19 | 18 | 13 | 12 | 14 | 13 | 15 | 15 |
|  | DO (%) | 96 | 118 | 96 | 111 | 96 | 113 | 94 | 113 | 95 | 119 | 94 | 122 | 92 | 122 |
|  | Temp (°C) | 26.2 | 20.8 | 26.1 | 21.9 | 25.7 | 20.9 | 25.1 | 21.1 | 25.6 | 21.4 | 26.1 | 21.2 | 25.3 | 21.2 |

25

Table A13  1213B Hyd_RBCP_06 Hydra NH3 stripped TIE

| Treatment |  | MCW |  | Distillate |  | MCW - NH3 stripped |  | Distillate - NH3 stripped |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Parameter |  | 0 h | 24 h | 0 h | 24 h | 0 h | 24 h | 0 h | 24 h |
| Day 0 | pH | 6.6 | 6.5 | 6.5 | 6.6 | 6.8 | 7.7 | 7.1 | 7.7 |
|  | EC (µS cm-1) | 15 | 15 | 12 | 13 | 1086 | 1069 | 1132 | 1111 |
|  | DO (%) | 115 | 97 | 113 | 98 | 101 | 95 | 101 | 96 |
|  | Temp (°C) | 25 | 25.1 | 24.7 | 24.6 | 24.9 | 24.2 | 24.5 | 24.2 |
| Day 1 | pH | 6.4 | 6.3 | 6.4 | 6.6 | 6.6 | 7.8 | 6.7 | 7.8 |
|  | EC (µS cm-1) | 14 | 15 | 12 | 13 | 1095 | 1109 | 1136 | 1107 |
|  | DO (%) | 116 | 100 | 118 | 95 | 114 | 94 | 111 | 94 |
|  | Temp (°C) | 23.8 | 24.8 | 23.5 | 24.3 | 23.4 | 24.1 | 23.6 | 24.3 |
| Day 2 | pH | 6.3 | 6.4 | 6.3 | 6.6 | 6.8 | 7.9 | 6.8 | 7.8 |
|  | EC (µS cm-1) | 14 | 15 | 12 | 13 | 1084 | 1104 | 1139 | 1162 |
|  | DO (%) | 118 | 96 | 119 | 94 | 115 | 94 | 115 | 94 |
|  | Temp (°C) | 21.2 | 26.2 | 21 | 26.2 | 20.9 | 23.9 | 21.2 | 24.6 |
| Day 3 | pH | 6.3 | 6.5 | 6.5 | 6.8 | 6.9 | 8.1 | 7.0 | N.M. |
|  | EC (µS cm-1) | 16 | 14 | 12 | 12 | 1074 | 1115 | 1138 | N.M. |
|  | DO (%) | 114 | 91 | 118 | 94 | 116 | 96 | 12 | N.M |
|  | Temp (°C) | 24.3 | 26.5 | 24.9 | 26.9 | 24.4 | 26.5 | 23.9 | N.M. |

N.M. = Not measured due to end of treatment

Table A14  1217B Hyd_RBCP_07 Hydra C18 Solid Phase Extraction TIE

| Treatment |  | MCW |  | Distillate |  | MCW filtrate |  | Distillate filtrate |  | MCW + methanol |  | MCW with elaute |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Parameter |  | 0 h | 24 h | 0 h | 24 h | 0 h | 24 h | 0 h | 24 h | 0 h | 24 h | 0 h | 24 h |
| Day 0 | pH | 6.6 | 6.6 | 6.5 | 6.6 | 6.6 | 6.6 | 6.6 | 6.7 | 6.5 | 6.7 | 6.4 | 6.6 |
|  | EC (µS cm-1) | 15 | 16 | 12 | 15 | 16 | 18 | 13 | 15 | 14 | 16 | 14 | 16 |
|  | DO (%) | 118 | 97 | 116 | 95 | 111 | 95 | 111 | 93 | 110 | 94 | 113 | 94 |
|  | Temp (°C) | 23.4 | 23.9 | 23.2 | 23.6 | 23.1 | 23.6 | 23 | 23.3 | 23 | 23.4 | 23 | 23.3 |
| Day 1 | pH | 6.7 | 6.8 | 6.7 | 6.7 | 6.7 | 7.0 | 6.7 | 7.0 | 6.6 | 6.8 | 6.5 | 6.9 |
|  | EC (µS cm-1) | 15 | 16 | 13 | 14 | 16 | 17 | 14 | 15 | 14 | 16 | 15 | 16 |
|  | DO (%) | 119 | 93 | 114 | 93 | 114 | 85 | 112 | 91 | 114 | 92 | 114 | 94 |
|  | Temp (°C) | 23.2 | 23.9 | 23.2 | 23.9 | 23.1 | 23.9 | 23 | 24 | 23 | 23.8 | 22.9 | 23.7 |
| Day 2 | pH | 6.8 | 6.8 | 6.6 | 6.7 | 6.7 | 6.7 | 6.7 | 6.6 | 6.6 | 6.6 | 6.6 | 6.6 |
|  | EC (µS cm-1) | 15 | 16 | 13 | 13 | 16 | 17 | 14 | 14 | 14 | 16 | 15 | 16 |
|  | DO (%) | 115 | 95 | 120 | 96 | 119 | 94 | 114 | 94 | 115 | 99 | 115 | 98 |
|  | Temp (°C) | 23.3 | 23.9 | 23.2 | 23.9 | 23.1 | 24.3 | 23.2 | 24.5 | 23.2 | 23.9 | 23.1 | 23.8 |
| Day 3 | pH | 6.7 | 6.9 | 6.6 | 7.0 | 6.5 | 6.8 | 6.6 | 6.8 | 6.5 | 6.8 | 6.4 | 6.7 |
|  | EC (µS cm-1) | 15 | 15 | 13 | 13 | 16 | 17 | 14 | 13 | 15 | 15 | 15 | 15 |
|  | DO (%) | 111 | 90 | 115 | 91 | 112 | 95 | 114 | 92 | 113 | 91 | 114 | 93 |
|  | Temp (°C) | 23.1 | 23.2 | 22.8 | 23 | 22.4 | 23.4 | 22.4 | 23.3 | 22.4 | 23.1 | 22.4 | 23.2 |

Table A15  1220B Hyd_RBCP_08 Hydra major ion addition TIE

| Treatment |  | MCW |  | SSW no major ions |  | SSW 50% major ions |  | SSW 100% major ions a |  | Distillate no major ions a |  | Distillate 50% major ions |  | Distillate 100% major ions |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Parameter |  | 0 h | 24 h | 0 h | 24 h | 0 h | 24 h | 0 h | 24 h | 0 h | 24 h | 0 h | 24 h | 0 h | 24 h |
| Day 0 | pH | 6.8 | 6.7 | 6.9 | 6.5 | 6.5 | 6.4 | 6.5 | 6.4 | 6.5 | 6.5 | 6.6 | 6.5 | 6.5 | 6.6 |
|  | EC (µS cm-1) | 19 | 16 | 10 | 11 | 13 | 14 | 16 | 16 | 13 | 14 | 17 | 18 | 21 | 22 |
|  | DO (%) | 115 | 95 | 81 | 95 | 78 | 96 | 82 | 95 | 117 | 97 | 116 | 95 | 117 | 95 |
|  | Temp (°C) | 23.7 | 24.3 | 24.3 | 24.7 | 24 | 24.2 | 24 | 24.2 | 23.7 | 24 | 23.6 | 24.2 | 23.6 | 23.9 |
| Day 1 | pH | 6.8 | 6.7 | 6.7 | 6.6 | 6.5 | 6.5 | 6.5 | 6.5 | 6.5 | 6.5 | 6.5 | 6.6 | 6.6 | 6.7 |
|  | EC (µS cm-1) | 21 | 16 | 10 | 11 | 13 | 16 | 16 | 17 | 13 | 14 | 17 | 18 | 21 | 22 |
|  | DO (%) | 103 | 95 | 97 | 90 | 107 | 99 | 107 | 96 | 115 | 97 | 119 | 98 | 114 | 96 |
|  | Temp (°C) | 23.4 | 25.1 | 23.6 | 25.5 | 23.4 | 25.9 | 23.5 | 25.6 | 23.4 | 27.7 | 23.4 | 27.3 | 23.1 | 25.1 |
| Day 2 | pH | 6.5 | 6.5 | 6.3 | 6.3 | 6.1 | 6.1 | 6.2 | 6.2 | 6.3 | 6.4 | 6.4 | 6.4 | 6.5 | 6.5 |
|  | EC (µS cm-1) | 15 | 16 | 10 | 12 | 13 | 14 | 16 | 17 | 13 | 14 | 17 | 18 | 21 | 23 |
|  | DO (%) | 109 | 93 | 111 | 96 | 112 | 95 | 112 | 97 | 111 | 95 | 110 | 100 | 114 | 96 |
|  | Temp (°C) | 24.2 | 23.8 | 23.8 | 23.9 | 23.8 | 24 | 23.7 | 24.6 | 23.6 | 24.5 | 23.5 | 24.3 | 23.3 | 24.2 |
| Day 3 | pH | 6.2 | 6.8 | 6.1 | 6.7 | 6.1 | 6.3 | 6.2 | 6.2 | 6.3 | 6.3 | 6.3 | 6.5 | 6.4 | 6.6 |
|  | EC (µS cm-1) | 17 | 15 | 11 | 11 | 13 | 13 | 16 | 16 | 14 | 13 | 17 | 17 | 22 | 21 |
|  | DO (%) | 116 | 95 | 116 | 95 | 111 | 94 | 115 | 95 | 119 | 96 | 118 | 91 | 120 | 96 |
|  | Temp (°C) | 23.7 | 24.7 | 23.7 | 24.6 | 23.8 | 25.1 | 23.6 | 25.2 | 23.6 | 25.2 | 23.4 | 25.3 | 23.3 | 24.9 |

a These treatments represent unmodified SSW and distillate

27

Table A16  1242B Hyd_RBCP_09 Modified SSW with Mn addition TIE

| Treatment |  | SSW 0% major ions; 0 µg L-1 Mn |  | SSW 0% major ions; 130 µg L-1 Mn |  | SSW 0% major ions; 230 µg L-1 Mn |  | SSW 50% major ions; 0 µg L-1 Mn |  | SSW 50% major ions; 130 µg L-1 Mn |  | SSW 50% major ions; 230 µg L-1 Mn |  | SSW 100% major ions; 0 µg L-1 Mn |  | SSW 100% major ions; 130 µg L-1 Mn |  | SSW 100% major ions; 230 µg L-1 Mn |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Parameter |  | 0 h | 24 h | 0 h | 24 h | 0 h | 24 h | 0 h | 24 h | 0 h | 24 h | 0 h | 24 h | 0 h | 24 h | 0 h | 24 h | 0 h | 24 h |
| Day 0 | pH | 6.2 | 6.1 | 6.1 | 6.0 | 6.1 | 6.1 | 6.0 | 6.1 | 5.9 | 6.1 | 6.0 | 6.1 | 6.0 | 6.1 | 6.0 | 6.1 | 6.5 | 6.1 |
|  | EC (µS cm-1) | 19 | 11 | 11 | 11 | 11 | 12 | 13 | 13 | 13 | 14 | 13 | 14 | 17 | 18 | 18 | 19 | 23 | 19 |
|  | DO (%) | 99 | 92 | 89 | 92 | 100 | 99 | 98 | 94 | 99 | 94 | 99 | 94 | 98 | 94 | 101 | 93 | 98 | 93 |
|  | Temp (°C) | 25.2 | 24.2 | 24.6 | 24.4 | 24.2 | 24.1 | 23.1 | 24.1 | 24 | 24.2 | 24.1 | 24 | 23.7 | 24 | 23.5 | 24.2 | 23.3 | 24 |
| Day 1 | pH | 5.8 | 6.1 | 5.9 | 6.0 | 6.0 | 6.2 | 6.0 | 6.1 | 6.0 | 6.3 | 6.0 | 6.2 | 6.0 | 6.2 | 6.0 | 6.2 | 6.0 | 6.2 |
|  | EC (µS cm-1) | 16 | 10 | 12 | 11 | 12 | 12 | 12 | 14 | 13 | 15 | 13 | 14 | 17 | 18 | 17 | 18 | 18 | 19 |
|  | DO (%) | 106 | 92 | 104 | 94 | 109 | 94 | 105 | 93 | 105 | 93 | 107 | 95 | 108 | 92 | 107 | 94 | 101 | 92 |
|  | Temp (°C) | 23.2 | 25.6 | 23.5 | 25.8 | 23.6 | 25.1 | 23.5 | 25.3 | 23.2 | 25.3 | 23.5 | 25.1 | 23.3 | 25.1 | 23.3 | 25.2 | 23.3 | 25 |
| Day 2 | pH | 5.8 | 6.0 | 6.0 | 6.1 | 6.0 | 6.1 | 6.0 | 6.2 | 6.0 | 6.3 | 6.0 | 6.2 | 6.0 | 6.2 | 6.1 | 6.2 | 6.1 | 6.2 |
|  | EC (µS cm-1) | 16 | 11 | 11 | 11 | 11 | 12 | 12 | 13 | 13 | 13 | 13 | 14 | 17 | 18 | 18 | 19 | 18 | 19 |
|  | DO (%) | 102 | 96 | 109 | 94 | 115 | 93 | 112 | 93 | 114 | 95 | 107 | 94 | 110 | 94 | 110 | 94 | 112 | 94 |
|  | Temp (°C) | 25.8 | 24.9 | 26.2 | 25.3 | 25.7 | 25 | 25.4 | 25 | 25.4 | 25 | 25.5 | 24.9 | 25.4 | 24.8 | 25.4 | 25.1 | 25.4 | 24.9 |
| Day 3 | pH | 6.1 | 6.1 | 6.0 | 6.2 | 6.1 | 6.2 | 6.0 | 6.3 | 6.0 | 6.4 | 6.0 | 6.3 | 6.0 | 6.3 | 6.0 | 6.3 | 6.0 | 6.3 |
|  | EC (µS cm-1) | 13 | 12 | 11 | 11 | 11 | 11 | 12 | 13 | 13 | 13 | 13 | 13 | 13 | 17 | 18 | 18 | 18 | 19 |
|  | DO (%) | 116 | 92 | 115 | 95 | 117 | 93 | 110 | 95 | 112 | 94 | 113 | 93 | 111 | 90 | 108 | 87 | 110 | 93 |
|  | Temp (°C) | 24.2 | 27.1 | 24.1 | 27.7 | 23.9 | 27.1 | 23.7 | 26.9 | 23.6 | 26.6 | 23.8 | 26.1 | 23.6 | 26.1 | 23.6 | 25.2 | 23.8 | 25.2 |

28

Table A17  pH measurements and adjustments for the graduate pH TIE

| Time | Measurement | Magela Creek Water |  |  | Distillate |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | pH 5.5 | pH 6.6 | pH 7.5 | pH 5.5 | pH 6.5 | pH 7.5 |
| - 24 h | Initial | 6.4 | 6.4 | 6.4 | 6.4 | 6.4 | 6.4 |
|  | Adjusted | 5.5 | N.A. | 8.1 | 5.5 | N.A. | 8.0 |
| 0 h | Initial | 5.7 | 6.2 | 7.6 | 5.5 | 6.2 | 7.8 |
|  | Adjusted – start of test | 5.5 | N.A. | 8.1 | N.A. | N.A. | 8.1 |
| 24 h | Initial | 5.5 | 6.2 | 7.2 | 5.5 | 6.2 | 7.2 |
|  | Adjusted | N.A. | N.A. | 8.1 | N.A. | N.A. | 8.1 |
| 48 h | Initial | 5.8 | 6.2 | 7.1 | 5.7 | 6.1 | 7.2 |
|  | Adjusted | 5.3 | N.A. | 8.1 | 5.4 | N.A. | 8.1 |
| 72 h | Initial | 5.6 | 6.4 | 7.4 | 5.5 | 6.3 | 7.3 |
|  | Adjusted | N.A. | N.A. | 8.1 | N.A. | N.A. | 8.1 |
| 96 h | Initial – end of test | 5.8 | 6.3 | 6.9 | 6.2 | 6.5 | 7.1 |

## Appendix B  Chemical analyses

Table B1  Total measured metals and major ions for Magela Creek Water (MCW), Synthetic Softwater (SSW) Procedural Blanks and Blanks

| Analyte | Al | Cd | Co | Cr | Cu | Fe | Mn | Ni | Pb | Se | U | Zn | Ca | Mg | Na | SO4 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Units | µg L-1 | µg L-1 | µg L-1 | µg L-1 | µg L-1 | µg L-1 | µg L-1 | µg L-1 | µg L-1 | µg L-1 | µg L-1 | µg L-1 | mg L-1 | mg L-1 | mg L-1 | mg L-1 |
| PQL | 0.1 | 0.02 | 0.01 | 0.1 | 0.01 | 1 | 0.01 | 0.01 | 0.01 | 0.2 | 0.001 | 0.1 | 0.1 | 0.1 | 0.1 | 0.5 |
| MCW | 11 | <0.02 | 0.033 | 0.13 | 0.16 | 50 | 1.3 | 0.37 | 0.12 | <0.2 | 0.0083 | 0.5 | 0.1 | 0.8 | 1.0 | <0.5 |
| MCW (25/7/11) | 11 | <0.02 | 0.046 | <0.1 | 0.15 | 61 | 1.5 | 0.07 | 0.01 | <0.2 | 0.0072 | <0.1 | <0.5 | 0.9 | 1.1 | <0.5 |
| MCW | 11 | <0.02 | 0.048 | <0.1 | 0.073 | 62 | 1.5 | 0.041 | <0.01 | <0.2 | 0.0082 | <0.1 | <0.5 | 0.9 | 1.1 | <0.5 |
| MCW (22/8/11) | 14 | <0.02 | 0.04 | <0.1 | 0.1 | 55 | 1.0 | 0.3 | 0.02 | <0.2 | 0.01 | <0.1 | 0.2 | 0.9 | 0.2 | 1.0 |
| MCW (05/09/11) | 12 | <0.02 | 0.04 | <0.1 | 0.1 | 50 | 2.0 | 0.3 | 0.08 | <0.2 | 0.006 | <0.1 | 0.2 | 0.9 | 0.2 | 1.0 |
| SSW (14/11/11) | 17 | 0.033 | 0.018 | <0.1 | 2.0 | 50 | 11 | 0.84 | 0.031 | <0.2 | 0.056 | 4.2 | 0.5 | 0.6 | 1.1 | 3.0 |
| 1193D Pro blank | 0.97 | <0.02 | <0.01 | <0.1 | <0.01 | <1 | 0.03 | 0.19 | <0.01 | <0.2 | <0.001 | 0.22 | <0.5 | <0.5 | <0.5 | <0.5 |
| 1194B Pro blank | 0.8 | <0.02 | <0.01 | <0.1 | 0.015 | <1 | 0.014 | <0.01 | <0.01 | 0.25 | 0.0062 | <0.1 | <0.5 | <0.5 | <0.5 | <0.5 |
| 1195G Pro blank | 1.9 | <0.02 | <0.01 | <0.1 | <0.01 | <1 | <0.01 | <0.01 | 0.028 | <0.2 | 0.0025 | <0.1 | <0.5 | <0.5 | <0.5 | <0.5 |
| 1205L Pro Blank | 1.8 | <0.02 | <0.01 | <0.1 | 0.11 | <1 | <0.01 | 0.74 | 0.06 | <0.2 | 0.0063 | 0.67 | <0.1 | <0.1 | <0.1 | <0.5 |
| 1207B Pro Blank | 0.88 | <0.02 | <0.01 | <0.1 | 0.056 | <1 | <0.01 | 0.26 | 0.019 | <0.2 | 0.0016 | <0.1 | <0.1 | <0.1 | <0.1 | <0.5 |
| 1206E Pro Blank | 0.2 | <0.02 | <0.01 | <0.1 | 0.16 | <1 | <0.01 | 0.08 | 0.02 | <0.2 | 0.02 | 0.1 | <0.1 | <0.1 | <0.1 | <0.1 |
| 1208D Pro Blank | 1.3 | <0.02 | <0.01 | <0.1 | 0.036 | <1 | <0.01 | 0.28 | 0.041 | <0.2 | 0.0019 | 0.36 | <0.1 | <0.1 | <0.1 | <0.5 |
| 1209G Pro Blank | 3.0 | 0.022 | <0.01 | <0.1 | 0.1 | 1.1 | <0.01 | 0.29 | 0.33 | <0.2 | 0.0043 | 4.4 | <0.1 | <0.1 | 0.1 | <0.5 |
| 1210B Pro Blank | 0.98 | <0.02 | <0.01 | <0.1 | 0.077 | <1 | <0.01 | 0.27 | 0.018 | <0.2 | 0.0024 | <0.1 | <0.1 | <0.1 | <0.1 | <0.5 |
| 1212B Pro Blank | 1.0 | <0.02 | <0.01 | <0.1 | 0.03 | <1 | <0.01 | 0.2 | <0.01 | <0.2 | 0.01 | <0.1 | <0.1 | <0.1 | <0.1 | <0.1 |
| 1213B Pro Blank | <0.1 | <0.02 | <0.01 | <0.1 | 0.08 | <1 | <0.01 | 0.2 | <0.01 | <0.2 | <0.001 | <0.1 | <0.1 | <0.1 | <0.1 | <0.1 |
| 1220B Pro Blank | <0.1 | <0.02 | <0.01 | <0.1 | 0.01 | 2.0 | <0.01 | 0.2 | <0.01 | <0.2 | <0.001 | <0.1 | <0.1 | <0.1 | <0.1 | <0.1 |
| 1242B Pro Blank | <0.1 | <0.02 | 0.011 | <0.1 | <0.01 | <1 | 0.11 | 0.57 | 0.05 | <0.2 | 0.051 | <0.1 | <0.1 | <0.1 | <0.1 | <0.5 |

30

Table B1 (continued)  Total measured metals and major ions for Magela Creek Water (MCW), Synthetic Softwater (SSW) Procedural Blanks and Blanks

| Analyte | Al | Cd | Co | Cr | Cu | Fe | Mn | Ni | Pb | Se | U | Zn | Ca | Mg | Na | SO4 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Units | µg L-1 | µg L-1 | µg L-1 | µg L-1 | µg L-1 | µg L-1 | µg L-1 | µg L-1 | µg L-1 | µg L-1 | µg L-1 | µg L-1 | mg L-1 | mg L-1 | mg L-1 | mg L-1 |
| PQL | 0.1 | 0.02 | 0.01 | 0.1 | 0.01 | 1 | 0.01 | 0.01 | 0.01 | 0.2 | 0.001 | 0.1 | 0.1 | 0.1 | 0.1 | 0.5 |
| Blank (10/8/11) | 1.5 | <0.02 | <0.01 | <0.1 | 0.058 | <1 | <0.01 | 0.27 | <0.01 | <0.2 | 0.0022 | <0.1 | <0.1 | <0.1 | <0.1 | <0.5 |
| Blank (15/8/11) | 0.72 | <0.02 | <0.01 | <0.1 | 0.043 | <1 | <0.01 | 0.27 | 0.011 | <0.2 | 0.003 | <0.1 | <0.1 | <0.1 | <0.1 | <0.5 |
| Blank (15/8/11) | 0.97 | <0.02 | <0.01 | <0.1 | 0.032 | <1 | <0.01 | 0.27 | <0.01 | <0.2 | 0.002 | <0.1 | <0.1 | <0.1 | <0.1 | <0.5 |
| Blank (17/8/11) | 0.51 | N.M. | N.M. | N.M. | <0.01 | <1 | 0.016 | N.M. | 0.04 | N.M. | 0.002 | <0.1 | <0.5 | <0.5 | N.M. | N.M. |
| Blank (22/8/11) | <0.1 | <0.02 | <0.01 | <0.1 | <0.01 | <1 | <0.01 | 0.2 | <0.01 | <0.2 | 0.003 | <0.1 | <0.1 | <0.1 | <0.1 | <0.1 |
| Blank (05/09/11) | <0.1 | <0.02 | <0.01 | <0.1 | 0.02 | <1 | <0.01 | 0.2 | <0.01 | <0.2 | <0.001 | <0.1 | <0.1 | <0.1 | <0.1 | <0.1 |
| Blank (14/11/11) | <0.1 | <0.02 | <0.01 | <0.1 | <0.01 | <1 | 0.04 | 0.54 | 0.045 | <0.2 | <0.001 | <0.1 | <0.1 | <0.1 | <0.1 | <0.5 |

31

Table B2  Total and dissolved metals and major ions for the distillate

| Analyte | First distillate batch |  |  | Second distillate batch |
| --- | --- | --- | --- | --- |
|  | Totals (µg L-1) | Dissolved (µg L-1) |  | Totals (µg L-1) |
| Calcium | 0.11 | N.M. |  | <0.1 |
| Magnesium | 0.6 | N.M. |  | 0.4 |
| Sodium | <0.1 | N.M. |  | <0.1 |
| Potassium | <0.1 | N.M. |  | <0.1 |
| Sulfur, SO4 | N.M. | N.M. |  | 2 |
| Aluminium | 18 | <0.02 |  | 23 |
| Cadmium | <0.02 | 0.45 |  | <0.02 |
| Cobalt | 0.49 | 0.13 |  | 0.26 |
| Chromium | 0.17 | 0.61 |  | <0.1 |
| Copper | 1.2 | <1 |  | 0.25 |
| Iron | 3.5 | 230 |  | 1.4 |
| Manganese | 250 | 0.73 |  | 120 |
| Nickel | 0.84 | 0.016 |  | 0.64 |
| Lead | 0.17 | <0.2 |  | 0.22 |
| Selenium | 0.39 | 0.69 |  | <0.2 |
| Uranium | 1.5 | 0.35 |  | 1.1 |
| Zinc | 0.19 | <0.05 |  | 2 |
| Silver | <0.05 | 0.1 |  | <0.05 |
| Arsenic | 0.3 | 0.1 |  | 0.1 |
| Gold | 0.4 | 110 |  | 0.07 |
| Boron | 100 | 0.09 |  | 88 |
| Barium | 0.1 | <0.05 |  | 0.06 |
| Beryllium | <0.05 | 0.01 |  | <0.05 |
| Bismuth | 0.2 | 1 |  | 0.02 |
| Bromine | 4 | <0.01 |  | <1 |
| Cerium | 0.02 | 0.02 |  | <0.01 |
| Caesium | 0.03 | 0.01 |  | <0.01 |
| Dysprosium | 0.05 | <0.01 |  | 0.02 |
| Erbium | 0.03 | <0.01 |  | <0.01 |
| Europium | <0.01 | 0.01 |  | <0.01 |
| Gallium | 0.02 | <0.01 |  | <0.01 |
| Gadolinium | 0.03 | <0.01 |  | <0.01 |
| Hafnium | 0.2 | <0.02 |  | 0.07 |
| Mercury | <0.02 | <0.01 |  | <0.02 |
| Holmium | 0.01 | <0.01 |  | <0.01 |
| Indium | <0.01 | <0.01 |  | <5 |
| Lanthanum | 0.01 | 0.3 |  | <0.01 |
| Lithium | 0.3 | <0.01 |  | 0.2 |
| Lutetium | <0.01 | 0.07 |  | <0.01 |

Table B2 (continued) Total and dissolved metals and major ions for the distillate

| Analyte | First distillate batch |  |  | Second distillate batch |
| --- | --- | --- | --- | --- |
|  | Totals (µg L-1) | Dissolved (µg L-1) |  | Totals (µg L-1) |
| Molybdenum | 0.4 | 0.2 |  | 0.2 |
| Niobium | 0.5 | <0.01 |  | 0.1 |
| Neodymium | 0.02 | 0.1 |  | <0.01 |
| Osmium | 0.1 | <0.05 |  | <0.1 |
| Palladium | <0.05 | <0.01 |  | <0.05 |
| Praseodymium | <0.01 | 0.1 |  | <0.01 |
| Rubidium | 0.1 | 0.03 |  | 0.07 |
| Rhenium | 0.03 | 0.8 |  | <0.01 |
| Antimony | 3 | <0.5 |  | 2 |
| Scandium | <0.5 | <0.01 |  | <0.5 |
| Samarium | 0.01 | <0.1 |  | <0.01 |
| Tin | 0.2 | 0.8 |  | 0.2 |
| Strontium | 0.9 | 0.1 |  | 0.4 |
| Tantalum | 0.6 | <0.01 |  | 0.2 |
| Terbium | 0.01 | 0.3 |  | <0.01 |
| Tellurium | 0.7 | <0.01 |  | 0.1 |
| Thorium | 0.1 | <2 |  | 0.03 |
| Titanium | <2 | <0.01 |  | <2 |
| Thallium | 0.02 | <0.01 |  | <0.01 |
| Thulium | <0.01 | 0.06 |  | <0.01 |
| Vanadium | 0.07 | 0.3 |  | <0.05 |
| Tungsten | 0.9 | 0.03 |  | 0.3 |
| Yttrium | 0.2 | <0.01 |  | 0.1 |
| Ytterbium | 0.02 | <0.05 |  | <0.01 |
| Zirconium | 0.1 | 1.4 |  | 0.08 |
| Sulfur | 8.1 | N.M. |  | 0.6 |

Table B3  Nitrate analysis of Blanks and QA/QC samples for the Lemna and Algae tests

| Analyte | Nitrate as N | Phosphate as P |
| --- | --- | --- |
| Unit | mg L-1 | mg L-1 |
| PQL | 0.005 | 0.005 |
| MCW | 0.65 | 0.095 |
| 100% Distillate | 0.71 | 0.097 |
| 1205L Pro blank Blank | <0.005 | <0.005 |
| 1205L Blank | <0.005 | <0.005 |
| 1209G Pro Blank | <0.005 | <0.005 |
| 1209G A | 3 | 0.048 |
| 1209G B | 3.1 | 0.061 |

Table B4  Alkalinity of Magela Creek Water, Distillate and the NaOH adjusted TIE samples

| Sample description | Hydroxide Alkalinity (OH-) as CaCO3 | Bicarbonate Alkalinity as CaCO3 | Carbonate Alkalinity as CaCO3 | Total Alkalinity as CaCO3 |
| --- | --- | --- | --- | --- |
|  | mg L-1 | mg L-1 | mg L-1 | mg L-1 |
| Blank | <1 | <1 | <1 | <1 |
| MCW | <1 | 10 | <1 | 10 |
| MCW | <1 | 5 | <1 | 5 |
| 100% Distillate | <1 | 6 | <1 | 6 |
| 1210B B | <1 | 7 | <1 | 7 |
| 1210B C | <1 | 10 | <1 | 10 |
| 1210B E | <1 | 4 | <1 | 4 |
| 1210B F | <1 | 10 | <1 | 10 |

Table B5  Metal and major ion analyses of the pH adjusted TIE (1210B) samples

| Analyte |  | Ca | Mg | Na | SO4 | Al | Cd | Co | Cr | Cu | Fe | Mn | Ni | Pb | Se | U | Zn | Cl |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Units |  | mg L-1 | mg L-1 | mg L-1 | mg L-1 | µg L-1 | µg L-1 | µg L-1 | µg L-1 | µg L-1 | µg L-1 | µg L-1 | µg L-1 | µg L-1 | µg L-1 | µg L-1 | µg L-1 | mg L-1 |
| PQL |  | 0.1 | 0.1 | 0.1 | 0.5 | 0.1 | 0.02 | 0.01 | 0.1 | 0.01 | 1 | 0.01 | 0.01 | 0.01 | 0.2 | 0.001 | 0.1 | 1 |
| 1210B A | totals | 0.1 | 0.8 | 1.1 | <0.5 | 15 | <0.02 | 0.033 | 0.1 | 0.15 | 58 | 1.3 | 0.34 | 0.078 | <0.2 | 0.11 | 0.17 | 3 |
|  | dissolved | 0.1 | 0.9 | 1.1 | N.M. | 12 | <0.02 | 0.032 | <0.1 | 0.18 | 55 | 1.3 | 0.14 | 0.077 | <0.2 | 0.1 | 0.45 | N.M. |
| 1210B B | totals | 0.1 | 0.8 | 1 | <0.5 | 13 | <0.02 | 0.035 | <0.1 | 0.13 | 59 | 1.3 | 0.34 | 0.078 | <0.2 | 0.0096 | <0.1 | 2 |
|  | dissolved | 0.1 | 0.8 | 1.1 | N.M. | 12 | <0.02 | 0.033 | <0.1 | 0.19 | 56 | 1.2 | 0.13 | 0.067 | <0.2 | 0.0083 | 0.27 | N.M. |
| 1210B C | totals | 0.1 | 0.8 | 2.5 | <0.5 | 13 | <0.02 | 0.033 | 0.13 | 0.23 | 59 | 1.3 | 0.34 | 0.11 | <0.2 | 0.016 | 1.6 | N.M. |
|  | dissolved | 0.1 | 0.8 | 2.6 | N.M. | 12 | <0.02 | 0.033 | <0.1 | 0.14 | 56 | 1.2 | 0.14 | 0.084 | <0.2 | 0.017 | 0.12 | N.M. |
| 1210B D | totals | <0.1 | 0.4 | <0.1 | 2 | 19 | <0.02 | 0.25 | <0.1 | 0.22 | 1.3 | 130 | 0.65 | 0.11 | <0.2 | 0.96 | 1.4 | 1 |
|  | dissolved | <0.1 | 0.4 | <0.1 | N.M. | 13 | <0.02 | 0.25 | <0.1 | 0.2 | <1 | 120 | 0.41 | 0.053 | <0.2 | 0.87 | 1.6 | N.M. |
| 1210B E | totals | <0.1 | 0.4 | <0.1 | 2 | 18 | <0.02 | 0.25 | <0.1 | 0.28 | 1.2 | 130 | 0.62 | 0.05 | <0.2 | 0.94 | 1.4 | <1 |
|  | dissolved | <0.1 | 0.4 | <0.1 | N.M. | 14 | <0.02 | 0.24 | <0.1 | 0.27 | <1 | 120 | 0.39 | 0.012 | <0.2 | 0.92 | 1.3 | N.M. |
| 1210B F | totals | <0.1 | 0.3 | 1.3 | 2 | 22 | <0.02 | 0.19 | 0.1 | 0.15 | 1.3 | 88 | 0.56 | 0.099 | <0.2 | 0.3 | 0.31 | N.M. |
|  | dissolved | <0.1 | 0.3 | 1.3 | N.M. | 23 | <0.02 | 0.16 | <0.1 | 0.15 | <1 | 72 | 0.58 | 0.067 | <0.2 | 0.26 | <0.1 | N.M. |

35

Table B6  Measured ‘bioavailable’ Manganese (Chelex assay) in EDTA TIE (1211B)

|  | Manganese dissolved (before Chelex) | Manganese-dissolved (% retained) |
| --- | --- | --- |
|  | µg L-1 | % |
| Sample | 0.1 | 1 |
| Blank | 0.0016 | N.M. |
| MCW 0 mg L-1 EDTA | 1 | 93 |
| MCW 2.8 mg L-1 EDTA | 1 | <1 |
| MCW 5.5 mg L-1 EDTA | 1 | <1 |
| MCW 11 mg L-1 EDTA | 1 | <1 |
| DISTILLATE 0 mg L-1 EDTA | 110 | 100 |
| DISTILLATE 2.8 mg L-1 EDTA | 110 | <1 |
| DISTILLATE 5.5 mg L-1 EDTA | 110 | <1 |
| DISTILLATE 11 mg L-1 EDTA | 110 | <1 |

Table B7  Metal and major ion analyses of the Ca addition TIE (1212B) samples

| Analyte | Al | Cd | Co | Cr | Cu | Fe | Mn | Ni | Pb | Se | U | Zn | Ca | Mg | K | Na | SO4 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Units | µg L-1 | µg L-1 | µg L-1 | µg L-1 | µg L-1 | µg L-1 | µg L-1 | µg L-1 | µg L-1 | µg L-1 | µg L-1 | µg L-1 | mg L-1 | mg L-1 | mg L-1 | mg L-1 | mg L-1 |
| PQL | 0.1 | 0.02 | 0.01 | 0.1 | 0.01 | 1 | 0.01 | 0.01 | 0.01 | 0.2 | 0.001 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.5 |
| SSW – no Ca | 64 | <0.02 | 0.01 | <0.1 | 0.6 | 95 | 11 | 0.2 | 0.03 | <0.2 | 0.3 | 0.2 | <0.1 | 0.6 | 0.4 | 1.9 | 5 |
| SSW – 0.25 mg L-1 Ca | 69 | <0.02 | 0.01 | <0.1 | 0.6 | 97 | 10 | 0.2 | 0.04 | <0.2 | 0.2 | <0.1 | 0.2 | 0.6 | 0.4 | 0.9 | 3 |
| SSW – 0.5 mg L-1 Ca a | 62 | <0.02 | <0.01 | <0.1 | 0.6 | 94 | 11 | 0.2 | 0.02 | <0.2 | 0.2 | 0.2 | 0.4 | 0.6 | 0.4 | 1.5 | 4 |
| Distillate – no Ca | 17 | <0.02 | 0.3 | <0.1 | 0.2 | <1 | 130 | 0.7 | 0.1 | <0.2 | 0.8 | 1 | <0.1 | 0.4 | <0.1 | <0.1 | 2 |
| Distillate – 0.25 mg L-1 Ca | 16 | <0.02 | 0.3 | <0.1 | 0.1 | <1 | 130 | 0.6 | 0.1 | <0.2 | 0.7 | 0.9 | 0.2 | 0.4 | <0.1 | <0.1 | 2 |
| Distillate – 0.5 mg L-1 Ca | 14 | <0.02 | 0.3 | <0.1 | 0.1 | 1 | 130 | 0.5 | 0.1 | <0.2 | 0.7 | 0.8 | 0.4 | 0.4 | <0.1 | <0.1 | 2 |

a  Unmodified Synthetic Soft Water (SSW) contains 0.5, mg L-1 of Ca

Table B8  Metal and major ion analyses of the ammonia stripping TIE (1213B) samples

| Analyte | Al | Cd | Co | Cr | Cu | Fe | Mn | Ni | Pb | Se | U | Zn | Ca | Mg | K | Na | SO4 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Units | µg L-1 | µg L-1 | µg L-1 | µg L-1 | µg L-1 | µg L-1 | µg L-1 | µg L-1 | µg L-1 | µg L-1 | µg L-1 | µg L-1 | mg L-1 | mg L-1 | mg L-1 | mg L-1 | mg L-1 |
| PQL | 0.1 | 0.02 | 0.01 | 0.1 | 0.01 | 1 | 0.01 | 0.01 | 0.01 | 0.2 | 0.001 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.5 |
| MCW | 11 | <0.02 | 0.04 | <0.1 | 0.1 | 52 | 1 | 0.4 | 0.1 | <0.2 | 0.007 | <0.1 | 0.2 | 0.9 | 0.2 | 1 | <0.5 |
| Distillate | 13 | <0.02 | 0.3 | <0.1 | 0.3 | <1 | 130 | 0.6 | 0.2 | <0.2 | 0.7 | 1 | <0.1 | 0.4 | <0.1 | <0.1 | 2 |
| MCW – stripped | 9 | <0.02 | 0.04 | 0.3 | 9 | 38 | 6 | 1 | 0.5 | <0.2 | 0.09 | 2 | 0.3 | 1 | 0.4 | 210 | <0.5 |
| Distillate - stripped | 36 | <0.02 | 0.2 | 0.2 | 1 | 4 | 95 | 1 | 0.2 | <0.2 | 0.8 | 1 | <0.1 | 0.4 | 0.9 | 210 | 2 |

37

Table B9  Metal and major ion analyses of the major ion addition TIE (1220B) samples

| Analyte | Al | Cd | Co | Cr | Cu | Fe | Mn | Ni | Pb | Se | U | Zn | Ca | Mg | K | Na | SO4 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Units | µg L-1 | µg L-1 | µg L-1 | µg L-1 | µg L-1 | µg L-1 | µg L-1 | µg L-1 | µg L-1 | µg L-1 | µg L-1 | µg L-1 | mg L-1 | mg L-1 | mg L-1 | mg L-1 | mg L-1 |
| PQL | 0.1 | 0.02 | 0.01 | 0.1 | 0.01 | 1 | 0.01 | 0.01 | 0.01 | 0.2 | 0.001 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.5 |
| SSW – no Ca, K, N | 66 | <0.02 | <0.01 | <0.1 | 0.7 | 94 | 12 | 0.3 | 0.05 | <0.2 | 0.2 | <0.1 | <0.1 | 0.6 | <0.1 | 0.6 | 2 |
| SSW – 1/2 Ca, K, Na | 67 | <0.02 | 0.01 | <0.1 | 0.6 | 96 | 11 | 0.2 | 0.04 | <0.2 | 0.2 | <0.1 | 0.2 | 0.6 | 0.2 | 0.7 | 3 |
| SSW – unmodified a | 69 | <0.02 | <0.01 | <0.1 | 0.6 | 99 | 10 | 0.2 | 0.03 | <0.2 | 0.1 | <0.1 | 0.4 | 0.6 | 0.4 | 0.9 | 3 |
| Distillate – unmodified | 14 | <0.02 | 0.3 | <0.1 | 0.2 | <1 | 130 | 0.6 | 0.1 | <0.2 | 0.8 | 1 | <0.1 | 0.4 | 0.1 | <0.1 | 2 |
| Distillate – 1/2 Ca, K, Na | 13 | <0.02 | 0.3 | <0.1 | 0.2 | <1 | 140 | 0.6 | 0.04 | <0.2 | 0.7 | 1 | 0.2 | 0.4 | 0.3 | 0.5 | 2 |
| Distillate – full Ca, K, Na | 13 | <0.02 | 0.2 | <0.1 | 0.2 | <1 | 140 | 0.6 | 0.05 | <0.2 | 0.7 | 1 | 0.4 | 0.4 | 0.5 | 1 | 2 |

a Unmodified Synthetic Soft Water (SSW) contains 0.5, 1.0 and 0.4 mg L-1 of Ca, Na and K respectively

38

Table B10 Organic compounds detected by GC-MS scan

|  |  | Volatile Organic Compounds |  |  | Semi Volatile Organic Compounds |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Sample | Sample date | Best 75K NBS Library Match | Concentration (µg L-1) a | Match Quality | Best 75K NBS Library Match | Concentration (µg L-1) a | Match Quality |
| Blank b | 07/09/11 | Methyl Ethyl Ketone (MEK) | 1.3 | 86% | no peaks detected | N/A | N/A |
| Process Water (feed water) b | 07/09/11 | no peaks detected | N/A | N/A | no peaks detected | N/A | N/A |
| Distillate c |  | Decane | 2.0 | 70% | Phenol, 3,5-bis (1,1-dimethylethyl) | 5.8 | 93% |
|  | 12/08/11 |  |  |  | Phenol, 2,4-bis (1,1-dimethylethyl) | 12.0 | 97% |
|  |  |  |  |  | 1,2-Benzenedicarboxylic acid, butyl (2-methylpropyl) ester d | 9.9 | 86% |
| Blank a | 08/09/11 | Methyl Ethyl Ketone (MEK) | 5.0 | 85% | Phenol, 2-(1,1-dimethylethyl)-4-methyl- | 1.5 | 97% |
| Distillate b e | 08/09/11 | no peaks detected | N/A | N/A | no peaks detected | N/A | N/A |
| Distillate filtrate (SPE TIE) | 20/09/11 | no peaks detected | N/A | N/A | 2-Furancarboxaldehyde, 5-methyl- | 1.0 | 93% |
|  |  |  |  |  | 2,5-Heptadien-4-one, 2,6-dimethyl- | 1.4 | 92% |
| Distillate b f | 10/09/11 | Ethanol | 5.0 | 95% | no peaks detected | N/A | N/A |
|  |  | Octanal | 1.0 | 82% |  |  |  |

a  Concentration estimated from closest surrogate compound.  b Sampled into glass bottles at RioTinto Technology and Innovation, Bundoora; c Sampled from a polyethylene container at ERISS, Darwin; d Also known as Phthalate; e Water used in the SPE TIE; f Sample not use in toxicity or TIE tets. Anti-scalant and anit-foam was added to the feed water for this sample.

39

Table B11  Measured calcium, sodium, potassium, magnesium and manganese concentrations in the Mn toxicity TIE (1242B)

|  | Calcium |  | Potassium |  | Sodium |  | Magnesium |  | Manganese |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Analyte | Nominal | Measured | Nominal | Measured | Nominal | Measured | Nominal | Measured | Nominal | Measured | Measured |
|  | mg L-1 | mg L-1 | mg L-1 | mg L-1 | mg L-1 | mg L-1 | mg L-1 | mg L-1 | µg L-1 | µg L-1 | µg L-1 |
| Sample | totals | totals | totals | totals | totals | totals | totals | totals | totals | dissolved (0.1 µm) | totals |
| SSW – No major ions 0 µg L-1 Mn | 0 | 0.1 | 0.0 | <0.1 | 0.0 | 0.4 | 0.6 | 0.6 | 0 | 17 | 17 |
| SSW – No major ions 130 µg L-1 Mn | 0 | 0.1 | 0.0 | <0.1 | 0.0 | 0.5 | 0.6 | 0.6 | 130 | 140 | 140 |
| SSW – No major ions 230 µg L-1 Mn | 0 | 0.1 | 0.0 | <0.1 | 0.0 | 0.5 | 0.6 | 0.6 | 230 | 250 | 260 |
| SSW – 50% major ions 0 µg L-1 Mn | 0.2 | 0.3 | 0.2 | 0.2 | 0.5 | 0.5 | 0.6 | 0.6 | 0 | 12 | 15 |
| SSW – 50% major ions 130 µg L-1 Mn | 0.2 | 0.3 | 0.2 | 0.3 | 0.5 | 0.8 | 0.6 | 0.6 | 130 | 130 | 130 |
| SSW – 50% major ions 230 µg L-1 Mn | 0.2 | 0.3 | 0.2 | 0.2 | 0.5 | 0.5 | 0.6 | 0.6 | 230 | 250 | 250 |
| SSW – 100% major ions 0 µg L-1 Mn | 0.5 | 0.5 | 0.4 | 0.5 | 1.0 | 1.1 | 0.6 | 0.6 | 0 | 10 | 11 |
| SSW – 100% major ions 130 µg L-1 Mn | 0.5 | 0.4 | 0.4 | 0.5 | 1.0 | 1.1 | 0.6 | 0.6 | 130 | 130 | 130 |
| SSW – 100% major ions 230 µg L-1 Mn | 0.5 | 0.4 | 0.4 | 0.5 | 1.0 | 1.1 | 0.6 | 0.6 | 230 | 250 | 250 |

40

## Appendix C  Statistical summaries

1212B  Calcium addition TIE

Two Way Analysis of Variance	Wednesday, January 11, 2012, 2:40:15 PM

Data source: Data 1 in 1212B two-way ANOVA

Balanced Design

Dependent Variable: Pop growth rate

Normality Test (Shapiro-Wilk)	Passed	(P = 0.187)

Equal Variance Test:	Passed	(P = 1.000)

Source of Variation	 DF 	 SS 	 MS 	  F 	  P

Water type	1	0.0584	0.0584	429.777	<0.001

Ca (mg/L)	2	0.0950	0.0475	349.655	<0.001

Water type x Ca (mg/L)	2	0.00186	0.000928	6.829	0.010

Residual	12	0.00163	0.000136

Total	17	0.157	0.00923

Main effects cannot be properly interpreted if significant interaction is determined. This is because the size of a factor’s effect depends upon the level of the other factor.

The effect of different levels of Water type depends on what level of Ca (mg/L) is present.  There is a statistically significant interaction between Water type and Ca (mg/L).  (P = 0.010)

Power of performed test with alpha = 0.0500:  for Water type : 1.000

Power of performed test with alpha = 0.0500:  for Ca (mg/L) : 1.000

Power of performed test with alpha = 0.0500:  for Water type x Ca (mg/L) : 0.775

Least square means for Water type :

Group	Mean

SSW	0.230

Distillate	0.116

Std Err of LS Mean = 0.00389

Least square means for Ca (mg/L) :

Group	Mean

0.000	0.0711

0.250	0.217

0.500	0.232

Std Err of LS Mean = 0.00476

Least square means for Water type x Ca (mg/L) :

Group	Mean

SSW x 0.000	0.142

SSW x 0.250	0.269

SSW x 0.500	0.280

Distillate x 0.000	0.000

Distillate x 0.250	0.165

Distillate x 0.500	0.185

Std Err of LS Mean = 0.00673

All Pairwise Multiple Comparison Procedures (Tukey Test):

Comparisons for factor: Ca (mg/L) within SSW

Comparison	Diff of Means	p	q	P	P<0.05

0.500 vs. 0.000	0.138	3	20.496	<0.001	Yes

0.500 vs. 0.250	0.0112	3	1.666	0.488	No

0.250 vs. 0.000	0.127	3	18.830	<0.001	Yes

Comparisons for factor: Ca (mg/L) within Distillate

Comparison	Diff of Means	p	q	P	P<0.05

0.500 vs. 0.000	0.185	3	27.449	<0.001	Yes

0.500 vs. 0.250	0.0200	3	2.970	0.132	No

0.250 vs. 0.000	0.165	3	24.479	<0.001	Yes

Comparisons for factor: Water type within 0

Comparison	Diff of Means	p	q	P	P<0.05

SSW vs. Distillate	0.142	2	21.127	<0.001	Yes

Comparisons for factor: Water type within 0.25

Comparison	Diff of Means	p	q	P	P<0.05

SSW vs. Distillate	0.104	2	15.478	<0.001	Yes

Comparisons for factor: Water type within 0.5

Comparison	Diff of Means	p	q	P	P<0.05

SSW vs. Distillate			0.0954			2	14.175		<0.001		Yes

1220B  Major ion addition TIE

Two Way Analysis of Variance	Wednesday, January 11, 2012, 12:10:31 PM

Data source: Data 1 in 1220B

Balanced Design

Dependent Variable: Pop growth rate

Normality Test (Shapiro-Wilk)	Failed	(P < 0.050)

Equal Variance Test:	Passed	(P = 0.430)

Source of Variation	 DF 	 SS 	 MS 	  F 	  P

Water Type	1	0.00318	0.00318	1.209	0.293

Major Ion strength (%)	2	0.210	0.105	39.935	<0.001

Water Type x Major Ion str	2	0.0106	0.00531	2.017	0.176

Residual	12	0.0316	0.00263

Total	17	0.256	0.0150

The difference in the mean values among the different levels of Water Type is not great enough to exclude the possibility that the difference is just due to random sampling variability after allowing for the effects of differences in Major Ion strength (%).  There is not a statistically significant difference (P = 0.293).

The difference in the mean values among the different levels of Major Ion strength (%) is greater than would be expected by chance after allowing for effects of differences in Water Type.  There is a statistically significant difference (P = <0.001).  To isolate which group(s) differ from the others use a multiple comparison procedure.

The effect of different levels of Water Type does not depend on what level of Major Ion strength (%) is present.  There is not a statistically significant interaction between Water Type and Major Ion strength (%).  (P = 0.176)

Power of performed test with alpha = 0.0500:  for Water Type : 0.0677

Power of performed test with alpha = 0.0500:  for Major Ion strength (%) : 1.000

Power of performed test with alpha = 0.0500:  for Water Type x Major Ion str : 0.181

Least square means for Water Type :

Group	Mean

SSW	0.223

Distillate	0.250

Std Err of LS Mean = 0.0171

Least square means for Major Ion strength (%) :

Group	Mean

0.000	0.0849

50.000	0.293

100.000	0.331

Std Err of LS Mean = 0.0210

Least square means for Water Type x Major Ion str :

Group	Mean

SSW x 0.000	0.0375

SSW x 50.000	0.294

SSW x 100.000	0.338

Distillate x 0.000	0.132

Distillate x 50.000	0.293

Distillate x 100.000	0.323

Std Err of LS Mean = 0.0296

All Pairwise Multiple Comparison Procedures (Tukey Test):

Comparisons for factor: Water Type

Comparison	Diff of Means	p	q	P	P<0.050

Distillate vs. SSW	0.0266	2	1.555	0.293	No

Comparisons for factor: Major Ion strength (%)

Comparison	Diff of Means	p	q	P	P<0.050

100.000 vs. 0.000	0.246	3	11.727	<0.001	Yes

100.000 vs. 50.000	0.0373	3	1.782	0.443	No

50.000 vs. 0.000	0.208	3	9.945	<0.001	Yes

Comparisons for factor: Major Ion strength (%) within SSW

Comparison	Diff of Means	p	q	P	P<0.05

100.000 vs. 0.000	0.300	3	10.134	<0.001	Yes

100.000 vs. 50.000	0.0440	3	1.487	0.561	No

50.000 vs. 0.000	0.256	3	8.647	<0.001	Yes

Comparisons for factor: Major Ion strength (%) within Distillate

Comparison	Diff of Means	p	q	P	P<0.05

100.000 vs. 0.000	0.191	3	6.450	0.002	Yes

100.000 vs. 50.000	0.0306	3	1.033	0.751	No

50.000 vs. 0.000	0.161	3	5.417	0.006	Yes

Comparisons for factor: Water Type within 0

Comparison	Diff of Means	p	q	P	P<0.05

Distillate vs. SSW	0.0949	2	3.203	0.043	Yes

Comparisons for factor: Water Type within 50

Comparison	Diff of Means	p	q	P	P<0.05

SSW vs. Distillate	0.000814	2	0.0275	0.985	No

Comparisons for factor: Water Type within 100

Comparison	Diff of Means	p	q	P	P<0.05

SSW vs. Distillate	0.0143	2	0.481	0.740	No

1242B  Effect of Mn in low major ion waters

Two Way Analysis of Variance	Monday, October 24, 2011, 3:03:44 PM

Data source: Data 1 in Notebook1

Balanced Design

Dependent Variable: Col 3

Normality Test (Shapiro-Wilk)	Passed	(P = 0.578)

Equal Variance Test:	Passed	(P = 0.271)

Source of Variation	 DF 	 SS 	 MS 	  F 	  P

Diluent	2	0.0838	0.0419	58.816	<0.001

Mn	2	0.00813	0.00406	5.705	0.012

Diluent x Mn	4	0.00130	0.000326	0.457	0.766

Residual	18	0.0128	0.000712

Total	26	0.106	0.00408

The difference in the mean values among the different levels of Diluent is greater than would be expected by chance after allowing for effects of differences in Mn.  There is a statistically significant difference (P = <0.001).  To isolate which group(s) differ from the others use a multiple comparison procedure.

The difference in the mean values among the different levels of Mn is greater than would be expected by chance after allowing for effects of differences in Diluent.  There is a statistically significant difference (P = 0.012).  To isolate which group(s) differ from the others use a multiple comparison procedure.

The effect of different levels of Diluent does not depend on what level of Mn is present.  There is not a statistically significant interaction between Diluent and Mn.  (P = 0.766)

Power of performed test with alpha = 0.0500:  for Diluent : 1.000

Power of performed test with alpha = 0.0500:  for Mn : 0.717

Power of performed test with alpha = 0.0500:  for Diluent x Mn : 0.0500

Least square means for Diluent :

Group	Mean

0.000	0.161

0.500	0.278

1.000	0.281

Std Err of LS Mean = 0.00890

Least square means for Mn :

Group	Mean

0.000	0.261

110.000	0.241

220.000	0.218

Std Err of LS Mean = 0.00890

Least square means for Diluent x Mn :

Group	Mean

0.000 x 0.000	0.173

0.000 x 110.000	0.160

0.000 x 220.000	0.151

0.500 x 0.000	0.308

0.500 x 110.000	0.280

0.500 x 220.000	0.245

1.000 x 0.000	0.301

1.000 x 110.000	0.284

1.000 x 220.000	0.259

Std Err of LS Mean = 0.0154

All Pairwise Multiple Comparison Procedures (Tukey Test):

Comparisons for factor: Diluent

Comparison	Diff of Means	p	q	P	P<0.050

1.000 vs. 0.000	0.120	3	13.459	<0.001	Yes

1.000 vs. 0.500	0.00318	3	0.357	0.966	No

0.500 vs. 0.000	0.117	3	13.101	<0.001	Yes

Comparisons for factor: Mn

Comparison	Diff of Means	p	q	P	P<0.050

0.000 vs. 220.000	0.0425	3	4.772	0.009	Yes

0.000 vs. 110.000	0.0196	3	2.204	0.289	No

110.000 vs. 220.000	0.0228	3	2.568	0.193	No