**In-transit cold disinfestation calibration certificate for Japan**

Exporter:

Phytosanitary Number:

Container Number:       Seal Number:

Recorder Serial Number:       Date Calibrated:

Container Clock set to GMT: YES

**Calibration Results**

Sensor Identification First Reading Second Reading Correction Factor

 1.

 2.

 3.

**Sensor Placement Pulp Temperature**

 **(Degrees C)**

**1 –** 1st row, 0.5 metres down from top of the pallet, 0.5 metres in from right hand side

**2 –** middle row, carton closest to centre of the container

**3 –** 2nd last row, 0.5 metres up from base of the pallet, 0.5 metres in from left hand side

**Treatment Started**

Time:       GMT Date:

Sensor Readings (oC): Sensor 1 Sensor 2 Sensor 3

Department Delegate : \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Signature: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Date: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_