# Detection, Isolation and Identification of Top Seven Shiga Toxin-Producing Escherichia coli (STEC) from Meat and Meat Products - MLG 5C.04

## SCOPE

This method is applicable for detection and isolation of Top 7 Shiga-toxin producing E. coli (STEC) (E. coli O157, O26, O45, O103, O111, O121 and O145) in meat products.

## PRINCIPLES

MLG 5C.04 utilises GENE-UP PCR detection assays, GENE-UP® STEC - stx & eae (EH1) and GENE-UP® Pathogenic E. coli (PEC), in the screening followed by cultural isolation. EH1 PCR detects the stx and eae genes in a sample, while PEC PCR detects the presence of stx and eae genes in the same cell. Positive samples then undergo serogroup specific PCR analysis (GENE-UP STEC Top 6 and O157:H7 PCR). Cultural isolation of the screen positive sample requires the use of immuno-concentration using VIDAS® E. coli serogroups (ESPT), followed by plating on modified Rainbow Agar (mRBA). Colonies are then tested for specific O antigens using latex agglutination and PCR. Positive colonies are purified on Sheep Blood Agar (SBA) for confirmation.  Colonies on SBA are tested for the presence of O antigens, then identified using the Bruker® MALDI Biotyper and a confirmation rapid screening PCR.

The detection of STEC can be broken down into the following steps:

### Enrichment

Samples (325 ± 32.5 g) are diluted in 975 ± 19.5 mL mTSB. If meat pieces are overweight, prepare a second sub-sample that must be ≥ 63 and ≤ 357.5 g at 1:4 dilution. Samples and diluent are stomached and incubated static at 42 ± 1°C for 15-24 h. A positive control must be included. It is recommended that a negative control (E. coli ATCC 25922) and a blank are also run with each batch of samples.

Note: DAFF export sample weight collected is 375 ± 37.5 g. Therefore, when using this method, a sub-sample needs to be prepared and analysed.

### Rapid Screening PCR for stx/eae and O-group

Samples are screened for the presence of stx and eae using EH1 and PEC PCR assays following the GENE-UP User’s Guide. Samples negative for stx and eae targets are considered negative for Top 7 STEC. Samples that are positive for stx and eae genes but negative for PEC PCR are considered negative. Samples that test positive on the PEC PCR will be further analysed by GENE-UP STEC Top 6 and GENE-UP O157:H7 PCR to determine if one of the Top 7 serogroups is present. Samples negative for these serogroups are considered negative for Top 7 STEC. A positive result for stx/eae and O group is regarded as potential positive.

### Isolation and Identification

Immuno-concentration and streaking onto mRBA

All potential positive samples from PCR screening are immuno-concentrated on the VIDAS® E. coli serogroups (ESPT) kit by using the ESP2 Protocol followed by plating onto mRBA. All plates are incubated at 35 ± 2 °C for 20-24 h.

Examination of mRBA

E. coli O157:H7 colonies typically have black or grey colouration. For all six non-O157, see MLG 5C Appendix 2 for colony characteristics.

Presumptive Rapid Screening

Colonies are picked from all plates and tested for agglutination with O antiserum. At least one colony of each morphological type on each plate is tested using latex and stx/eae PCR assay. Samples that have no growth on mRBA or colonies that are agglutination/PCR negative are reported as negative for STEC. Agglutination/PCR positive samples are regarded as presumptive positive.

### Confirmation

Presumptive positive colonies are to be steaked on SBA (incubate at 35 ± 2°C for 16 – 24 h) for confirmation including a positive control of interest. Check for contamination. Perform proteomic confirmatory tests using Bruker MALDI Biotyper or validated equivalent system (or biochemical tests, see end note next page). Perform serological identification using latex agglutination. Agglutination sample must be further analysed for stx and eae genes by PCR and serogroup PCR. A sample that confirms as an E. coli isolate containing stx and eae genes, and one of the target serogroups is regarded as confirmed positive STEC.

CHECKLIST

| Enrichment | Is the sample enriched in mTSB? |  |
| --- | --- | --- |
|  | Is enrichment carried out at 42 ± 1 °C for 15-24 h? |  |
|  | Is the correct amount of enrichment broth used (i.e. 975 ±19.5 mL of mTSB for 325 ± 32.5 g sample)? |  |
|  | Is a sub-sample processed and enriched at 1:4 dilution (i.e. one portion of meat in three portions of broth)? |  |
|  | Are a positive control and a blank run with each batch of samples analysed? |  |
|  | Are control cultures inoculated into enrichment broth at a level of 10 to 100 cells? |  |
| Screening | Is screening for stx and eae undertaken using EH1 and PEC PCR assays? |  |
|  | Is analysis for serogroup specific genes carried out using GENE-UP STEC Top 6 and O157:H7 PCR assays? |  |
|  | Is a cocktail of Top 7 STEC cultures run with each PCR? |  |
| Immuno-concentration | Is immuno-concentration performed using the VIDAS E. coli Serogroups (ESPT) kit? |  |
|  | Is the ESP2 Protocol used for immuno-concentration? |  |
| Isolation | Are filtrates and dilutions from immuno-concentrate used to steak on mRBA? |  |
|  | Are all plates incubated at 35 ± 2 °C for 20-24 h? |  |
|  | Are all morphological types from all plates confirmed by latex agglutination and then PCR? |  |
| Confirmation | Are latex and PCR positive colonies streaked onto SBA and incubated at 35 ± 2 °C for 16-24 h? |  |
|  | Are colonies on SBA analysed for E. coli using a Bruker MALDI Biotyper or a validated equivalent system? |  |
|  | Are a portion of colonies on SBA confirmed by latex agglutination? |  |
|  | Are latex positive colonies confirmed for stx/eae by PCR assays? |  |
|  | Are latex positive colonies confirmed for serogroups using serogroup specific PCR? |  |

Biochemical Confirmation

A laboratory may elect to use biochemical confirmation methods (VITEK® 2) if a Bruker® MALDI Biotyper is unavailable or there is an interruption in the reagent supply chain.  Inoculate isolate onto VITEK® 2 GN cards (if using VITEK® 2 Compact) or equivalent. An isolate is positive on VITEK® 2 if biochemically identified as E. coli.