REFERENCE

# Plant Exports Management System (PEMS) Authorised officer user guide – Onshore Cold Treatment Calibration Records

In this document

This document contains the following topics.

Purpose of this document	2

Initiating an onshore calibration record	2

OSCT Calibration page	5

Recording the calibration details	6

Recording the calibration readings	7

Recording the Pre-cooling temperatures	8

Recording the Pulp temperatures	10

Submitting the OSCT calibration record	12

Joining the re-calibration	13

Join the re-calibration record	13

Re-calibration	15

Re-Calibration page	16

Record the Re-Calibration Readings	17

Record the Re-Calibration details	18

Record the Loading details	19

Completing and submitting the calibration record	21

Document information	23

Version history	23

## Purpose of this document

This reference outlines how to use PEMS to record Onshore Cold Treatment Calibration record.

Note: An overview of PEMS and general functions can be found in the Reference: Plant Exports Management System (PEMS) Authorised Officer User Guide – Overview and general functions.

## Initiating an onshore calibration record

To initiate an onshore calibration record, click the Home1 PEMS menu tab and then click the OSCT Calibration2 button.

2

1

The Create Calibration window will display.

! If the OSCT calibration is to take place at an establishment that is different to where the goods were inspected and packed, the establishment number for this location can be updated in this screen.

If known, enter the RFP number1. The RFP number should be seven digits long. If an RFP number is entered it will prepopulate the Establishment number and name, the country and the commodities listed on the RFP with the information from EXDOC.

Where an RFP number is not provided, then you can enter the following details to the record:

Establishment number2. The establishment number should be three to four digits long and click Search3. The Establishment Name will update.

Destination Country4.

Coolroom number5

Commodity6 and select Add7. The commodity will appear below. This step will need to be repeated if there are multiple commodities.

Click Create8.

8

5

4

6

7

3

2

1

1

PEMS will populate the OSCT Calibration page. The calibration record will remain Active1 until the record is withdrawn, submitted, or cancelled.

! While the calibration record is active, the date provided on the calibration record is the date the calibration record was initiated.

#### OSCT Calibration page

The OSCT Calibration page displays the following sections:

RFP details1 – The RFP details will be blank. You will need to add the RFP number manually when the RFP number has been created, and the rest of the details in this field will populate automatically.

Calibration details2 – allows you to state if fumigation treatment has taken place, the calibration date and time, the coolroom number, and the commodity, packages and type.

Pulp Temperature3 – allows you to record the temperature of the fruit.

Calibration Readings4 – allows you to record the sensor readings and the air inlet and outlet probes.

Pre-cooling teperatures5 – allows you to record the pre-cooling temperatures of the fruit/vegetable prior to it going into the cool room.

Comments6 – allows you to record general comments regarding the calibration.  See Section 3.8 Adding comments to a record in the PEMS AO User Guide – Overview and General Functions.

Step-by-step instruction on how to record or change data on this page is provided below.

6

5

1

2

3

4

#### Adding a commodity

To add a commodity to the Calibration details, click Add Commodity1.

1

Enter the commodity1, click Add2 and then click Save3.

#### Recording the calibration details

1

To edit or record the Calibration details, click Change1.

If the country is China, a tick box will need to be selected on Has the commodity been fumigated as part of a combination fumigation + cold treatment?1.

Enter the Coolroom number2. The number must match exactly including any spaces or special characters as PEMS will validate this information.

Enter the Treatment Schedule °C3 and the Treatment Duration Days4.

Enter the Calibration Date5 and the Calibration Time6.

To record the Packages and Type, select the Commodity7 from the drop-down.  Enter the Number of Packages8 and select Type9 from the drop-down list. Click Add10.  Repeat steps for multiple commodities and pack types.

Once complete, select Save11.

11

10

9

8

7

6

5

4

3

2

1

#### Recording the calibration readings

To record the readings under sensor 1, 2, 3, 4 and Air inlet and outlet probe, click Open1.

The Reading for Sensor 1 window will display.

Sensor ID1 will be displayed by default.

Record the First and Second Reading2, if applicable, enter the third reading.

The Correction factor3 will be auto calculated by PEMS.

Click Previous and Next4 to navigate between the Sensors.

Click Close5 to exit the Sensor window at any time and return to the Calibration page.

Click Save6 to record the readings.

4

1

6

5

3

2

The Calibration Readings page will display the updated sensor readings.

! An Add Probe button will appear if the destination country is New Zealand, USA or Philippines.

! The first, second and third (if applicable) reading for every individual sensor must be identical.

! PEMS will accept reading between -0.0 to 0.3 degrees Celsius.

! For Indonesia, a reading for sensor 1 is mandatory.

! For USA, a first, second and third reading for each sensor is required.

! For Japan, probe placement image against every sensor can be viewed under probe.

! For the Philippines, PEMS will accept a reading of 0.0.

! The add probe button will only appear for countries where this may be required.

#### Recording the Pre-cooling temperatures

To record pre-cooling temperatures, click Change1.

1

The Pre-cooling Temperatures window will display.

You can enter multiple comma-separated lists of readings under Temperatures1 and click Update2 to automatically populate boxes 1–223. For example, 0.1, 0.1, 0.2.

Click Clear4 if you wish to remove the readings.

You can also record readings directly into the boxes 1–223.

Click Close5 to exit the pre-cooling temperatures window at any time and return to the Calibration page.

Click Save6 to record the readings.

6

5

4

3

2

1

1

The calibration page will display the updated Pre-cooling temperatures1.

! Pre-cooling temperatures are mandatory for Japan, Korea and Vietnam.

! A minimum of five pre-cooling temperatures is mandatory.

! PEMS will display a warning message if pre-cooling temperatures are above 3.0 and less than 4.0 degrees Celsius.

! PEMS will not record pre-cooling temperatures greater than 4.0 degrees Celsius to meet with importing country requirements.

! Pre-cooling temperatures are not mandatory for some countries, such as China.

#### Recording the Pulp temperatures

To record Pulp temperatures, click Change1.

1

The Pulp Temperatures window will display.

Tick the box to confirm the probes placed as per Importing Country’s requirements1.

Enter the Pulp temperature for Sensor 1, 2, 3 and 42.

Seal the cool room and enter the Seal number, Sealed date and Sealed time3.

Click Save4 to record the readings.

4

3

1

2

## Submitting the OSCT calibration record

The OSCT calibration record can only be submitted after:

all calibration results and data are recorded appropriately

a Time Entry1 is provided for all AOs who recorded calibration results

if applicable, attachments and correspondence relating to the calibration are recorded under the Communications2 tab.

Details on the Time Entry1 and Communications2 tabs can be found in Section 3: General PEMS functions in the PEMS AO User Guide – Overview and General Functions.

When you are ready to submit the calibration record, click the Actions3 tab, then click Submit4.

4

3

2

1

A pop-up window will ask you to confirm that you want to submit the calibration. Click Ok1.

1

## Joining the re-calibration

Calibration of the cool room occurs twice, once prior to the cold treatment, and once post the cold treatment after the minimum required time period. The second calibration is called the re-calibration.

On completion of the onshore cold treatment an Authorised Officer will join the existing calibration record to record the re-calibration details.

#### Join the re-calibration record

To join the recalibration, from the home page click on Calibration1.

1

The Search Calibrations page opens. Click on Advanced Search1.

1

The Advanced Search page opens.

Enter the Est. number1.

For Calibration Type2, select OSCT from the drop-down box.

For the Status3 select Calibrated from the drop-down.

Click Search4.

3

2

4

1

From the Search Results, locate the Calibrated record and click on Join1.

1

The Join Calibration window opens.

To join the calibration, you need to enter the Seal number1.

Enter the Treatment start date and Treatment start time2. The treatment start time must be later than the Calibration End Time provided for the relevant calibration.

Enter the Treatment end date and the Treatment End time3.

Then click Join4.

4

3

2

1

The system will validate the treatment duration and, providing this information meets the minimum time required, it will automatically open the original calibration record.

If the information provided is not valid an error will be shown.

## Re-calibration

Click on the Re-Calibration Details1 tab.

1

#### Re-Calibration page

The OSCT Calibration page displays the following sections:

RFP details1 – The RFP details will be blank. You will need to add the RFP number when the RFP number has been created, and the rest of the details in this field will populate automatically.

Re-Calibration details2 – allows you to record the recalibration date and time and the result.

Loading details3 –Is only applicable if the commodity is to be exported by sea freight.

Re-Calibration Readings4 –records the sensor readings and the air inlet and outlet probes.

Comments5 – allows you to record general comments regarding the calibration. For more information see Section 3.8 Adding comments to a record in the PEMS AO User Guide – Overview and General Functions.

Step-by-step instruction on how to record or change data on this page is provided below.

3

5

4

2

1

#### Record the Re-Calibration Readings

To record the readings under sensor 1, 2, 3, 4 and Air Inlet and Outlet probe, click Open1.

1

The Reading for Sensor 1 window will display.

Sensor ID1 will be displayed by default.

Record the First and Second reading2 and, if applicable, the third reading. The Correction factor3 will be auto calculated by PEMS.

Click Previous and Next4 to navigate between the Sensors.

Click Close5 to exit the Sensor window at any time and return to the Calibration page.

Click Save6 to record the readings.

3

! For the Philippines the readings must be within +/- 0.3 of the original reading.

! A third reading is required for the USA.

4

6

5

1

2

#### Record the Re-Calibration details

To record the re-calibration details, click Change1.

1

The Re-Calibration Details window opens.

From the drop-down box, select a Result1. Enter the Re-calibration date and time2.

If applicable, enter Comments3, then select Save4.

4

3

1

2

#### Record the Loading details

This section is only applicable if the commodity is being exported via sea freight. To record the loading details, select Change1.

1

The Loading Details window opens.

Select the relevant answer to Does the importing country require supervision of loading?

If the answer is No1, Select Save2.

1

2

If selected Yes1, enter the Container number2.

Decide if the Container Approval3 is Yes or No.

Enter the Seal number4.

Click Save5.

3

4

5

2

1

#### Completing and submitting the calibration record

The OSCT record can only be submitted after:

the re-calibration results and data are recorded appropriately

a Time Entry1 is provided for all AOs who recorded OSCT calibration results

OSCT Data Logs need to be attached and any other attachments and correspondence relating to the calibration are recorded under the Communications2 tab.

Details on the Time Entry1 and Communications2 tabs can be found in Section 3: General PEMS calibration functions the PEMS AO User Guide – Overview and General Functions.

When you are ready to submit the OSCT re-calibration record, click the Actions3 tab, then click Submit4.

4

3

2

1

If Loading details have been entered, the OSCT Calibration window will display.

- Confirm that the container meets all three requirements displayed as checkboxes1.

- Select if you want to email the exporter/EDI user on the submission of the inspection2. When selecting this option, the OSCT calibration submit confirmation box will expand.

- Enter the email address3, this can be multiple email addresses each separated by a comma.

- Enter in any Comments4 that are to be included in the email.

- Click Submit5.

5

2

4

3

1

#### Download OSCT report

You can download the OSCT record report after a calibration record is submitted in PEMS.

To download the calibration report, click the Actions1 tab and then select Download Report2.

2

1

A PDF document will be downloaded onto your device (next two screen shots).

Once the document is opened, it will display the relevant OSCT record.

## Related material

The following related material is available on the department’s website:

- Manual of Importing Country Requirements (Micor).

- Micor Plants (importing country requirements, protocols and work plans)

- Protocols, work plans

- Plant Export Operations Manual

- Reference: Plant Export Management System (PEMS) Authorised officer user guide

  - Empty container inspections

  - Grain and Plant Product inspections

  - Horticulture inspections

  - Bulk vessel inspections

  - Bulk into ship hold inspections

  - Quality systems recognition inspection

  - In-transit cold treatment calibration records

- The following related material is available on the department’s Learnhub:

- Plant Export Management System (PEMS) video tutorials

## Contact information

Authorised Officer Hotline: 1800 851 305

Authorised Officer Program: PlantExportTraining@awe.gov.au

PEMS Administration: PEMS@awe.gov.au

## Document information

The following table contains administrative metadata.

| Instructional Material Library document ID | Instructional material owner |
| --- | --- |
| IMLS-9-7593 | Director, [Section] |

## Version history

The following table details the published date and amendment details for this document.

| Version | Date | Amendment details |
| --- | --- | --- |
| 1.0 | 08/07/2016 | New user guide. |
| 1.1 | 12/07/2016 | Minor variations for accuracy and clarity. |
| 2.0 | 30/09/2016 | Complete document restructure. Addition of sections on: - Logging into PEMS - Calibration records - Calibration search. |
| 2.1 | 16/12/2016 | Minor variations for accuracy and clarity Removal of Appendix F – Calibrations and loading Removal of Section 2.3 – Calibration search |
| 3.0 | 09/10/2018 | AO user guide updated with PEMS v2.1 enhancements. |
| 4.0 | 23/05/2019 | AO user guide updated with PEMS v3.1 and v3.2 enhancements. |
| 5.0 | 4/11/2019 | Updated with PEMS v.3.3 and 3.4 enhancements. |
| 6.0 | 3/06/2020 | Updated with PEMS 3.5 enhancements. |
| 7.0 | 28/08/2020 | Removal of appendices from Plant Exports Management System (PEMS) Authorised Officer user guide to make each its own user guide. Update to OSCT calibration records. |
| 8 | 28/03/2021 | Updated for commencement of the Export Control Act 2020 and associated Plant Rules. |
| 9 | 11/11/2021 | Updated to include Horticulture Export Program team feedback |
| 10 | 4/04/2022 | Update for PEMS April 2022 release. |