# BioControl Assurance EIA - AOAC 992.11

## SCOPE

This method is applicable to all foods when modified for raw meat or heavily contaminated samples.

## PRINCIPLES

The detection of Salmonella spp. in raw meat samples is broken down into stages as follows:

### Pre-enrichment in non-selective liquid medium

A 1:10 dilution of the sample must be pre-enriched in buffered peptone water supplemented with 4 ml of 0.1% novobiocin solution at 35-37C for 18 to 26 h. Buffered peptone water should be warmed to room temperature or to 36 C for large volumes. For carcass sponges, buffered peptone supplemented with 0.1% novobiocin solution is added to the moistened sponge to bring the total volume to 60-100 ml and the sample incubated at 35-37C for 18-26 h. In the case of sponges BPW need not be warmed to room temperature before being used to re-hydrate the sponge, for all subsequent additions BPW should be warmed to room temperature.

### Selective enrichment

Culture from the pre-enrichment broth is inoculated into Selenite Cystine (SC) broth (35-37C) and tetrathionate (TT) broth (42 ± 0.5C) and incubated at the indicated temperature for 18-24h.

### Post enrichment

Cultures from selective liquid media are combined and inoculate into M broth and incubate at 42 ± 0.5C for 6-8 h.

### Enzyme immunoassay

Follow the manufacturer’s instructions retaining M broth for confirmation of presumptive positive results.

### Cultural confirmation

Presumptive positives can be confirmed from the retained M broth by streaking onto XLD, HE and BS agar. Confirmation carried out at an ‘off-site’ laboratory must be from retained BPW enrichment. Typical colonies are confirmed as Salmonella using biochemical and serological tests as outlined in AS 5013.10.

## CHECKLIST

| Pre-enrichment | Is the buffered peptone water warmed to room temperature (to 36 ± 1C for large quantities)? |  |
| --- | --- | --- |
|  | Is novobiocin added to BPW? |  |
|  | Is the correct amount of enrichment broth used for the weight of sample analysed? |  |
|  | What volume is used for carcase swabs? |  |
|  | Is a positive control run with each batch of samples analysed? |  |
|  | Are reference cultures inoculated into primary enrichment broth at a level of 10 to 100 cells? |  |
|  | Is pre-enrichment done at 36 ± 1C for 18-26 h? |  |
| Selective-enrichment | Are selective enrichment broths incubated at the appropriate temperature? |  |
|  | Are both selective broths used on the day of preparation? |  |
| Post-enrichment | Is M broth incubated at 42 ± 0.5C for 6-7 h? |  |
|  | Is M broth retained for confirmation of presumptive positive samples? How is it stored? |  |
|  | Are selective enrichments cultures combined for analysis? |  |
| Enzyme immunoassay | Are the manufacturer’s instructions available? |  |
|  | Are reagents stored at 2-8C? |  |
|  | Is incubation carried out at 35-37C? |  |
|  | Are kit reagents or components from other batches used in the analysis of samples? |  |
| Cultural confirmation | Is Salmonella isolated in-house from M broths? |  |
|  | Are XLD, HE and BS agars used for confirmation? |  |
| (if applicable) | If an external laboratory is used is it department approved? |  |
|  | BPW should be supplied to off-site laboratories for confirmation following AS 5013.10 |  |
|  | Are Salmonella confirmed using AS 5013.10 (with regard to biochemical and serological tests)? |  |

Suspend 0.1g of novobiocin sodium salt in 100 ml of purified water. Filter sterilise (0.2 m). Solution is stable up to 60-days in a dark bottle at 2-8 C.

Xylose Lysine Deoxycholate (XLD), Hektoen enteric (HE), Bismuth Sulphite (BS)