# BioControl VIP - AOAC 999.09

## SCOPE

This method is applicable to all foods when modified for raw meat and heavily contaminated samples.

## PRINCIPLES

Detection of Salmonella is based on binding specific Salmonella antigens in an antigen-antibody-chromogen complex. The complex flows across a lateral flow membrane and is subsequently bound by antibody immobilised on membrane. When Salmonella is present in the sample a detection-line will form in the viewing window of the device. An internal control is present to allow the operator to determine if the test has been performed correctly. The detection of Salmonella spp. is broken down into stages as follows:

### Pre-enrichment in non-selective liquid medium

A 1:10 dilution of the sample must be pre-enriched in buffered peptone water supplemented with 4 ml of 0.1% novobiocin solution at 35-37C for 18 to 26 h. Buffered peptone water should be warmed to room temperature or to 36 C for large volumes. For carcass sponges, buffered peptone supplemented with 0.1% novobiocin solution is added to the moistened sponge to bring the total volume to 60-100 mL and the sample incubated at 35-37C for 18 to 26 h. In the case of sponges BPW need not be warmed to room temperature before being used to re-hydrate the sponge, for all subsequent additions BPW should be warmed to room temperature.

### Selective enrichment

Culture from the pre-enrichment broth is inoculated into RV broth and TT broth. Selective enrichment broths are incubated at 42 ± 0.5C for 16-24 h.

### Post enrichment

Cultures from selective liquid media are combined and inoculated into pre-warmed TSB + DNP+n and incubate at 42 ± 0.5C for 5-8 h.

### Enzyme immunoassay

Follow the manufacturer’s instructions retaining TSB + DNP+n for confirmation of presumptive positive results.  Samples are lysed by the addition of extraction reagents followed by autoclaving (121 C for 10 min).

### Cultural confirmation

Presumptive positives can be confirmed from the retained TSB+n by streaking onto XLD, HE and BS agar. Confirmation carried out at an ‘off-site’ laboratory must be from retained BPW enrichment. Typical colonies are confirmed as Salmonella using biochemical and serological tests as outlined in AS 5013.10.

## CHECKLIST

| Pre-enrichment | Is BPW + n warmed to room temperature (to 36C for large quantities) prior to use? |  |
| --- | --- | --- |
|  | Is novobiocin added to BPW? |  |
|  | Is the correct amount of enrichment broth used for the weight of sample analysed? |  |
|  | What volume is used for carcase swabs? |  |
|  | Is pre-enrichment done at 36 ± 1C for 18-26 h? |  |
|  | Is a positive control run with each batch of samples analysed? |  |
|  | Are reference cultures inoculated into primary enrichment broth at a level of 10 to 100 cells? |  |
| Selective-enrichment | Are selective enrichment broths incubated at the appropriate temperature? |  |
|  | Is TT both used on the day of preparation? |  |
|  | Are selective enrichments cultures combined for analysis? |  |
| Post-enrichment | Is novobiocin added to the TSB + DNP on the day of testing? |  |
|  | Is TSB broth incubated at 42 ± 0.5C for 5-8 h? |  |
|  | Is TSB broth retained for confirmation of presumptive positive samples? How is it stored? |  |
| Enzyme immunoassay | Are the manufacturer’s instructions available? |  |
|  | Are cells inactivated by autoclaving prior to running the immunoassay? |  |
|  | Are VIP units stored at room temperature in a cool dark place? |  |
|  | Are technicians familiar with positive and negative reactions? |  |
|  | Is incubation carried out at room temperature? |  |
| Cultural confirmation | Is Salmonella isolated in-house from TSB broths? |  |
|  | Are XLD, HE and BS agars used for confirmation? |  |
| (if applicable) | If an external laboratory is used is it department approved? |  |
|  | BPW should be supplied to off-site laboratories for confirmation following AS 5013.10 |  |
|  | Are Salmonella confirmed using AS 5013.10 (with regard to biochemical and serological tests)? |  |

Suspend 0.1g of novobiocin sodium salt in 100 ml of purified water. Filter sterilise (0.2 m). Add 4ml to 225ml of buffered peptone water. Solution is stable up to 60-days in a dark bottle at 2-8 C.

Tryptone soy broth + 2,4,dinitrophenol (0.1 g per litre) + 0.1% novobiocin (novobiocin added after autoclaving)

Xylose Lysine Deoxycholate (XLD),Hektoen enteric (HE), Bismuth Sulphite (BS)