# Detection, Isolation and Identification of Escherichia coli O157:H7 from Meat and Meat products - MLG 5.09

## SCOPE

This method is applicable to raw and ready-to-eat meat and meat products.

## PRINCIPLES

The detection of E. coli O157:H7 can be broken down into the following steps:

### Enrichment

Samples are prepared with a 1:4 ratio of product and enrichment broth (ie 325 ± 32.5 g sample with 975 ± 19.5 mL mTSB), stomached   and incubated static at 42 ± 1C for 15-24 h.

### Screening test by BAX System Real-time PCR Assay for E. coli O157:H7

Perform the rapid screening using 20 µL of enriched samples. Follow the current BAX System User’s Guide for preparing reagents, performing PCR test and reading the results.

### Separation and concentration

Samples negative by the screening test can be reported as negative for E. coli O157 and can be discarded. Samples positive by the screening test are potential positives. Isolation of E. coli O157 is carried out using an Immunomagnetic separation procedure (follow manufacturer’s instruction or see MLG 5 for more details). Following concentration, immunomagnetic particles with adhering bacteria are subcultured onto Modified Rainbow Agar (mRBA) and CT-SMAC. A portion of the enrichment broth is also acid treated for one hour at pH 2 to 2.5. The acid treated sample is diluted 1:1 and 1:10 with E-buffer and subcultured onto mRBA and CT-SMAC. All plates are incubated at 35 ± 2C for 20-24 h.

### Isolation

Typical colonies are tested for agglutination with E. coli O157 antiserum. Latex positive colonies are streaked onto sheep blood agar plates and incubated at 35 ± 2C for 16-24 h.

### Confirmation

E. coli O157 is confirmed by the following tests:

- Biochemical confirmation using VITEK(R)2

- O157 and H7 confirmation using E. coli O157:H7 latex test agglutination kit (RIM(R) E. coli O157:H7 Latex Test Kit)

- Shiga toxin/toxin genes confirmation. Toxin is confirmed by toxin assay using Meridian Premier(R) EHEC Kit. When toxin(s) is/are not demonstrated, detection of gene(s) by  PCR is used. Alternatively BAX System Real-time PCR Assay STEC Screening (stx, eae) as per MLG 5.09 may be performed in lieu of the toxin assay.

CHECKLIST

| Enrichment | Is the sample enriched in mTSB? |  |
| --- | --- | --- |
|  | Is enrichment carried out at 42 ± 1C for 15-24 h? |  |
|  | Is a positive control run with each batch of samples analysed (including controls for stx/eae)? |  |
|  | Are reference cultures inoculated into primary enrichment broth at a level of 10 to 100 cells? |  |
| Screening | Is the screening test carried out according to BAX Real-time PCR assay for E. coli O157:H7? |  |
| Separation & concentration | For positive screening test samples is E. coli O157 separated and concentrated from the enrichment broth using IMS? |  |
| Isolation | Are immunomagnetic beads subcultured onto mRBA agar and CT-SMAC? |  |
|  | Are mRBA and CT-SMAC agar plates incubated at 35 ± 2C for 20-24 h? |  |
| Confirmation | Are typical colonies confirmed using a latex agglutination test? |  |
|  | Are all latex positive colonies streaked onto sheep blood agar and incubated at 35 ± 2C for 16-24 h? |  |
|  | Are colonies confirmed by toxin assay or by BAX RT PCR STEC Screening Assay? |  |

Modified Tryptone Soya Broth (Oxoid # CM0989B or current) 33.0 g; Casaminoacids (casein acid hydrolysate) 10.0 g; Sterile water 1.0 L. Rehydrate by stirring, then autoclave 20 min at 121C.. Final pH 7.4 ±0.2 at 25C.