# The MicroSEQ(R) Real-Time PCR System for Detection of Salmonella in food – AOAC 031001

## SCOPE

This method is applicable to the analysis of meat and meat products (including carcase sponges)

## PRINCIPLES

The MicroSEQ® Real-Time PCR System rapidly amplifies specific DNA fragments unique to Salmonella followed by signal detection in a single reaction. MicroSEQ® Real-Time PCR Kit for Salmonella must be used. All samples identified as potentially positive for Salmonella using this test must be confirmed using AS 5013.10.

The detection of Salmonella spp. is broken down into the following stages:

### Sample enrichment

A 25 g portion of sample is diluted in 225 mL of pre-warmed (37°C) buffered peptone water (BPW). The sample is homogenised by stomaching for 2 min and incubated at 37 ± 1°C for 16-20 h. A positive control culture must be run through the enrichment and initial screening procedure daily or when testing is carried out.

### Sample preparation and PCR screening

Sample preparation for bacterial DNA extraction is carried out by using the PrepSEQ® Rapid Spin Sample preparation kit or Automated PrepSEQ nucleic acid extraction kit following the manufacturer’s recommended protocol. The extracted DNA sample is run in the Real-Time PCR System.

### Confirmation

In the case of a positive, ‘warning’ and single error result the presence of Salmonella should be confirmed using AS 5013.10 (starting at the appropriate stage of analysis i.e. selective enrichment). Or, based on the findings of a cause analysis, the laboratory may choose to re-analyse the ‘warning’ or signal error result sample by repeating the DNA extraction and PCR analysis.

Confirmation must be carried out at a Department approved laboratory.

## CHECKLIST

| Pre-enrichment | Is BPW pre-warmed at 37C before use? |  |
| --- | --- | --- |
|  | Is the correct amount of BPW used for the weight of the sample analysed? |  |
|  | Are positive control cultures run with each batch of samples? |  |
|  | Are control cultures inoculated into the enrichment broth at a level of 10 to 100 cells? |  |
|  | Is enrichment carried out at 37 ± 1C for 16-20 hours? |  |
| PCR screening | Are manufacturer’s instructions available for reference? |  |
|  | Are technicians familiar with and trained in the operation of the Applied Biosystems Real-Time PCR System? |  |
|  | Is the shelf-life of media and kits controlled? |  |
| Cultural Confirmation | Is confirmation carried out from the BPW enrichment culture? |  |
|  | Is confirmation carried out at a Department approved laboratory using a Department approved method? |  |