# Isolation and identification of Salmonella from Meat and Carcass Sponges - MLG 4.09

## SCOPE

This method is applicable to:

- Raw meats, meat products, carcass swabs and other foods

## PRINCIPLES

The detection of Salmonella spp. is broken down into four stages:

### Pre-enrichment

Sample (25 g) is enriched in pre-warmed (42C) 75 ± 1.5 mL mTSB at 42 ± 1C for 15-24 h.

Where a single raw beef product sample is tested for Salmonella, E. coli O157 and top six STEC, a 325 ±32.5 g sample is enriched in pre-warmed (42C) 975 ±19.5 mL of mTSB at 42 ± 1C for 15-24 h. For carcass sponges, mTSB is added to the moistened sponge to bring the total volume to 60-100 mL and the sample incubated at 42 ± 1C for 15-24 h.

For Ready-to-Eat foods, 325 ± 6.5 g sample is enriched in 975 ± 19.5 mL of pre-warmed Buffered Peptone Water at 35 ± 2C for 18-24 hours.

A positive control culture must be run through all procedures daily or when testing is carried out.

### Enrichment in selective liquid medium

Culture from the pre-enrichment broth is inoculated into tetrathionate (TT) broth (Hajna) and Modified Rappaport-Vassiliadis medium (mRV broth). All broths are incubated at 42 ± 0.5C for 22-24 h.

### Plating out and identification

Cultures obtained from the selective enrichment are streaked onto two selective media:

- Xylose lysine tergitol agar (XLT4 agar) or Double modified lysine iron agar (DMLIA).

- Brilliant green sulfa agar (BGS; contains 0.1% sodium sulphapyridine).

All plates are incubated at 35 ± 2C and examined after18-24 h. Suspect colonies are picked for confirmation. All negative plates are re-incubated for 18-24 h and examined for presumptive positive colonies.

### Confirmation of Salmonella

Colonies of presumptive Salmonella are subcultured and confirmed by appropriate biochemical tests. Rapid biochemical identification kits described in AOAC 978.24 can be used. Salmonella isolates must be sent to a reference laboratory for serotyping.

## CHECKLIST

| Pre-enrichment | Is the mTSB warmed to 42C? |  |
| --- | --- | --- |
|  | Is the correct amount of enrichment broth used for the weight of sample analysed? |  |
|  | Is a positive control run with each batch of samples analysed? |  |
|  | Are reference cultures inoculated into primary enrichment broth at a level of 10 to 100 cells? |  |
| Selective-enrichment | Is RV broth incubated at 42 ± 0.5C for 22-24 h? |  |
|  | Is the TT broth incubated at 42 ± 0.5C for 22-24 h? |  |
|  | Is TT broth boiled not autoclaved? |  |
|  | Is the TT broth prepared on the day of use (or has a validated shelf-life as per the manufacturer)? |  |
| Selective plating | Are isolated colonies obtained on selective solid media? |  |
|  | Is the isolation of H2S negative strains mentioned in the laboratory’s methods manual? |  |
| Confirmation | Are pure cultures on nutrient agar used for biochemical tests? |  |
|  | Are approved rapid bio-chemical test kits used? |  |
|  | Are biochemical tests used sufficient to identify Salmonella spp.? |  |
|  | Are all suspect Salmonella sent to a reference laboratory (see AS 5013.10) to be serotyped? |  |