# Broad Spectrum Disinfectants

## Suitable for chemical showers at 
approved arrangements sites microbiological and animal biosecurity containment level 4 (classes 5 & 7)

| Types of broad spectrum chemical disinfectants | Approved active ingredients and examples of disinfectants | Facility type | Parameters for use Note: These are minimum rates only |
| --- | --- | --- | --- |
| Quaternary ammonium compounds | 4-Nonylphenol, branched, ethoxylated 1-5%, Sodium carbonate 1-5%, Alkyl (68% C12, 32% C14) dimethyl ethylbenzyl ammonium chloride 1-3%, Alkyl Dimethyl Benzyl Ammonium Chloride 1-3% e.g. Microchem Plus | Microbiological, Animal | - Microchem Plus - 5% undiluted solution - Shower time – minimum 4 minutes |

Notes:

- The above disinfectant is for use inside a chemical shower where the wearer has a positive pressure containment suit and is exiting the facility.

- Biosecurity industry participants should also contact their respective State/Territory governments to check what chemicals are approved in their States/Territory.

- The parameters are minimum concentration rates and contact times. Chemicals must be applied in accordance with the label directions.

- Disinfectants that have the same active ingredients, and equal parameters will not require approval from the department.

- Requests for disinfectant approval can be forwarded to aa.canberra@agriculture.gov.au.

- In times of disease outbreak emergencies, consult with your regional office for alternative sources of information in relation to specific diseases.