# The MicroSEQ(R) Real-Time PCR System for Detection of Listeria monocytogenes in food – AOAC 011002

## SCOPE

This method is applicable to the analysis of meat and meat products

## PRINCIPLES

The MicroSEQ(R) Real-Time PCR System rapidly amplifies specific DNA fragments unique to Listeria monocytogenes followed by signal detection in a single reaction. MicroSEQ(R) Real-Time PCR Kit for L. monocytogenes must be used. All samples identified as potentially positive for L. monocytogenes using this test must be confirmed using AS 5013.24.1.

The detection of L. monocytogenes is broken down into the following stages:

### Sample enrichment

A 25 g portion of sample is diluted in 225 mL of pre-warmed (37C) Buffered Listeria Enrichment Broth (BLEB), homogenised by stomaching for two minutes and incubated at 37°C for four hours. After four hours, acriflavine (10 mg/L), sodium nalidixate (40 mg/L) and cycloheximide (50 mg/L) are added to the enrichment which is further incubated for 20-24 hours. A positive control culture must be run through the enrichment and initial screening procedure daily or when testing is carried out.

### Sample preparation and PCR screening

Sample preparation for bacterial DNA extraction is carried out by using the PrepSEQ(R) Rapid Spin Sample preparation kit or Automated PrepSEQ nucleic acid extraction kit following the manufacturer’s recommended protocol. The extracted DNA sample is run in the Real-Time PCR System.

### Confirmation

In the case of a positive, ‘warning’ and single error result the enrichment sample should be tested using AS 5013.24.1 (starting at the appropriate stage of analysis i.e. selective secondary enrichment). Or, based on the findings of a cause analysis, the laboratory may choose to analyse the ‘warning’ or signal error result sample by repeating the DNA extraction and PCR analysis.

Confirmation must be carried out at a Department of Agriculture approved laboratory.

.

## CHECKLIST

| Pre-enrichment | Is BLEB pre-warmed at 37C before use? |  |
| --- | --- | --- |
|  | Is the correct amount of BLEB used for the weight of the sample analysed? |  |
|  | Are positive control cultures run with each batch of samples? |  |
|  | Are control cultures inoculated into the enrichment broth at a level of 10 to 100 cells? |  |
|  | Is enrichment carried out at 37C for a total of 24-28 hours? |  |
|  | Are correct amount of selective agents added to the enrichment at the fourth hour of enrichment? |  |
| PCR screening | Are manufacturer’s instructions available for reference? |  |
|  | Are technicians familiar with and trained in the operation of the Applied Biosystems Real-Time PCR System? |  |
|  | Is the shelf-life of media and kits controlled? |  |
| Cultural Confirmation | Is confirmation carried out from the enrichment culture? |  |
|  | Is isolation carried out at a Department of Agriculture approved laboratory using the Department approved method? |  |